## RBLC biomass CO
Table 5-1. RBLC Results for CO BACT on Large (>250 MMBtu/hr) Biomass Industrial Boilers in the last 10 Years
Notes - deleted utility boilers, industrial furnaces, projects not constructed, and small boilers
RBLCID | FACILITY_NAME | CORPORATE_OR_COMPANY_NAME | FACILITY_STATE | PERMIT_ISSUANCE_DATE | PROCESS_NAME | PROCCESS_TYPE | PRIMARY_FUEL | THROUGHPUT | THROUGHPUT_UNIT | PROCESS_NOTES | POLLUTANT | CONTROL_METHOD_CODE | CONTROL_METHOD_DESCRIPTION | EMISSION_LIMIT_1 | EMISSION_LIMIT_1_UNIT | EMISSION_LIMIT_1_AVG_TIME_CONDITION | CASE-BY-CASE_BASIS | EMISSION_LIMIT_2 | EMISSION_LIMIT_2_UNIT | EMISSION_LIMIT_2_AVGERAGE_TIME_CONDITION | STANDARAD_EMISSION_LIMIT | STANDARD_EMISSION_LIMIT_UNIT | STANDARD_LIMIT_AVERAGE_TIME_CONDITION | Equivalent lb/MMBtu
ME-0037 | VERSO BUCKSPORT LLC | VERSO BUCKSPORT LLC | ME | 11/29/2010 &nbsp;ACT | Biomass Boiler 8 | 11.12 | Biomass | 814 | MMBTU/H | Also fires oil and natural gas in addition to biomass. | Carbon Monoxide | N |  | 0.3 | LB/MMBTU | 30 DAY ROLLING | BACT-PSD | 435 | LB/H | 24-HR BLOCK | 0 |  |  | 0.3
WA-0335 | SIMPSON TACOMA KRAFT COMPANY, LLC | SIMPSON PAPER COMPANY | WA | 05/22/2007 &nbsp;ACT | UTILITY AND LARGE INDUSTRIAL SIZED BOILERS/FURNACES | 11.12 | WOOD WASTE | 595 | MMBTU/H | BY BTU VALUE ANNUALLY, THE HOG FUEL BOILER BURNS ABOUT 89% WOOD WASTE (INCLUDING RECYCLED CARDBOARD), 8% WASTEWATER TREATMENT SLUDGE, 3% #6 OIL. | Carbon Monoxide | P | OVERFIRE AIR SYSTEM INSTALLED IN 2006 TO IMPROVE COMBUSTION CONDITIONS. | 0.35 | LB/MMBTU | 30 DAY ROLLING | BACT-PSD | 913 | T | 12 MONTH ROLLING TOTAL | 0 |  |  | 0.35
ND-0022 | NORTHERN SUN | ARCHER DANIELS MIDLAND COMPANY | ND | 05/01/2006 &nbsp;ACT | WOOD/HULL FIRED BOILER | 11.12 | BIOMASS |  |  | THE BOILER IS ALLOWED TO COMBUST HULLS (SUNFLOWER OR SOYBEAN HULLS), BIOMASS FUELS, CREOSOTE-TREATED RAILROAD TIES AND CLEAN WOOD. BIOMASS FUELS CONSIST OF APPROXIMATELY 70-95% HULLS, 2.5%-30% WAX AND 6% VEGETABLE OIL. | Carbon Monoxide | P | GOOD COMBUSTION PRACTICES | 0.63 | LB/MM BTU |  | BACT-PSD | 0 |  |  | 0 |  |  | 0.63
GA-0114 | INLAND PAPERBOARD AND PACKAGING, INC. - ROME LINERBOARD MILL | TEMPLE INLAND, INC. | GA | 10/13/2004 &nbsp;ACT | BOILER, SOLID FUEL | 11.12 | BARK | 856 | MMBTU/H | BARK, WASTEWATER SLUDGE, TDF, FUEL OIL; MAY BE USED TO INCIENRATE NCG GASES; NEW BOILER | Carbon Monoxide | P | STAGED COMBUSTION AND GOOD COMBUSTION PRACTICES | 368 | PPM @ 3% O2 |  | BACT-PSD | 0 |  |  | 0 |  | NOT AVAILABLE, SEE NOTE | 0.29999
WA-0327 | SKAGIT COUNTY LUMBER MILL | SIERRA PACIFIC INDUSTRIES | WA | 01/25/2006 &nbsp;ACT | WOOD-FIRED COGENERATION UNIT | 11.12 | BARK & WASTE WOOD | 430 | mmBtu/H |  | Carbon Monoxide | N |  | 400 | LB/H |  | BACT-PSD | 659 | T/YR | 12 MONTH ROLLING AVERAGE | 0.35 | LB/MMBTU |  | 0.93023
LA-0188 | BOGALUSA MILL | INLAND PAPERBOARD AND PACKAGING (GAYLORD) | LA | 11/23/2004 &nbsp;ACT | NO. 12 HOGGED FUEL BOILER | 11.12 | BARK | 787.5 | MMBTU/H | BOILER IS ALSO PERMITTED TO BURN: FUEL OIL - 568.75 MM BTU/HR SECONDARY FIBER (OCC) REJECTS - 374.0 MM BTU/HR | Carbon Monoxide | P | EXISTING OVERFIRE AIR SYSTEM AND GOOD COMBUSTION PRACTICES | 491.45 | LB/H | HOURLY MAXIMUM | BACT-PSD | 2081.6 | T/YR | ANNUAL MAXIMUM | 0.6 | LB/MMBTU | ANNUAL AVERAGE | 0.62406
WA-0337 | BOISE WHITE PAPER LLC | BOISE CASCADE CORP | WA | 02/01/2006 &nbsp;ACT | UTILITY-AND LARGE INDUSTRIAL-SIZE BOILERS/FURNACES (&gt;250 MILLION BTU/H) | 11.12 | WOOD/BARK | 343 | MMBTU/H | FUEL PRIMARILY WOOD WASTE, BUT CAN BE UP TO 40% NATURAL GAS. | Carbon Monoxide | P | OVERFIRE AIR SYSTEM ADDED TO IMPROVE THE BOILER'S COMBUSTION SYSTEM. BOILER HAS AN ESP. | 500 | PPMVD | 12 MONTH ROLLING AVERAGE | Other Case-by-Case | [6 empty] | 0.4076
CA-1203 | SIERRA PACIFIC INDUSTRIES-LOYALTON | SIERRA PACIFIC INDUSTRIES | CA | 08/30/2010 &nbsp;ACT | RILEY SPREADER STOKER BOILER | 11.12 | WOOD | 335.7 | MMBTU/H |  | Carbon Monoxide | P | RILEY STOKER BOILER SHALL BE OPERATED WITH HIGH PRESSURE OVER FIRE AIR FOR CONTROL OF CO EMISSIONS | 1443 | PPM | @12% CO2, 8-HR ROLLING AVG | BACT-PSD | 550 | LB/H | 8-HR ROLLING AVG |  |  |  | 1.6384
CA-1203 | SIERRA PACIFIC INDUSTRIES-LOYALTON | SIERRA PACIFIC INDUSTRIES | CA | 08/30/2010 &nbsp;ACT | RILEY SPREADER STOKER BOILER - Transient Period (see notes) | 11.12 | WOOD | 335.7 | MMBTU/H | EMISSION LIMITS DURING TRANSIENT PERIODS; FOR PERIODS AGGREGATING TO NO MORE THAN 100 HRS PER YEAR | Carbon Monoxide | P | RILEY STOKER BOILER SHALL BE OPERATED WITH HIGH PRESSURE OVER FIRE AIR FOR CONTROL OF CO EMISSIONS | 1998 | PPM | @12% CO2, 8-HR ROLLING AVG | BACT-PSD | 772.42 | LB/H | 8-HR ROLLING AVG |  |  |  | 2.3009
[23 empty] | min | 0.29999
[23 empty] | max | 2.3009
[23 empty] | median | 0.62406

## Burner Boiler
TABLE 5-2
CALCULATION OF THERMAL OXIDIZER HEATING REQUIREMENT
IP SAVANNAH BOILER MACT PROJECT
URS PROJECT NO. 31829473
Process Inputs | Parameter
Air flowrate, SCFM (wet) | 197537
Inlet moisture content (by volume) | 0.141
Inlet gas temp, F | 369
CO emissions, lb/hr | 397.7169
Cp air, Btu/F-SCF | 0.0206
Cp water vapor, Btu/F-SCF | 0.0259
RO thermal efficiency | 0.9
Temperature increase | 1131
RO heating requirement, MMBtu/hr | 317.9529
Heat = (scfm * (1 - % H2O) * Cp air) + (scfm * % H2O * Cp water)) * (Temperature increase) * 60 min/hr / (1 E 06 Btu/MM Btu) / TEff

## TO Boiler
TABLE 5-3
THERMAL OXIDATION CONTROL COSTS
IP SAVANNAH BOILER MACT PROJECT
URS PROJECT NO. 31829473
Direct Costs |  |  |  | Cost |  | Cost Factor/Comments
Total Equipment Costs - RCO
(A)
| Flow rate | 197537 | scfm | 11358377.5 |  | References 1, 4
Scaled EPA cost from 2002 basis (date published) to 2013 cost basis |  |  |  | 16440361.3663 |  | 395.6 is 2002 Chemical Engineering plant cost index
[6 empty] | 572.6 | January 2014 Chemical Engineering Plant Cost Index
Purchased Equipment Costs - WESP
| WESP + pre-humidification chamber |  |  | 5925449 |  | 5
| New stack |  |  | 2500000 |  | 6
| New ID Fan |  |  | 600000 |  | 6
| WESP + pre-humidification chamber + Stack + ID Fan |  |  | 9025449 | A
| Instrumentation, 0.1 A |  |  | 902544.9 |  | 3
| Estimated Tax, 0.03 A |  |  | 270763.47 |  | 3
| Freight, 0.05 A |  |  | 451272.45 |  | 3
| Purchased Equipment Cost, PEC |  |  | 10650029.82 | B
Direct Installation Costs - WESP
| Foundations & Supports, 0.04 B |  |  | 426001.1928 |  | 3
| Handling & Erection, 0.5 B |  |  | 5325014.91 |  | 3
| Electrical, 0.08 B |  |  | 852002.3856 |  | 3
| Piping, 0.01 B |  |  | 106500.2982 |  | 3
| Insulation for Ductwork, 0.02 B |  |  | 213000.5964 |  | 3
| Painting, 0.02 B |  |  | 213000.5964 |  | 3
| Direct Installation Costs |  |  | 7135519.9794
Indirect Installation Costs - WESP
| Engineering, 0.20B |  |  | 2130005.964 |  | 3
| Construction and field expenses, 0.20B |  |  | 2130005.964 |  | 3
| Contractor Fees, 0.10B |  |  | 1065002.982 |  | 3
| Start-up, 0.01B |  |  | 106500.2982 |  | 3
| Performance test, 0.01B |  |  | 106500.2982 |  | 3
| Contingencies, 0.03B |  |  | 319500.8946 |  | 3
| Total indirect Costs |  |  | 5857516.401
Total Capital Cost (TCC) |  |  | TCC | 40083427.5667
Direct Annual costs |  |  |  | Cost |  | Cost Factor/Comments
| Electricity Cost | 385.1972 | kW addl for fan | 219331.2572 |  | Elec. Cost= | 0.065 | $/kWh cost
| (Ref 2, Power for fan) |  | (Ref 2, Power for fan) |  |  | Operation= | 8760 | hr/yr
|  | 476.0254 | kW for WESP | 271048.8367
| Fuel Cost |  |  | 14761915.9713 |  | Burner Fuel Usage: | 2785267.1644 | MM Btu/yr
[6 empty] | gas cost | 5.3 | /MMBtu
Operating Labor
| Operator | 1 hr/shift |  | 39540.45
|  | 36.11 | /hr
| Supervisor |  |  | 5931.0675 |  | 15% of operating labor, Reference 2
| Maintenance | 1 hr/shift |  | 42518.85
| Labor | 38.83 | /hr
| Material |  |  | 42518.85 |  | 100% of maintenance labor, Reference 2
Indirect Annual Costs
| Overhead |  |  | 78305.5305 |  | 0.6 | * C | C = operating labor + maintenance costs
| Administration |  |  | 801668.5513 |  | 2% | TCC
| Property Taxes |  |  |  |  | Exempt |  | I= | 0.07
| Insurance |  |  | 400834.2757 |  | 1% | TCC | n= | 20
| Capital Recovery |  |  | 3783592.0018 |  | 0.094393 | 20 years, 7% interest | rate= | 0.094393
Total Annual Cost |  |  |  | 20447205.642
CO Emissions Reduction/Cost Effectiveness
Total uncontrolled CO emissions |  |  |  | 1742 |  | tons/yr
Capture Efficiency |  |  |  | 100%
Total captured CO emissions |  |  |  | 1742 |  | tons/yr
RTO Control Efficiency |  |  |  | 95%
Emission Reduction |  |  |  | 1654.9 |  | tons/yr
Cost/ton of CO removal |  |  |  | 12355.5536 |  | $/ton
Basis: | 1) EPA CATC Fact sheet for oxidizers, http://www.epa.gov/ttn/catc/dir1/cs3-2ch2.pdf, states capital cost is $25-90/scfm, midpoint selected.
2) EPA OAQPS Air Pollution Control Cost Manual (6th edition), January 2002, Section 3.2, Chapter 2.
3) EPA OAQPS Air Pollution Control Cost Manual (6th edition), Section 6 (PM control) Chapter 3 (ESP)
4) Flow rate from 2010 stack test measurements.
5) Lundberg cost estimate for installation of WESP on another IP boiler, adjusted for size using 0.6 power function on the ratio of max flow rates
6) Black & Veatch cost analysis, Septemeber 2013.

## cost inputs RCO
TABLE 5-4
SUPPORTING COST INPUT DATA FOR REGENERATIVE CATALYTIC OXIDIZER COST ANALYSIS
IP SAVANNAH BOILER MACT PROJECT
URS PROJECT NO. 31829473
Parameter | Value | Units | Note(s)
Control Efficiency | 70 | % | 1
Volume of Catalyst | 800 | ft3 | 2
Pressure Drop Across the Oxidation Catalyst | 10 | inches of H2O | 2
Electricity Usage | 890 | kW-hr | 2
Catalyst Life | 2 | year | 2
Natural Gas Consumption for Gas Reheating | 48586.2745 | ft3/hr | 2, 3
Catalyst Cost, Initial | 387.5 | $/ft3 | 2
Catalyst Cost, Replacement | 401.5 | $/ft3 | 2
Operating Labor Cost | 36.11 | $/hr | 4
Maintenance Labor Cost | 38.83 | $/hr | 4
Electricity Cost | 0.065 | $/kW-hr | 4
Natural Gas Cost | 5.3 | $/1000 ft3 | 4
Oxidation Catalyst Equipment Life | 10 | years | 5
Interest Rate | 7 | % | 5
Notes:
1. Based on Babcock Power information.
2. Value provided by Babcock Power in October 2009 PSD Permit Application for Oglethorpe Power Corporation,
Warren County Biomass Energy Facility, same MMBtu size boiler as IP Savannah PB13.
3. Calculated based on reheating needed (MMBtu/hr) and natural gas heat input capacity.
4. Site Specific Data provided by IP Savannah that reflect expected costs following the gas conversion project.
5. Based on example problem in OAQPS Manual, Section 3.2, Chapter 2, page 2-45.
Note on B8: Claire Galie: >70% control according to bpi green pdf provided by Chris Rogge

## RCO Boiler
TABLE 5-5
REGENERATIVE CATALYTIC OXIDIZER COST ANALYSIS
IP SAVANNAH BOILER MACT PROJECT
URS PROJECT NO. 31829473
Capital Cost |  |  |  |  | Notes | Reference
Direct Costs - RCO
Purchased Equipment Costs
|  |  | RCO Price + auxiliary equipment + freight | 10603703.7037 | A | 2
|  |  | White liquor scrubber | 91723.6224 | A | 3
|  |  | Sales Tax | 320862.8198 | 0.03A | 1(a)
|  |  | Purchased Equipment Cost, PEC | 11016290.1459 | B
Direct Installation Costs
|  |  | Foundations and Support | 881303.2117 | 0.08B | 1(a)
|  |  | Handling & Erection | 1542280.6204 | 0.14B | 1(a)
|  |  | Electrical | 440651.6058 | 0.04B | 1(a)
|  |  | Piping | 220325.8029 | 0.02B | 1(a)
|  |  | Insulation for ductwork | 110162.9015 | 0.01B | 1(a)
|  |  | Painting | 110162.9015 | 0.01B | 1(a)
|  |  | Direct Installation Costs | 3304887.0438
Direct Costs - WESP
Purchased Equipment Costs
|  |  | WESP + pre-humidification chamber | 5925449 |  | 5
|  |  | New stack | 2500000 |  | 6
|  |  | New ID Fan | 600000 |  | 6
|  |  | WESP + pre-humidification chamber + Stack + ID Fan | 9025449 | A
|  |  | Instrumentation, 0.1 A | 902544.9 |  | 1(c)
|  |  | Estimated Tax, 0.03 A | 270763.47 |  | 1(c)
|  |  | Freight, 0.05 A | 451272.45 |  | 1(c)
|  |  | Purchased Equipment Cost, PEC | 10650029.82 | B
Direct Installation Costs
|  |  | Foundations & Supports, 0.04 B | 426001.1928 |  | 1(c)
|  |  | Handling & Erection, 0.5 B | 5325014.91 |  | 1(c)
|  |  | Electrical, 0.08 B | 852002.3856 |  | 1(c)
|  |  | Piping, 0.01 B | 106500.2982 |  | 1(c)
|  |  | Insulation for Ductwork, 0.02 B | 213000.5964 |  | 1(c)
|  |  | Painting, 0.02 B | 213000.5964 |  | 1(c)
|  |  | Direct Installation Costs | 7135519.9794
| Total Direct Costs, DC |  |  | 32106726.989
Indirect Costs (Installation of RCO)
|  |  | Engineering | 1101629.0146 | 0.10B | 1(a)
|  |  | Construction and field expenses | 550814.5073 | 0.05B | 1(a)
|  |  | Contractor Fees | 1101629.0146 | 0.10B | 1(a)
|  |  | Start-up | 220325.8029 | 0.02B | 1(a)
|  |  | Performance test | 110162.9015 | 0.01B | 1(a)
|  |  | Contingencies | 330488.7044 | 0.03B | 1(a)
Indirect Costs (Installation of WESP)
|  |  | Engineering | 2130005.964 | 0.20B | 1(c)
|  |  | Construction and field expenses | 2130005.964 | 0.20B | 1(c)
|  |  | Contractor Fees | 1065002.982 | 0.10B | 1(c)
|  |  | Start-up | 106500.2982 | 0.01B | 1(c)
|  |  | Performance test | 106500.2982 | 0.01B | 1(c)
|  |  | Contingencies | 319500.8946 | 0.03B | 1(c)
| Total Indirect Costs, IC |  |  | 9272566.3462
| Total Capital Investment |  |  | 41379293.3353 | TCI = DC + IC
Operating Cost
Direct Annual Costs
|  | Capacity Factor (CF) For Direct Annual Costs |  | 100%
Operating Labor
|  |  | Operator | 39540.45 | 1 hr/s, 3 s/d, 365 d/yr | 1(c)
|  |  | Supervisor | 5931.0675 | 15% of operator | 1(b), 1(c)
|  |  | Total | 45471.5175
Maintenance
|  |  | Labor | 42518.85 | 1 hr/s, 3 s/d, 365 d/yr | 1(c)
|  |  | Material | 42518.85 | 100% of maintenance labor | 1(b), 1(c)
|  |  | Total | 85037.7
Electricity
|  |  | Total Requirement - RCO, WESP, fan increase | 1780.0254 | KW
|  |  | Unit cost | 0.065 | $/kW-hr
|  |  | Total | 1013546.4367
Fuel
|  |  | Natural Gas | 48.5863 | 1000 ft3/hr
|  |  | Cost | 5.3 | $/1000 ft3
|  |  | Total | 2255763.5529
Catalyst Costs
|  |  | Catalyst Replacement | 155169.0821 | annualized cost at 7% interest
White Liquor Scrubber Costs
|  |  | Caustic | 2000000 |  | 4
|  |  | Electricity for 3 hp pump | 1273.8255
| Total Direct Annual Costs |  |  | 5556262.1148
Indirect Annual Costs
|  |  | Overhead | 78305.5305 | 60% of operating labor + maintenance | 1(b)
|  |  | Administrative Charges | 827585.8667 | 2% of TCI | 1(b)
|  |  | Property tax |  |  | Exempt
|  |  | Insurance | 413792.9334 | 1% of TCI | 1(b)
|  |  | Annual Interest Rate | 7%
|  |  | Economic life of RCO | 10
|  |  | Capital Recovery Factor | 0.14238
|  |  | Total Capital Recovery Cost | 5891480.4497
| Total Indirect Annual Costs |  |  | 7211164.7803
| Total Annual Cost |  |  | 12767426.895 | TAC = DAC + IDAC
1. U.S. EPA OAQPS, EPA Air Pollution Control Cost Manual (6th Edition), September 2000, Section 3, Chapter 2.
| a | Table 2.8: Capital Cost Factors for Thermal and Catalytic Incinerators (OAQPS 2-42); Vendor quote usually includes instrumentation
| b | Table 2.10: Annual Costs for Thermal and Catalytic Incinerators Example Problem (OAQPS 2-45)
| c | Section 6 (Particulate Matter control) Chpt 3 (ESP) Pg (3-46) Table 3.16 - Capital Cost Factors for ESPs
2. Capital cost based on Babcock Power estimate provided to IP 6/16/2010 scaled to Dec 2013 dollars using CE Plant Cost Index.
|  | 550.8 | 2010 Chemical Engineering Plant Cost Index
|  | 572.6 | January 2014 Chemical Engineering Plant Cost Index
3. 2005 cost of existing white liquor scrubber, $75,000, scaled using 2005 Chemical Engineering Plant Cost Index of 468.2 and Jan 2014 index of 572.6
4. Per Wes Aaron, IP Savannah, the increase in sulfur will require additional caustic to balance. At 2014 budgeted price it is $2,000,000 annually in increased operating cost for the chemical.
5. Lundberg cost estimate for installation of WESP on another IP boiler, adjusted using 0.6 power function on the ratio of flow rates
6. Black & Veatch cost analysis for IP Savannah, September 2013.

## cost summary Boiler
TABLE 5-6
ECONOMIC IMPACT ANALYSIS FOR BOILER CONTROLS
IP SAVANNAH MILL BOILER MACT PROJECT
URS PROJECT NO. 31829473
| Uncontrolled | CO |  | Economic Impacts
| CO | Control | CO Emissions | Total | Annual | Cost
| Emissions1 | Efficiency | Reduction | Capital | Cost | Effectiveness
Control Alternatives | (ton/yr) | (%) | (ton/yr) | Cost ($) | ($/yr) | ($/ton)
Thermal Oxidation | 1742.0507 | 95% | 1654.9481 | 40083427.5667 | 20447205.642 | 12355.1942
Regenerative Catalytic Oxidation | 1742.0507 | 70% | 1219.4355 | 41379293.3353 | 12767426.895 | 10469.9487
1. Potential uncontrolled CO Emissions are estimated based on proposed BACT limit and full capacity of boiler:
| 400 | ppm at 3% O2
| 0.31073 | lb/MMBtu at projected fuel mix using f factors

## Environmental Summary Boiler
TABLE 5-7
BOILER CONTROLS ENVIRONMENTAL AND ENERGY IMPACT ANALYSES
IP SAVANNAH BOILER MACT PROJECT
URS PROJECT NO. 31829473
| Adverse Impacts | Adverse Hazardous
| From Other Air | or Solid Waste | Energy Impacts
| Pollutants? | Impacts? | Electrical | Fuel
Control Alternatives | (Yes/No) | (Yes/No) | (kW*hr/yr) | (MM Btu/yr)
Thermal Oxidation | Yes | No | 3374327.034 | 2785267.1644
Regenerative Catalytic Oxidation | Yes | No | 15593022.1029 | 434128.08