Method for Determining Future Water Demand Needs for Golf Course Systems

This form is intended for golf course users in the 24-county area of Georgia’s coast addressed in the “Coastal Georgia Water and Wastewater Permitting Plan for Managing Saltwater Intrusion” (Coastal Plan), located in Sub-Regions 1and 2.

For a groundwater withdrawal permit application to be complete according to the 2006 Coastal Plan, EPD now requires a detailed justification of need for the existing amount of water allocated on your present permit, and a forecast of your future water demand needs through 2030.  This table is designed to guide golf course water systems in calculating future water demand needs.

If you are located in Sub-Regions 1 (Red Zone) and 2 (Yellow Zone), be aware that Upper Floridan Aquifer groundwater may not be available to meet your water needs.  For additional information, please refer to the Coastal Plan for details.  If your water demand needs exceed your reported 2004 groundwater withdrawal amount, you will be requested to explore alternate supply sources as a part of the permit application process.  At the end of the Guidance document titled “Method for Determining Future Water Demand Needs for Public/Private Water Systems” you will find reference to further technical guidance on the variety of alternative water sources.

This spreadsheet can be submitted by golf course users and it will meet the minimum application permitting requirements of water demand forecasting.

| Year | Annual Average Withdrawal (gallons per day) Annual Production divided by days in year from all water sources | Total Irrigated Acreage (acres) Includes tees, greens, fairways, rough, etc | Equivalent Gallons per Irrigated Acre (gallons per acre) | Comments Please provide a breakdown (by percentage) of groundwater used if more than one water source is used to irrigate the golf course |
| --- | --- | --- | --- | --- |
| 2000 |  |  |  |  |
| 2004 |  |  |  |  |
| 2005 |  |  |  |  |
| 2010 – projected |  |  |  |  |
| 2015 – projected |  |  |  |  |
| 2020 - projected |  |  |  |  |
| 2025 – projected |  |  |  |  |
| 2030 - projected |  |  |  |  |

- Please explain, on a separate sheet, why Floridan aquifer water is necessary for irrigation of the golf course.

- Please describe in detail any planned expansions, golf course updates, new irrigation technology, etc that may affect your water usage amounts in the future.

- Please briefly describe the feasibility of using reuse water to irrigate the golf course.