## Sheet1
Facility Name: | [8 empty] | Date Inspected:
Address: | [8 empty] | NOI #:
City/County: | [7 empty] | / | NOI Submitted | [ ] Yes |  | [ ] No |  | Date:
SIC Code: | [6 empty] | SECTOR / SUBSECTOR: |  | Contact: |  |  |  |  | Phone:
Inspector: | [8 empty] | Unit Manager:
EPD Office Location: | [12 empty] | Signature
|  | Yes |  |  | No | General Permit Requirements:
1 |  | [ ] |  |  | [ ] | NOI complete (CWA)
2 |  | [ ] |  |  | [ ] | Does the facility have effluent limits - Applicable to Sectors A, C, D, E, K, L, O & S (Part 2.2)
3 |  | [ ] |  |  | [ ] | Does the facility discharge to an impaired waterbody (Appx. C) If yes, approved TMDL? [ ]Yes [ ] No
4 |  | [ ] |  |  | [ ] | Storm Water Pollution Prevention Plan updated (Part 5) and available (Part 5.3) |  |  |  |  | [ ] Yes [ ] No
|  | Yes |  |  | No | Control Measures and Effluent Limits (Part 2)
5 |  | [ ] |  |  | [ ] | Control measures effectively designed, installed & maintained (minimizing exposure, housekeeping, inspections, etc.)(Part 2.1.2.4)
6 |  | [ ] |  |  | [ ] | Spill Prevention and Response Procedures (Part 2.1.2.5)
7 |  | [ ] |  |  | [ ] | Adequate sediment and erosion control (Part 2.1.2.6)
8 |  | [ ] |  |  | [ ] | Is stormwater being properly managed for minimizing pollutant discharges (Part 2.1.2.7)?
|  | Yes |  |  | No | Corrective Measures (Part 3)
9 |  | [ ] |  |  | [ ] | Has an unauthorized release occurred, numeric effluent limit violated, inadequate selection, design, installation, operation & maintenance of control
measures occurred (Part 3.1)
10 |  | [ ] |  |  | [ ] | Has change in design or operation changed the nature/quantity of pollutants discharged or sampling benchmarks exceeded (Part 3.2)
11 |  | [ ] |  |  | [ ] | Are corrective action deadlines met (Part 3.3); have CA been documented (Part 3.4) [ ]Yes [ ]No CA Report (Part 3.5) [ ]Yes [ ]No
|  | Yes |  |  | No | Records of Inspections Conducted Under the Current Permit (Part 4)
12 |  | [ ] |  |  | [ ] | Conducting routine/qrtly inspections with 1+ PP team member; facility operating during inpxn. [ ]Yes[ ]No; Inspected during stormwater discharge annually?[ ]Yes[ ]No
13 |  | [ ] |  |  | [ ] | Inspection of exposed materials, equipment and industrial areas for spills, leaks, trash, offsite tracking and control measures, etc. (Part 4.1.1.1. a.-f.)
14 |  | [ ] |  |  | [ ] | Documenting per Permit (Part 4.1.2.a.-h.) including corrective actions taken (per Part 3).
15 |  | [ ] |  |  | [ ] | Records of Quarterly Visual examination of SW discharged from each outfall (Part 4.2.1) and for proper WQ characteristics (part 4.2.1.c. (a.-i.)?
16 |  | [ ] |  |  | [ ] | Documenting qtrly Visual exams. per Permit (Part 4.2.2.a.-h.) including corrective actions taken (per Part 3).
17 |  | [ ] |  |  | [ ] | Conducted annual comprehensive inspection and documented per (Part 4.3.2.a.-g.)?
|  | Yes |  |  | No | Stormwater Pollution Prevention Plan (Part 5)
18 |  | [ ] |  |  | [ ] | Identify pollution prevention team (Part 5.1.1) and their responsibilities; Employee Training roster(5.1.2) [ ]Yes[ ]No
19 |  | [ ] |  |  | [ ] | General location map shows property line of Facility; name of all receiving waterbodies and indicated if impaired [ ]Yes[ ]No
20 |  | [ ] |  |  | [ ] | Site map is sufficient scale /quality; Direction of SW flow[ ]Yes [ ]No; Structural controls shown including conveyances [ ]Yes[ ]No
21 |  | [ ] |  |  | [ ] | Location of potential pollutant sources, spills, leaks and run-on flows related to pollutants
22 |  | [ ] |  |  | [ ] | Location of all outfalls, and outline of each drainage area; Does the Facility discharge to a MS4 [ ]Yes [ ]No (see Permit Part 5.1.3.3.a.-n.)
23 |  | [ ] |  |  | [ ] | List of industrial activities exposed to stormwater and list of pollutants associated (Part 5.1.4.1-.2)
24 |  | [ ] |  |  | [ ] | List of potential and previous significant spills and leaks and outfalls to be affected (Part 5.1.4.3)
25 |  | [ ] |  |  | [ ] | Annual Certification of non-storm water discharges; Test drains & sinks by dye, smoke or equal Date:
26 |  | [ ] |  |  | [ ] | Summary of sampling data and annual site evaluations from previous permit; inc. CA and BMP modifications.
27 |  | [ ] |  |  | [ ] | Description of Control Measures (Part 5.1.5)
28 |  | [ ] |  |  | [ ] | Schedules and Procedures ( housekeeping, maintenance, spill prevention/response, employee training? (Part 5.1.6)
29 |  | [ ] |  |  | [ ] | Monitoring and Inspection procedures (Part 5.1.6.2)
30 |  | [ ] |  |  | [ ] | Has the SWPPP been signed and dated? (Part 5.1.7)
31 |  | [ ] |  |  | [ ] | Has the SWPPP been modified? (kept current, corrective actions, change in owner/operator )(Part 5.2)
32 |  | [ ] |  |  | [ ] | Documentation of inspections, monitoring, and certification records (online systems ok)(Part 5.4) Including NOI, any
spills, leaks, releases, repairs of control measures, all inspection reports, corrective actions taken, etc.? (Part 5.4.1-.12).
|  | Yes |  |  | No | Monitoring (Part 6)
33 |  | [ ] |  |  | [ ] | Monitoring substantially identical outfall determination. (Part 6.1.1) Rationale provided?
34 |  | [ ] |  |  | [ ] | Date/duration of storm events sampled (Part 6.1.3.1-2); Alternative Sampling schedule (Part 6.1.8) [ ]Yes [ ]No
35 |  | [ ] |  |  | [ ] | Indicator Monitoring (Part 6.2.1) (Beginning 1-1-23 pH, TSS and COD); PAH applicable (Part 6.2.1.1(b.)) [ ]Yes [ ]No
36 |  | [ ] |  |  | [ ] | Benchmark Monitoring (Part 6.2.2)Applicable?; Alternate benchmark determination (6.2.2.1(b.)) [ ]Yes [ ] No
37 |  | [ ] |  |  | [ ] | Correct parameters; Required frequency (Part 6.2.2.2) [ ]Yes [ ]No-Dates collected:
38 |  | [ ] |  |  | [ ] | Meeting benchmarks (Part 6.2.2.2 (a.and b.)); If no: Sampling quarterly (Part 6.2.2.2( b.(i.))) [ ]Yes [ ] No
If no: Determined pollutant reductions are not technologically available/economically practicable (Part 6.2.2.2(b.(ii.)))[ ]Yes [ ] No
If no: Permittees review control measures and perform corrective actions (Part 6.2.2.2(b.(iii.)))[ ]Yes [ ] No
39 |  | [ ] |  |  | [ ] | Documents pollutant(s) listed as the Sector-specific benchmark parameter is not present (Part 6.2.2.4)
40 |  | [ ] |  |  | [ ] | Effluent limit monitoring data (Part 6.2.3);Correct parameters (Part 8-Sector specific) [ ]Yes [ ] No; Required frequency (Part 6.2.3.1) [ ]Yes [ ]No
41 |  | [ ] |  |  | [ ] | Meeting effluent limits (Part 6.3); If no to #41: 30-day follow-up (or next measurable rain event) monitoring done (Part 6.3) [ ]Yes [ ] No
42 |  | [ ] |  |  | [ ] | Meeting follow up monitoring (Part 6.3);If no: Has exceedance notification report (Part 7.4) and quarterly monitoring continued [ ]Yes [ ] No
|  | Yes |  |  | No | Reporting and Recordkeeping (Part 7)
43 |  | [ ] |  |  | [ ] | All NOIs, NEEs, NOTs, Annual Reports, DMRs reported electronically; Beginning 1/1/23 NetDMR-Annual Report 1/31/23
44 |  | [ ] |  |  | [ ] | Deadlines met for Monitoring Data Submittal (Part 7.2) Beginning 1/1/23 submit 45 days following reporting period
45 |  | [ ] |  |  | [ ] | Annual Report submitted (Part 7.3)
46 |  | [ ] |  |  | [ ] | Reports submitted to MS4 Operator (Part 7.5);Additional reports submitted to EPD as applicable (Part 7.5) [ ]Yes [ ]No
|  | Yes |  |  | No | Appendix C
47 |  | [ ] |  |  | [ ] | Documented prevents all exposure of SW to the POC (Appx. C.1.1)
48 |  | [ ] |  |  | [ ] | Documented the POC is not present as a result of industrial activity (Appx.C.1.2)
49 |  | [ ] |  |  | [ ] | Certified that SW discharge does not cause or contribute (Appx. C.1.3, C.1.4)
50 |  | [ ] |  |  | [ ] | Certified that sufficient WLA in the TMDL to allow POC discharge(Appx. C.1.3.2, C.1.4)
51 |  | [ ] |  |  | [ ] | Certified that POC discharge does not exceed in-stream WQS (Appx. C.1.3.3, C.1.4); Appendix C monitoring data; Applicable? [ ]Yes [ ] No (Appx. C.2)
52 |  | [ ] |  |  | [ ] | Correct Parameters and Values (Appx. C.2.1)
53 |  | [ ] |  |  | [ ] | Required frequency (Appx. C.3) (see below)
54 |  | [ ] |  |  | [ ] | Did Facility sample for Impaired Water Benchmarks under prior permit?
If no to #54 and capture treatment volume discharge: Conduct bi-Annual sampling of treatment volume (Appx. C.3.1.1)[ ]Yes [ ] No
* If sample results above have exceedances, conduct bi-quarterly sampling and make improvements until no exceedances[ ]Yes [ ] No
If no to #54 and DO NOT capture discharge: Conduct bi-quarterly for twleve (12) months (Appx. C.3.1.2)[ ]Yes [ ] No
If yes to #54 and passed benchmark sampling : Conduct bi-annually for twleve (12) months (Appx. C.3.4)[ ]Yes [ ] No
If yes to #54 and failed benchmark sampling in two consecutive samples: Bi-Quarterly for addtl. 12 months (Appx. C.3.4) [ ]Yes [ ] No
55 |  | [ ] |  |  | [ ] | Meeting benchmarks (see above)
|  | Yes |  |  | No | Evaluating Appendix C Sampling Data (Part C.5)
56 |  | [ ] |  |  | [ ] | Pass/Fail Impaired Water Benchmark Value Criteria (Appx. C.5.1)
At least 75% of samples collected during 12 month period do not exceed applicable benchmark values (Appx. C.5.1.1)[ ]Yes [ ] No
The average of the samples collected during the 12 months does not exceed the benchmark value (Appx. C.5.1.2)[ ]Yes [ ] No
57 |  | [ ] |  |  | [ ] | Pass Criteria (Appx. C.5.2) Maintain improved BMPs and conduct biannual sampling
58 |  | [ ] |  |  | [ ] | Fail Criteria (Appx. C.5.3) Date:
59 |  | [ ] |  |  | [ ] | Improve or add BMPs (Part C.5.3)
12 month schedule (Part C.5.1) : Budget: [ ]Yes [ ] No Date: Design:[ ] Yes [ ] No Date: Implemented: [ ] Yes [ ] No Date:
If supplemental BMPs implemented, has additional bi-quarterly sampling been conducted [ ]Yes [ ] No Date:
60 |  | [ ] |  |  | [ ] | Appendix C 10 applicable?
61 |  | [ ] |  |  | [ ] | Site walk through drawing / map with photo #, description and notes attached?
NOTES:
Non-Point Source Program
2 Martin Luther King Jr. Dr S.E.
Suite 1462 East Tower
Atlanta, GA 30334