## Ozone Virus Inactivation
Virus Inactivation Via Ozone Treatment
| System Name: |  |  | Temperature (°C)
| System Number: |  |  |  | 1 | 5 | 10 | 15 | 20 | 25
| Treatment Plant Name: |  |  | 4-log | 1.8 | 1.2 | 1 | 0.6 | 0.5 | 0.3
*use 1 block if temperature is less than or equal to 1
Profile for:
Date | Contact Time (min) (from CT Profile) | Disinfectant Residual (mg/L) | Calculated CT Value | Water Temperature (°C): | High Temperature From Chart (°C) | Low Temperature From Chart (°C) | High CT Value From Chart: | Low CT Value From Chart: | Actual CT Value: | Inactivation Ratio | Logs of Inactivation
1 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
2 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
3 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
4 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
5 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
6 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
7 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
8 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
9 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
10 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
11 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
12 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
13 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
14 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
15 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
16 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
17 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
18 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
19 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
20 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
21 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
22 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
23 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
24 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
25 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
26 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
27 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
28 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
29 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
30 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0
31 |  |  | 0 |  | 1 | 1 | 1.8 | 1.8 | 1.8 | 0 | 0