

###### Phase I Medium MS4

**NPDES Permit No. GAS000XXX**

**

## AUTHORIZATION TO DISCHARGE UNDER THE

**NATIONAL POLLUTANT DISCHARGE ELIMINATION SYSTEM**

#### Discharges From The

**XXXXXXXXXXX**

#### Municipal Separate Storm Sewer System

 **In compliance with the provisions of the Georgia Water Quality Control Act (Georgia Laws 1964, p. 416, as amended), hereinafter called the “State Act”, the Federal Clean Water Act, as amended (33 U.S.C. 1251 et seq.), hereinafter called the “Clean Water Act”, and the Rules and Regulations promulgated pursuant to each of these Acts, all new and existing stormwater point sources covered under this permit are authorized to discharge stormwater from this municipal separate storm sewer system to the waters of the State of Georgia in accordance with the limitations, monitoring requirements and other conditions set forth in Parts I through 5 and Appendix ~~B~~ A hereof.**

 **This permit shall become effective on April 12, 2017.**

 **This permit and the authorization to discharge shall expire at midnight,**

 **April 11, 2022.**

 **Signed this \_\_\_\_** **day of April 2017.**



 **\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

 Director, Environmental Protection Division

 **TABLE OF CONTENTS**

### Part 1: Coverage under this Permit 4

* 1. Coverage 4
	2. Definitions – See Appendix A 4

### Part 2: Criteria for Receiving Waters 4

2.1 Receiving Water Standards 4

**Part 3: Storm Water Management Program** 5

* 1. Legal Authority 5
	2. Sharing Responsibility 5
	3. SWMP Components 6

3.3.1 Structural and Source Control Measures 6

3.3.2 Illicit Discharge Detection and Elimination Program (IDDE) ~~8~~ 9

3.3.3 Industrial Facility Storm Water Discharge Control ~~11~~12

3.3.4 Construction Site Management ~~12~~13

3.3.5 Highly Visible Pollutant Sources (HVPS) ~~14~~15

3.3.6 Enforcement Response Plan (ERP) 15

3.3.7 Monitoring for Discharges to Impaired Waterbodies 16

3.3.8 Municipal Employee Training 18

3.3.~~8~~9 Public Education ~~17~~18

3.3.~~9~~10 Public Involvement ~~17~~19

3.3.~~10~~ 11 Post-Construction ~~17~~19

3.4 Program Amendments ~~21~~24

3.5 Program Approval ~~22~~24

**Part 4: Monitoring and Reporting Requirements** ~~22~~25

4.1 Annual Report ~~22~~25

4.2 Monitoring Procedures ~~23~~26

4.3 Retention of Records ~~24~~26

**Part 5: Standard Permit Conditions** ~~24~~27

* 1. Duty to Comply ~~24~~27
	2. Need to Halt or Reduce Activity Not a Defense ~~25~~28
	3. Duty to Reapply ~~25~~28
	4. Duty to Mitigate ~~25~~28
	5. Proper Operation and Maintenance ~~25~~28
	6. Permit Actions ~~26~~29
	7. Property Rights ~~26~~29

5.8 Duty to Provide Information ~~26~~29

5.9 Inspection and Entry ~~26~~29

5.10 Signatory Requirements ~~27~~30

5.11 Other Information ~~27~~30

5.12 Availability of Reports ~~27~~30

* 1. Severability ~~28~~31
	2. Contested Hearings ~~28~~31
	3. Civil and Criminal Liability ~~28~~31

5.16 Transfer of Ownership ~~28~~31

5.17 Previous Permits ~~28~~31

**Appendix A: Definitions** ~~29~~32

### PART 1. COVERAGE UNDER THIS PERMIT

* 1. Coverage

 1.1.1 This permit covers all new and existing point source discharges of storm water from the authorized municipal separate storm sewer system (MS4) to waters of the State of Georgia.

1.1.2 The permittee is liable for permit compliance and the implementation of the Storm Water Management Program (SWMP) for all point source discharges from the MS4 for which it is owner or operator.

1.1.3 Stormwater discharges regulated by other National Pollutant Discharge Elimination System (NPDES) permits that do not discharge to the MS4 are not covered by this permit (e.g., Publicly Owned Treatment Works and Combined Sewer Overflows).

1.1.4 Discharges which are subject to regulation by other NPDES permits that discharge to waters of the State through the MS4 are still subject to those other NPDES permit requirements.

1.1.5 In order to continue coverage, the permittee must submit a permit application at least 180 days prior to the expiration date of the existing permit on a form provided by the Georgia Environmental Protection Division (EPD).

1.2 Definitions – See Appendix A

All terms used in this permit shall be interpreted in accordance with the definitions as set forth in the Georgia Water Quality Control Act, as amended, and the Federal Clean Water Act (CWA), as amended, unless otherwise defined in Appendix A.

**PART 2. CRITERIA FOR RECEIVING WATERS**

2.1 Receiving Water Standards

The permittee shall implement controls to reduce pollutants to the maximum extent practicable (MEP) in discharges from the MS4 to the waters of the State so as to not cause the following criteria to be exceeded in the receiving waters:

* + 1. All waters shall be free from materials associated with municipal or domestic sewage, industrial waste or any other waste which will settle to form sludge deposits that become putrescent, unsightly, or otherwise objectionable;
		2. All waters shall be free from oil, scum, and floating debris associated with municipal or domestic sewage, industrial waste or other discharges in amount sufficient to be unsightly or to interfere with legitimate water uses;

2.1.3 All waters shall be free from material related to municipal, industrial or other discharges which produce turbidity, color, odor, or other objectionable conditions which interfere with legitimate water uses;

2.1.4 All waters shall be free from turbidity which results in a substantial visual contrast in a water body due to a man-made activity. The upstream appearance of a body of water shall be as observed at a point immediately upstream of a turbidity-causing man-made activity. That upstream appearance shall be compared to a point which is located sufficiently downstream from the activity so as to provide an appropriate mixing zone. For land disturbing activities, proper design, installation, and maintenance of best management practices (BMPs) and compliance with issued permits shall constitute compliance with this criteria.

* + 1. All waters shall be free from toxic, corrosive, acidic and caustic substances discharged from municipalities, industries, or other sources, such as nonpoint sources, in amounts, concentrations, or combinations which are harmful to humans, animals or aquatic life.

### PART 3. STORM WATER MANAGEMENT PROGRAM

The permittee shall update, implement, and enforce a SWMP designed to reduce the discharge of pollutants from the MS4 to the maximum extent practicable (MEP), in order to protect water quality and to satisfy the appropriate water quality requirements of the State Act and Rules. The SWMP must include management practices, control techniques and system design and engineering methods, and other provisions appropriate for the control of such pollutants. The SWMP shall be submitted for approval by EPD within 180 days of the date of issuance of this permit. The SWMP and its amendments, upon approval by EPD, shall become a part of this permit.

3.1 Legal Authority

The permittee must have adequate legal authority to control pollutant discharges into and from its MS4, and to meet the legal requirements of this permit.

3.2 Sharing Responsibility

The permittee may share implementation of one or more of the SWMP components with another entity, or the entity may assume full responsibility for that component. However, the permittee may rely on another entity only if:

3.2.1 The other entity is either implementing or will be implementing the SWMP component;

3.2.2 The particular component is at least as stringent as the corresponding permit requirement; and

3.2.3 The other entity agrees to implement the component on the permittee’s behalf through a written agreement, memorandum of understanding, memorandum of agreement, contract, or other signed document that establishes the obligations of each party.

Written acceptance of this obligation is mandatory and must be maintained as a part of the SWMP. Conducting maintenance on a structure does not infer that the entity conducting the maintenance is the owner or operator of that structure. Even though the permittee may contract with another entity for component implementation, it is the permittee’s responsibility to submit all Permit Applications, Annual Reports, Certification Statements, or any other information requested by EPD.

If the other entity fails to implement the component on the permittee’s behalf, the permittee remains liable for any enforcement actions due to the failure to implement and/or report.

3.3 SWMP Components

The following information should be used in developing and implementing the permittee’s SWMP. The specific requirements can be found in Title 40 of the Code of Federal Regulations (CFR), Part 122.26. A detailed description of the activities related to each requirement must be reported on the annual report form provided by EPD.

3.3.1 Structural and Source Control Measures

The permittee must implement a program which incorporates structural and source control measures to reduce pollutants from runoff from commercial and residential areas that are discharged from the MS4 and includes a schedule for implementing the controls. At a minimum, the program must include the elements listed in Table 3.3.1 below:

**Table 3.3.1**

|  |  |
| --- | --- |
| **SWMP Component** | **Measurable Goals** |
| 1. MS4 Control Structure Inventory and Map
 | 1.a. Provide an inventory and map of MS4 control structures as defined in the SWMP with each annual report. At a minimum, the inventory and map must include catch basins, ditches (miles or linear feet), detention/retention ponds, and storm drain lines (miles or linear feet). 1.b. Provide the number of MS4 control structures added or deleted during the reporting period, and the total number of structures in the inventory, in each annual report. |
| 1. MS4 Inspection and Maintenance Program
 | 2.a. Conduct inspections of the MS4 control structures so that 100% of the structures are inspected within the 5-year permit term. The permittee must conduct a percentage of the inspections each year. The MS4 inspections shall be executed in accordance with the schedule contained in the SWMP. Provide the number and percentage of the total structures inspected during the reporting period in each annual report.2.b. Conduct maintenance on the MS4 control structures as needed. Provide the number and percentage of the total structures maintained during the reporting period in each annual report. |
| 1. Planning Procedures
 | 3.a. Develop or update, as needed, a comprehensive planning document which addresses, in part, areas of new development and redevelopment to reduce pollutants in discharges from the MS4. Describe any changes made to the stormwater portion of the document during the reporting period in each annual report.  |
| 1. Street Maintenance
 | 4.a. Implement street maintenance and cleaning procedures specified in the SWMP. Documentation on activities conducted during the reporting period, such as litter removal, street sweeping, ~~catch basin cleaning~~, deicing material removal, road repair, etc., must be submitted in each annual report. Report details such as the amount of litter removed, miles of street swept, etc., in each annual report.  |
| 1. Flood Management Projects
 | 5.a. Implement the procedures specified in the SWMP to ensure new flood management projects (e.g., detention and retention basins) are assessed for water quality impacts during the reporting period. Provide details in each annual report.5.b. Implement the procedures specified in the SWMP to ensure existing structural flood control devices are evaluated during each reporting period to determine if retrofitting the devices for additional pollutant removal is feasible. Provide details in each annual report. |
| 1. Municipal Waste FacilitiesExcluding Any Facilities Addressed in Section 3.3.3
 | 6.a. Establish, maintain, and/or update an inventory of municipal waste facilities and provide in each annual report. 6.b. Implement the program to control runoff from municipal waste facilities. The program shall include the facility inspection prioritization, inspection frequency, and inspection documentation protocol as described in the SWMP. Conduct an inspection on 100% of the inventoried facilities within the 5-year permit term. The permittee must conduct a percentage of the inspections each year. Provide documentation of inspections in each annual report. |
| 1. Municipal Facilities with the Potential to Cause Pollution Excluding Any Facilities Addressed in Item 6 Above or in Section 3.3.3.

 | 7.a. Establish, maintain, and/or update an inventory of municipal facilities with the potential to cause pollution and provide in each annual report. 7.b. Implement the program to control runoff from municipal facilities with the potential to cause pollution. The program shall include the facility inspection prioritization, inspection frequency, and inspection documentation protocol described in the SWMP. Conduct an inspection on 100% of the inventoried facilities within the 5-year permit term. The permittee must conduct a percentage of the inspections each year. Provide documentation of inspections in each annual report. |
| 1. Pesticide, Fertilizer, and Herbicide Application
 | 8.a. Utilize a program to reduce pollution by the application of pesticides, fertilizer, and herbicides by commercial applicators and distributors in accordance with the Georgia Department of Agriculture requirements. 8.b. Implement the program to reduce pollution caused by the municipal use of pesticides, fertilizers, and herbicides ~~through municipal use of chemicals~~, including an inventory, municipal staff training in application and safety by the Georgia Department of Agriculture, etc., described in the SWMP. Provide documentation of program activities in each annual report. |
|  |  |

3.3.2 Illicit Discharge Detection and Elimination Program (IDDE)

The permittee must implement and enforce a program to detect and eliminate illicit discharges and improper disposal of pollutants into the MS4. At a minimum, the program, described in the SWMP, must include the elements listed in Table 3.3.2 below:

**Table 3.3.2**

|  |  |
| --- | --- |
| **SWMP Component** | **Measurable Goals** |
| 1. Legal Authority
 | 1.a. Re-evaluate and modify the existing IDDE ordinance when necessary for compliance with this permit. The permittee must ensure that the ordinance provides the authority to conduct inspections and monitoring, control illicit discharges and connections, and control illegal dumping and spills into the MS4. The ordinance must include the permittee’s authority to take legal action to eliminate illicit discharges or connections. If the ordinance is revised during the reporting period, submit a copy of the adopted ordinance with the annual report. |
| 1. Outfall Inventory/Map
 | 2.a. Provide an updated inventory and a map showing the location of all outfalls from the MS4 and the names and location of all waters of the State that receive discharges from those outfalls with each annual report. 2.b. Provide the number of outfalls added or deleted during the reporting period, and the total number of outfalls in the inventory, in subsequent annual reports.  |
| 1. IDDE Plan
 | 3. Implement the IDDE Plan to detect and address non-storm water discharges to the MS4 as described in the SWMP. The components of the Plan are as follows:3.a. Conduct dry weather screening (DWS) inspections on 100% of total outfalls within the 5-year permit term in accordance with the procedures contained in the SWMP. If the permittee conducts stream walks in conjunction with the DWS inspection, then 100% of the stream miles must be inspected within the 5-year period. The permittee must conduct a percentage of the inspections each year. Provide the number and percentage of outfall inspections conducted during the reporting period and documentation of the inspections in each annual report.3.b. Implement investigative and follow-up procedures when the results of the screening indicate a potential illicit discharge, including the sampling and/or inspection procedures described in the SWMP. If the source of the illicit discharge is identified as deriving from an adjacent MS4, the permittee must coordinate with that MS4. Provide information on illicit discharge detection activities performed to eliminate any identified illicit discharges during the reporting period in each annual report.3.c. Ensure any identified illicit discharges are eliminated. If necessary, implement the enforcement procedures described in the SWMP and in accordance with the Enforcement Response Plan (ERP) in Part 3.3.6 of this permit. Provide information on any enforcement actions taken for illicit discharges during the reporting period in each annual report. |
| 1. Spill Response Procedures
 | 4.a. Implement the procedures described in the SWMP to prevent, contain, and respond to spills that may discharge to the MS4 described in the SWMP. Provide documentation ~~details~~ on spill occurrences and responses during the reporting period in each annual report. |
| 1. Public Reporting Procedures
 | 5.a. Implement the procedures described in the SWMP to promote, publicize, and facilitate public reporting of illicit discharges. Provide details on any activities conducted during the reporting period in each annual report.5.b. Implement the procedures for receiving and responding to complaints related to illicit discharges described in the SWMP. Provide information on each complaint related to IDDE that was received and investigated during the reporting period in each annual report, including its resolution. |
| 1. Proper Management and Disposal of Used Oil and Toxic Materials
 | 6.a. Implement the activities to facilitate the proper management and disposal of used oil and toxic materials, including educational activities, household hazardous waste collection programs, etc., described in the SWMP. Provide details on any activities performed during the reporting period in each annual report. |
| 1. Sanitary Sewer Infiltration Controls
 | 7.a. If the permittee owns or operates the sanitary sewer system within its jurisdiction, implement the activities to detect and eliminate seepage and spillage from municipal sanitary sewers to the MS4 described in the SWMP. Provide details on ~~any~~ activities performed during the reporting period in each annual report. |
|  |  |

The following categories of non-stormwater discharges or flows must be addressed only if they are identified as significant contributors of pollutants to the MS4:

* water line flushing;
* landscape irrigation;
* diverted stream flows;
* rising ground waters;
* uncontaminated ground water infiltration (as defined in 40 CFR Part 35.2005(20));
* uncontaminated pumped ground water;
* discharges from potable water sources;
* foundation drains;
* air conditioning condensation;
* irrigation water;
* springs;
* water from crawl space pumps;
* footing drains;
* lawn watering;
* individual residential car washing;
* flows from riparian habitats and wetlands;
* dechlorinated swimming pool discharges;
* street wash water; and
* flows from fire-fighting activities.
	+ 1. Industrial Facility Storm Water Discharge Control

The permittee must implement and enforce a program to monitor and control pollutants in stormwater discharges from industrial facilities into the MS4. At a minimum, the program must contain the elements listed in Table 3.3.3 below:

**Table 3.3.3**

|  |  |
| --- | --- |
| **SWMP Component** | **Measurable Goals** |
| 1. Industrial Facility Inventory
 | 1.a. Develop and/or update an inventory of facilities with industrial activities that potentially discharge to the MS4. At a minimum, this shall include facilities listed on EPD’s Industrial Storm Water General Permit (IGP) Notice of Intent (NOI) and No Exposure Exclusion (NEE) online listings. Provide an updated inventory in each annual report. |
| 1. Inspection Program
 | 2.a. Implement the industrial facility inspection program which includes the facility inspection prioritization, inspection frequency, and inspection documentation protocol described in the SWMP. Conduct inspections on 100% of the inventoried facilities that discharge to the MS4 within the 5-year permit term. The permittee must conduct a percentage of the inspections each year. Provide the total number of facilities and the number and percentage of inspections conducted during the reporting period and documentation of the inspections in each annual report.2.b. Implement a monitoring program for stormwater runoff from industrial facilities, waste facilities, hazardous waste treatment, storage and disposal facilities, as defined in the SWMP. Provide the results of any monitoring conducted during the reporting period in each annual report. This shall include all facilities that the permittee determines are contributing a substantial pollutant loading to the MS4. |
| 1. Enforcement Procedures
 | 3.a. Implement enforcement procedures described in the SWMP to be utilized if a stormwater violation is noted at an industrial facility that discharges to the MS4 during the reporting period and in accordance with the ERP in Part 3.3.6 of this permit. Provide documentation on any enforcement actions taken during the reporting period in each annual report.  |
| 1. 4. Educational Activities
 | 4.a. Implement educational activities for industrial facilities during the reporting period. Provide details of ~~any~~ educational activities performed during the reporting period in each annual report. |
|  |  |

3.3.4 Construction Site Management

The permittee must implement and enforce a program to maintain structural and/or non-structural BMPs to reduce pollutants in stormwater runoff from construction sites to the MS4 as defined in the SWMP. At a minimum, the program must contain the elements listed in Table 3.3.4 below:

**Table 3.3.4**

|  |  |
| --- | --- |
| **SWMP Component** | **Measurable Goals** |
| 1. Legal Authority | 1.a. Re-evaluate and modify the existing Erosion and Sedimentation (E&S) ordinance when necessary for compliance with this permit. The permittee must ensure that the E&S ordinance provides the authority to issue land disturbing activity permits; require best management practices to prevent and minimize E&S; require erosion, sedimentation and pollution control plan submission and review prior to commencing construction; conduct inspections and enforcement, including stop work orders, bond forfeiture, and monetary penalties; and require education and certification for persons involved in land development, design, review permitting, construction, monitoring, inspection and other land disturbing activities. If the E&S ordinance is revised during the reporting period, submit a copy of the adopted ordinance in the annual report. |
| 1. Site Plan Review Procedures
 | 2.a. Implement the site plan review procedures described in the SWMP. 2.b. Provide a list of the site plans received and the number of plans reviewed, approved, or denied during the reporting period in each annual report.2.c. Provide the number of Land Disturbance Activity (LDA) permits issued during the reporting period in each annual report. |
| 1. 3. Inspection Program
 | 3.a. Implement the construction site inspection program to ensure that structural and non-structural BMPs at construction sites are properly designed and maintained as specified in the Construction General Permits (CGPs).3.b. The construction site inspection program shall include the facility inspection prioritization, inspection frequency, and inspection documentation protocol described in the SWMP or in accordance with the CGPs. 3.c. Provide the number of active sites and the number of inspections conducted during the previous calendar year in each annual report. |
| 1. Enforcement Procedures
 | 4.a. Implement enforcement procedures for E&S violations documented at construction sites during the reporting period as described in the SWMP and in accordance with the ERP in Part 3.3.6 of this permit. Provide documentation on any enforcement actions taken during the reporting period in each annual report, including the number and type (Notice of Violation, Stop Work Order, etc.).  |
| 1. Educational/Training Activities
 | 5.a. All builders, developers, contractors, and other entities involved in construction activities subject to the CGPs shall comply with the certification requirements of the Georgia Erosion and Sedimentation Act and the rules adopted by the Georgia Soil and Water Conservation Commission.Ensure that MS4 staff involved in construction activities subject to the CGPs are trained and certified in accordance with the rules adopted by the Georgia Soil and Water Conservation Commission. Provide the number and type of current certification in each annual report. |

3.3.5 Highly Visible Pollutant Sources (HVPS)

The permittee must implement and enforce a program to control pollutants in stormwater runoff from HVPS facilities into the MS4. At a minimum, the program must contain the elements listed in Table 3.3.5 below:

**Table 3.3.5**

|  |  |
| --- | --- |
| **SWMP Component** | **Measurable Goals** |
| 1. HVPS Facility Inventory
 | 1.a. Establish, maintain and/or update an inventory for HVPS facilities that discharge to the MS4. Provide an updated inventory in each annual report. |
| 1. Inspection Program
 | 2.a. Implement the HVPS facility inspection program which includes the facility inspection prioritization, inspection frequency, and inspection documentation protocol described in the SWMP. Conduct inspections on 100% of inventoried facilities that discharge to the MS4 during the 5-year permit term. The permittee must conduct a percentage of the inspections each year. Provide the total number of facilities and the number and percentage of inspections conducted during the reporting period and documentation in each annual report. |
| 1. Enforcement Procedures
 | 3.a. Implement enforcement procedures to be utilized if a stormwater violation is noted at an HVPS facility that discharges to the MS4 as described in the SWMP and in accordance with the ERP in Part 3.3.6 of this permit. Provide documentation on any enforcement actions taken at HVPS facilities during the reporting period in each annual report.  |
| 1. 4. Educational Activities
 | 4.a. Implement educational activities for HVPS facilities during the reporting period. Provide details of any educational activities performed during the reporting period in each annual report. |
|  |  |

3.3.6 Enforcement Response Plan (ERP)

The permittee must develop and implement an ERP that describes the action to be taken for violations associated with the IDDE, construction, industrial, HVPS, and other SWMP programs. The ERP will detail the permittee’s responses to any noted storm water violations, including escalating enforcement responses to address repeat and continuing violations. The plan must detail:

* Names of ordinances providing the legal authority to undertake enforcement, including citation of specific ordinance sections;
* Types of enforcement mechanisms available. For each area (IDDE, construction, industrial, HVPS, etc.), the ERP should list the enforcement actions that the permittee has the authority to use, including such actions as:
	+ verbal warnings;
	+ written notice of violations;
	+ citations (with fines);
	+ stop work orders;
	+ withholding plan approval or other authorizations; and
	+ any other available enforcement mechanisms.
* Description of when each enforcement mechanism will be employed, including the path of escalation;
* Time frames for each step, including investigation of noncompliance, sequence and use of enforcement mechanisms, corrective action by responsible party, re-inspection of site, etc.
* Description of the methods to be used to track, either manually or electronically, instances of noncompliance, including such items as:
	+ name of owner/operator of facility and/or the location or address;
	+ type of site (IDDE, construction, industrial, HVPS, etc);
	+ description of noncompliance;
	+ description of enforcement action(s) used;
	+ time frames for each step (e.g. investigation, corrective action, re-inspection);
	+ documentation of inspection and enforcement actions taken;
	+ documentation of referral to other departments or agencies; and
	+ date of violation resolution.

The ERP must be reviewed annually and revised as necessary. If revised during the reporting period, submit the ERP to EPD for review and approval. The ERP is an addendum to the permittee’s SWMP.

3.3.7 Monitoring for Discharges to Impaired Waterbodies

The permittee must identify any impaired waterbodies located within its jurisdictional area, using the latest approved Georgia 305(b)/303(d) List of Waters (http://[~~www.gaepd.org/Documents/305b.html~~](http://www.gaepd.org/Documents/305b.html)~~)~~ www.epd.georgia.gov/georgia-305b303d-list-documents, which contain MS4 outfalls or are within one (1) linear mile downstream of MS4 outfalls. Also, the pollutant of concern must be identified. The permittee shall propose a monitoring and implementation plan (Plan) addressing each pollutant of concern. The permittee must check annually whether an impaired waterbody, within its jurisdiction, has been added to the latest 305(b)/303(d) list. Newly listed waterbodies must be addressed in the Plan and the SWMP must be revised accordingly. The permittee must report on all monitoring activities in subsequent annual reports. If a TMDL containing a wasteload allocation specific to one or more of the permittee’s outfalls is approved, then the wasteload allocation must be incorporated into the SWMP. All previous and newly approved TMDLs within the jurisdictional areas must be included in either the proposed Plan or a revision to the existing Plan.

The Plan shall include:

* Sample location, whether samples are collected instream (i.e., upstream and downstream), from outfalls during wet weather events, or a combination of both locations. Bacteriological samples must be collected instream. If the permittee chooses to conduct outfall sampling and there are multiple outfalls located on an impaired waterbody, then the permittee may choose representative outfalls for sampling in place of sampling all outfalls;
* Sample type, frequency, and any seasonal considerations;
* Implementation schedule to start monitoring for each pollutant of concern;
* Map showing the location of the impaired waterbodies, the monitoring location, and all identified MS4 outfalls located on the impaired waterbodies or occurring within one linear mile upstream of the waterbodies, or a schedule for confirming the location of these outfalls; and
* Description of proposed BMPs to be used to control and reduce the pollutants of concern and a schedule for implementation of these BMPs.

Following review and comment on the Plan by EPD, the permittee will incorporate any necessary changes into the Plan.

Each Annual Report shall include;

* An assessment of the data trends over time for each pollutant of concern. The assessment shall initially include a characterization of baseline conditions. The data assessment should include an evaluation on whether there is a water quality improvement or degradation. If monitoring identifies that an upstream MS4 is the source of the pollutant of concern, then the permittee must coordinate with the upstream MS4 to take steps to ~~preserve~~ restore the watershed.
* An assessment to determine the effectiveness of the BMPs employed and what, if any, additional adaptive BMP measures may be necessary to return the waterbody to compliance with State water quality standards. If BMP revisions and/or the addition of BMPs is necessary, then the revised Plan must be submitted to EPD for review and approval.

For those waterbodies where the permittee is conducting monitoring, the data must be made available to other MS4 permittees upon request. In the event that monitoring is performed in accordance with an EPD-approved Sampling Quality and Assurance Plan, and a waterbody is removed from the 303(d) list of impaired waterbodies, then monitoring conducted under the Plan may cease. Monitoring for the purposes of de-listing an impaired waterbody will benefit the permittee through reduced expenses associated with long-term testing.

3.3.8 Municipal Employee Training

The permittee must conduct stormwater-related training for its employees at least annually. The training should address such stormwater topics as are necessary for the employee to do his/her job and may include such topics as the inspection and maintenance of the MS4, good housekeeping practices at municipal facilities, illicit discharge detection and elimination, industrial facility inspections, construction site inspections and/or highly visible pollutant source inspections. Documentation of the training activity, including the topic(s), date(s), and attendees must be provided in each annual report.

3.3.-9Public Education

Conduct a public education program that addresses water quality issues and the protection of water resources and encourages the use of green infrastructure/low impact development. The program should consider such things as litter control, illicit discharges, ~~and~~ household hazardous waste disposal, ~~and~~ residential pesticide, fertilizer and herbicide application and GI/LID techniques. If the permittee participates in an existing regional program, then the Annual Report should summarize the activities performed during the reporting period. If the permittee implements its own public education program, the proposed program must be described in the SWMP and the activities conducted during the reporting period must be documented in the Annual Report.

Public education materials are available on numerous websites, including these suggested sites: U.S. EPA ([www.epa.gov](http://www.epa.gov)), Clean Water Campaign ([www.cleanwatercampaign.~~com~~](http://www.cleanwatercampaign.com)org) and Center for Watershed Protection ([www.cwp.org](http://www.cwp.org)).

3.3.10 Public Involvement

Conduct a public involvement program that creates opportunities for citizens to participate in the SWMP. This can include involving the public in planning and implementation of activities. These activities can include such things as Adopt-A-Stream, Adopt-A-Road, Rivers Alive, storm drain stenciling, stakeholder advisory committees, etc. The proposed program must be described in the SWMP and the activities conducted during the reporting period must be documented in the Annual Report. Consider posting the SWMP on the permittee’s website, where feasible.

3.3.11 Post-Construction

3.3.11(a) Post-Construction Stormwater Controls

3.3.11(a)(1) Ordinance Review

The permittee must adopt ordinances, or update existing ordinances, when necessary for compliance with this permit, to address development and enforcement of post-construction controls. The ordinance must provide the authority to conduct plan reviews, conduct inspections, enter into inspection and maintenance agreements, and pursue enforcement. For those permitees located within Chatham County, the model post-construction ordinance in the Coastal Stormwater Supplement (CSS) or one more stringent must be adopted by April 12, 2018. If the ordinance is revised during the reporting period, submit a copy of the adopted ordinance with the annual report.

The ordinance revisions must include the adoption and implementation of the applicable parts of either the latest version of the Georgia Stormwater Management Manual (GSMM) or an (<http://www.atlantaregional.com/environment/georgia-stormwater-manual>) equivalent or more stringent local design manual, which must include the performance standards listed in Section 3.3.11(a)(2). For Chatham County and the permittees located within Chatham County, the adopted manual shall include the CSS to the GSMM. . The permittee must implement the GSMM and CSS to the maximum extent practicable. The permittee must provide documentation to EPD in the 2016-2017 annual report to demonstrate the date the adoption of the design manual occurred.

3.3.11(a)(2) Performance Standards

At a minimum, the permittee shall apply the standards for new development and redevelopment to any site that meets one or more of the following criteria:

~~For those permittees located outside of Chatham County and subject to the GSMM:~~

* New development that creates or adds 5,000 square feet or greater of new impervious surface area, or that involves land disturbing activity of 1 acre of land or greater.
* Redevelopment that creates or adds 5,000 square feet or greater of new impervious surface area, or that involves land disturbing activity of 1 acre or more, ~~including projects less than one acre if they are part of a larger common plan of development or sale.~~
* Any commercial or industrial new development or redevelopment, regardless of size, with a Standard Industrial Classification (SIC) code that falls under the NPDES Industrial Stormwater Permit program, or is a hotspot land use.

~~For those permittees located in Chatham County and subject to the CSS:~~

* ~~New development that creates or adds 5,000 square feet or greater of impervious surface area, or that involves land disturbing activity of 1 acre or more.~~
* ~~Redevelopment that creates or adds or replaces 5,000 square feet or greater of impervious surface area, or that involves land disturbing activity of 1 acre or more, including projects less than 1 acre if they are part of a larger common plan of development or sale.~~

For sites meeting the above criteria, the permittee shall ensure that the following minimum standards are considered during the site plan preparation process:

Stormwater Runoff Quality/Reduction

All stormwater runoff shall be retained onsite or adequately treated prior to discharge. The stormwater management system shall be designed to retain up to the first 1.0 inch of rainfall on the site, to the maximum extent practicable. If the first 1.0 inch of rainfall can be retained onsite using runoff reduction methods, then additional water quality treatment is not required. If the 1.0 inch cannot be retained onsite, the remaining runoff from a 1.2 inch rainfall event must be treated to remove at least 80% of the calculated average annual post-development total suspended solids (TSS) load or equivalent as defined in the GSMM or in the equivalent manual. Compliance with this performance standard is presumed to be met if the stormwater management system is sized to capture and treat the water quality treatment volume, which is defined as the runoff volume resulting from the first 1.2 inches of rainfall from a site.

Stream Channel/Aquatic Resource Protection

Stream channel and/or aquatic resource protection shall be provided by using the following approaches: 1) 24-hour extended detention storage of the 1-year, 24-hour return frequency storm event; 2) erosion prevention measures such as energy dissipation and velocity control; and 3) preservation of the applicable stream buffer.

Overbank Flood Protection

Downstream overbank flood protection shall be provided by controlling the post-development peak discharge rate to the predevelopment rate for the 25-year, 24-hour storm event.

Extreme Flood Protection

Extreme flood protection shall be provided by controlling the 100-year, 24-hour storm event such that flooding is not exacerbated.

Trout Stream Protection

For receiving waters with a trout stream designation, which contain outfalls from the permittee’s MS4, the permittee must address the protection of the trout waters from impacts from the MS4 outfalls due to elevated temperature. Compliance with this requirement may be demonstrated through compliance with the Stormwater Runoff Quality/Reduction requirement.

3.3.11(a)(3) Feasibility for Linear Projects

The permittee must apply the performance standards listed in Part 3.3.11 (a)(2) above during the design of all construction projects. However, the permittee may be unable to apply the performance standards, all or in part, for linear projects being constructed by the permittee’s department of transportation. The permittee may develop a feasibility program which sets reasonable criteria for determining when it is infeasible to implement the performance standards in linear projects. Some factors to be considered would be the increase in project costs above a certain percentage, delays in projects above a certain time, and site limitations, etc. The permittee may develop this feasibility program and submit it to EPD for review and approval. Upon approval, the permittee may begin implementation of this feasibility program for linear projects constructed by the permittee’s Department of Transportation only.

3.3.11 (b) Green Infrastructure/Low Impact Development (GI/LID)

3.3.11(b)(1) Ordinance Review

EPD encourages the use of GI/LID practices and approaches on both new and redeveloped sites. The permittee shall continue to review and revise, where necessary, building codes, ordinances, and other regulations to ensure they do not prohibit or impede the use of GI/LID practices, including infiltration, reuse, and evapotranspiration. At a minimum, the permittee shall assess those regulations governing residential and commercial development, road design and parking requirements. During the regulatory review, the permittee should consider the inclusion of incentives for use of GI/LID practices into the ordinance.

3.3.11(b)(2) Techniques and Structures

~~Upon completion of the ordinance review, t~~The permittee must have a program in place for considering the use of GI/LID techniques and developing an inventory of structures. The program must include an inspection and maintenance component. GI/LID can include the following:

* Better Site Planning Techniques (e.g. protection of conservation areas);
* Better Site Design Techniques (e.g. reducing roadway lengths and widths, reducing parking lot footprints); and/or
* Low Impact Development Structures (e.g. green roofs, permeable pavement, vegetated filter strips, rain gardens).

At a minimum, the program must address the elements listed in Table 3.3.11(b)(2) below to address post-construction runoff:

**Table 3.3.11(b)(2)**

|  |  |
| --- | --- |
| **GI/LID Program Elements** | **Measurable Goals** |
| 1. Legal Authority
 | 1.a. ~~Evaluate and iI~~f necessary, evaluate and modify existing ordinances. If the ordinance(s) are revised during the reporting period, submit a copy of the adopted ordinance(s) with the annual report.   |
| 2. GI/LID Program | 2.a. Implement the GI/LID program approved by EPD. The program shall include procedures for evaluating the feasibility and site applicability of different GI/LID techniques and practices, and various structures and practices to be considered. If the program is revised during the reporting period, submit the revised program to EPD for review with the annual report.  |
| 3. GI/LID Structure Inventory | 3.a. ~~Update an inventory of GI/LID structures located within the permittee’s jurisdiction, including the total number of each type of structure annually.~~ Track the addition or deletion of ~~new~~ GI/LID structures through the plan review process and ensure the structures are added to the inventory. Provide an updated inventory including the type and total number of structures in each annual report. |
| 4. Inspection and Maintenance Program | 4.a. Conduct inspections and/or ensure that inspections are conducted on 100% of the total privately owned non-residential and publicly owned GI/LID structures within the 5-year permit term. Provide the number and/or percentage of the total structures inspected during the reporting period in each annual report.4.b. Conduct maintenance on the publicy owned ~~non-residential~~ GI/LID structures owned by the permittee, as needed. Provide the number and/or percentage of the total structures maintained during the reporting period in each annual report.4.c. Implement procedures for ensuring privately-owned non-residential GI/LID structures are maintained as needed. Provide documentation of these activities in each annual report.  |

Design information on GI/LID practices can be found on the Atlanta Regional Commission’s website ( http://www.atlantaregional.com/) for the GSMM and the CSS to the GSMM. Additional information on green infrastructure and better site design can be found on numerous websites, including these suggested sites: U.S. EPA ([www.epa.gov](http://www.epa.gov)), Center for Watershed Protection ([www.cwp.org](http://www.cwp.org)), Georgia Coastal Resource Division’s “Georgia’s Green Growth Guidelines” ( http://coastalgadnr.org/cm/green.guide), and Green Infrastructure Center ([www.gicinc.org](http://www.gicinc.org)). In addition, you may want to consult the following webpage~~s~~ on EPA’s website: [www.epa.gov/nps/lid](http://www.epa.gov/nps/lid).

3.4 Program Amendments

EPD may require a revision of the SWMP at any time it is deemed necessary by the Director to comply with the goals and requirements of the State Act, but specifically for any of the following reasons:

3.4.1 A change has occurred which will significantly impact the potential for the discharge of pollutants to the waters of the State of Georgia;

3.4.2 The permittee’s program proves ineffective in controlling pollutants from the MS4 to the ~~MEP~~ maximum extent practicable;

3.4.3 An adverse impact to water quality has been documented as a result of discharges from the MS4; or

3.4.4 To include more stringent requirements necessary to comply with new State or Federal statutory or regulatory requirements.

The Director shall notify the permittee of the required modifications in writing and set forth a schedule for the permittee to develop and implement the modified SWMP. The permittee may propose alternative SWMP modifications to EPD.

3.5 Program Approval

The SWMP may be modified by the permittee at any time. Written notification of proposed SWMP modifications must be submitted to EPD at least 30 days prior to implementation of the modification. EPD reserves the right to disapprove the SWMP modification.

### PART 4. MONITORING AND REPORTING REQUIREMENTS

4.1 Annual Report

The permittee shall prepare an annual system-wide report covering the reporting period April 1 through March 31. The report shall be submitted by May 15th following the reporting period. EPD is preparing an electronic method of reporting (eReporting), EPD will notify the permittee when the system is available for use. Upon notification, the permittee will be required to resubmit the permit application electronically, and begin submitting the annual report electronically in accordance with EPD guidance. The report must include a comprehensive summary of all the SWMP activities conducted during the reporting period. The report shall be submitted using the form provided by EPD. The Phase I Medium Annual Report form is available on EPD’s website at [www.](http://www.)epd.georgia.gov. All applicable information required to complete the annual report shall be filled out and the certification statement shall be signed prior to submittal. A summary of the annual report requirements is as follows:

4.1.1 The status of implementing the components of the SWMP that are established as permit conditions;

4.1.2 Proposed changes to the SWMP;

4.1.3 Revisions, if necessary, to the assessment of controls ~~and the estimated reduction in pollutant loadings from MS4 discharges;~~

4.1.4 A summary of data, including monitoring data that was accumulated throughout the reporting period;

4.1.5 Annual expenditures for the reporting period and the annual fiscal analysis for the upcoming reporting period. The permittee must submit its budget, including the necessary capital and operation and maintenance expenditures associated with MS4 permit compliance, as supporting documentation with its annual report to EPD to demonstrate the funding source allocation for MS4 permit compliance and related SWMP activities;

4.1.6 A summary describing the number and nature of enforcement actions, inspections, and public education programs; and

4.1.7 Identification of water quality improvements or degradation.

The permittee shall be responsible for the content of the report or the failure to provide information for the report relating to the MS4 for which it is the owner or operator. The permittee shall sign and certify the Annual Report as required under Part 5.10 of this permit.

4.2 Monitoring Procedures

 4.2.1 The permittee must perform all monitoring described in the SWMP per Table 3.3.2, Table 3.3.3, and Table 3.3.7. The purpose of the monitoring is to identify potential sources of pollution, determine the best method to address water quality issues, and allow evaluation of the effectiveness of the SWMP. Implement additional monitoring if needed to identify pollution sources. If monitoring is being conducted for another reason (e.g., watershed assessment, watershed protection plan), then the data may be used to conduct the evaluation described above.

4.2.2 Monitoring must be conducted according to approved test procedures set forth in 40 CFR Part 136, unless other approved test procedures have been specified, excluding IDDE field screening procedures.

4.2.3 Parameters shall be analyzed to the detection limits specified by EPD. If a parameter is not detected at or above the detection limit, a value of “NOT DETECTED” will be reported for that sample and the detection limit will also be reported.

* + 1. If the permittee monitors any parameter at the designated location(s) more frequently than required by this permit, the permittee shall analyze all samples using approved analytical methods specified in Part 4.2.2 of this permit. EPD may require more frequent monitoring or the monitoring of other parameters not specified in this permit or the SWMP by written notification to the permittee.

4.2.5 Laboratory and Analyst Accreditation. All monitoring data not prepared in situ shall be prepared by a laboratory accredited by the State of Georgia in accordance with EPD Rules for Commercial Environmental Laboratories 391-3-26, or, where the permittee does their own analysis with their own personnel, by a Laboratory Analyst certified in compliance with the Georgia State Board of Examiners for Certification of Water and Wastewater Treatment Plant Operators and Laboratory Analysts Act. In situ means that the sample is analyzed at the point of collection and has not been transported any distance.

4.3 Retention of Records

4.3.1 The permittee shall retain copies of all reports required by this permit, all monitoring information and records of all other data required by or used to demonstrate compliance with this permit, including any additional monitoring performed which is not required by this permit, for a period of at least three years. After EPD’s approval, the permittee will implement the latest revision of the SWMP, while retaining on file the previous version of the program for a period of at least three years. These periods may be modified by the Director by written notification at any time.

4.3.2 Records of monitoring information shall include:

* + The date, exact place, time of sampling, or measurements;
	+ The individual(s) who performed the sampling or measurements;
	+ The date(s) analyses were performed;
	+ The individual(s) who performed the analyses;
	+ The analytical techniques or methods used; and
	+ The results of the analyses.

4.3.3 The permittee must submit its records to EPD upon written request. The permittee must make its records, including the SWMP, available to the public as required by open records requirements.

### PART 5. STANDARD PERMIT CONDITIONS

5.1 Duty to Comply

5.1.1 The permittee must comply with all conditions of this permit. Any permit noncompliance constitutes a violation of the Clean Water Act and the State Act and is grounds for:

* Enforcement action;
* Permit termination, revocation and reissuance, or modification; or
* Denial of a permit renewal application.

5.1.2 The Clean Water Act and the State Act both provide that any person who falsifies or tampers with, or knowingly renders inaccurate any monitoring device or method required under this permit, or who makes any false statement, representation, or certification in any record submitted or required by this permit, including monitoring reports or reports of compliance or noncompliance, shall, if convicted, be punished by a fine or by imprisonment, or by both. Both Acts include procedures for imposing civil penalties for violations or for negligent or intentional failure or refusal to comply with any final or emergency order of the Director.

5.1.3 If, for any reason, the permittee does not comply with, or will be unable to comply with any condition specified in this permit, the permittee shall provide EPD with an oral report within 24 hours from the time the permittee becomes aware of the circumstances, followed by a written report within five (5) days. The written submission shall contain:

* Description of the noncompliance and its cause;
* Exact dates and times of noncompliance or, if not corrected, the anticipated time the noncompliance is expected to continue; and
* Steps being taken to reduce, eliminate and prevent recurrence of the noncompliance.

5.1.4 The permittee shall give written notice to EPD at least ten (10) days before any planned changes in the permitted activity, which may result in noncompliance with permit requirements.

5.2 Need to Halt or Reduce Activity Not a Defense

 It shall not be a defense for the permittee, in an enforcement action, that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this permit.

5.3 Duty to Reapply

 If the permittee wishes to continue an activity regulated by this permit after the expiration date of the permit, the permittee must apply for and obtain a new permit.

5.4 Duty to Mitigate

 The permittee shall take all reasonable steps to minimize or prevent any discharge in violation of this permit which has a reasonable likelihood of adversely affecting human health or the environment.

5.5 Proper Operation and Maintenance

 The permittee shall at all times, properly operate and maintain all facilities and systems of treatment and control (and related appurtenances), owned or operated by the permittee to achieve compliance with the terms and conditions of this permit and with the requirements of the SWMP. Proper operation and maintenance also includes adequate laboratory controls and appropriate quality assurance procedures. This provision requires the operation of adequate backup or auxiliary facilities or similar systems which are installed by a permittee only when the operation is necessary to achieve compliance with the conditions of this permit.

5.6 Permit Actions

 This permit may be modified, revoked and reissued, or terminated for cause. The filing of a request by the permittee for permit modification, revocation, reissuance, or termination, or a notification of planned changes or anticipated noncompliance does not stay any permit condition.

5.7 Property Rights

 The issuance of this permit does not convey any property rights of either real or personal property, or any exclusive privileges, nor does it authorize any injury to private property, any invasion of personal rights, or any infringement of Federal, State, or local laws and regulations.

5.8 Duty to Provide Information

 The permittee shall provide to EPD, within a reasonable time frame, any information which the Director may request to determine compliance with this permit. The permittee shall also provide EPD with any requested copies of records required by this permit.

5.9 Inspection and Entry

 The permittee shall allow the Director, the Regional Administrator of USEPA, and their authorized representatives, agents, or employees, after presentation of credentials to:

5.9.1 Enter the permittee’s premises where a regulated facility or activity is located or conducted, or where records are kept under the terms and conditions of this permit;

5.9.2 Have access to and copy at reasonable times, any records required under the terms and conditions of this permit;

5.9.3 Inspect at reasonable times any facilities, equipment, (including monitoring and control equipment) practices, or operations regulated or required under this permit; and

 5.9.4 Sample or monitor at reasonable times, for the purpose of assuring permit compliance or as otherwise authorized by the Clean Water Act, any substances or parameters at any location.

5.10 Signatory Requirements

5.10.1 All information submitted to EPD or that this permit requires the permittee to maintain shall be signed by either a principal executive officer or ranking elected official, or by a duly authorized representative of that person. A person is a duly authorized representative only if:

5.10.1(a) The authorization is made in writing by the official person described above and submitted to EPD.

5.10.1(b) The authorization specifies either an individual or a position having responsibility for the overall operation of the municipality’s SWMP such as the position of manager, operator, superintendent, or position of equivalent responsibility.

5.10.1(c) If an authorization is no longer accurate because of a different individual or position having been authorized, then a new authorization must be submitted to EPD prior to or together with any report, information, or application signed by the authorized representative.

* + 1. Any person signing documents under this section shall make the following certification:

 “I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.”

5.11 Other Information

 If the permittee becomes aware of a failure to submit any relevant facts or of submission of incorrect information in the SWMP, Annual Report, or any report to EPD, the permittee shall promptly submit the relevant facts or information.

5.12 Availability of Reports

 Except for data determined by EPD to be confidential under Section 16 of the State Act or by the Regional Administrator of the USEPA under 40 CFR Part 2, all reports prepared according to the terms of this permit shall be available for public inspection at an office of EPD under the Georgia Open Records Act. All monitoring data, permit applications, permittees’ names and addresses, and permits shall not be considered confidential.

5.13 Severability

 The provisions of this permit are severable. If any permit provision or the application of any permit provision to any circumstance is held invalid, the provision does not affect other circumstances or the remainder of this permit.

5.14 Contested Hearings

 Any person who is aggrieved or adversely affected by any action of the Director shall petition the Director for a hearing within thirty (30) days of notice of this action.

5.15 Civil and Criminal Liability

 The permittee is liable for civil and criminal penalties for noncompliance with this permit and must comply with applicable State and Federal laws. The permit cannot be interpreted to relieve the permittee of this liability even if it has not been modified to incorporate new requirements.

5.16 Transfer of Ownership

 This permit is not transferable to any person except after notice to the Director. The Director may require modification or revocation and reissuance of the permit to change the name of the permittee and incorporate such other requirements as may be necessary under the Clean Water Act.

5.17 Previous Permits

 All previous State water quality permits issued to this permittee are hereby revoked by the issuance of this permit. The permit governs discharges from this MS4 under the NPDES.

**Appendix A**

**Definitions**

**Annual Report** means the document submitted by the permittee on an annual basis summarizing the SWMP activities conducted during the previous reporting period, in accordance with Part 4.1 of this permit.

**Best Management Practice** or **BMP** means both structural devices to store or treat storm water runoff and non-structural programs or practices which are designed to prevent or reduce the pollution of the waters of the State of Georgia.

**Construction Activity** means the disturbance of soils associated with clearing, grading, excavating, filling of land, or other similar activities which may result in soil erosion.

**Construction General Permits** or **CGPs** means the Georgia NPDES Permit for Stormwater Discharges Associated with Construction Activity Nos. GAR100001, GAR100002 and GAR100003, which identify the Manual for Erosion and Sediment Control in Georgia (Green Book) and stream buffer requirements.

**CWA** means the Federal Clean Water Act (formerly known as the Federal Water Pollution Control Act or the Federal Water Pollution Control Act Amendments of 1972), as amended.

**Director** means the Director of the Environmental Protection Division of the Department of Natural Resources, State of Georgia.

**EPA** or **USEPA** means the United States Environmental Protection Agency.

**EPD** means the Environmental Protection Division of the Department of Natural Resources, State of Georgia.

**Highly Visible Pollutant Source** or **HVPS** means a land use or activity that produces higher than normally found levels of pollutants in stormwater runoff. These facilities may include, but are not limited to, gasoline stations, auto repair shops, commercial car washes, home improvement stores, nurseries, kennels, veterinarian offices, etc. These facilities may also include industries that are not required to be covered under the IGP.

**Hot Spot** means a land use or activity on a site that produces higher concentrations of trace metals, hydrocarbons, or other ~~priority~~ pollutants that are normally found in urban stormwater runoff.

**Illicit Connection** means any man-made conveyance connecting a non-stormwater discharge directly to an MS4.

**Illicit Discharge** means any direct or indirect non-stormwater discharge to the separate storm sewer system, including but not limited to, sewage, process wastewater, and washwater. The discharge may be continuous or intermittent in occurrence.

**Industrial Activity** means the activities related to manufacturing, processing, or raw materials storage areas of an industrial plant.

**Industrial Facility** means a facility that is eligible to be permitted under the IGP because it has an industrial activity ~~listed in Appendix B~~.

**Industrial Storm Water General Permit** or **IGP** means the Georgia NPDES Permit(s) for Storm Water Discharges Associated with Industrial Activity.

**Linear Projects** means construction projects ~~“Roadway Project(s)” means~~ traveled ways including but not limited to roads, sidewalks, multi-use paths and trails, and airport runways and taxiways.

**Maximum Extent Practicable** or **MEP** means the technology-based discharge standards and controls necessary for the reduction of pollutants discharged from an MS4. These standards and controls may consist of a combination of BMPs, control techniques, system design and engineering methods, and such other provisions for the reduction of pollutants discharged from a MS4 as described in the SWMP.

**Municipal Separate Storm Sewer System** or an **MS4** means a conveyance or system of conveyances including roads with drainage systems, municipal streets, catch basins, curbs, gutters, ditches, manmade channels or storm drains, owned or operated by a municipality or other public body, designed or used for collecting or conveying storm water runoff and is not a combined sewer or part of a Publicly Owned Treatment Works.

**National Pollutant Discharge Elimination System** or **NPDES** means the program for issuing, modifying, revoking and reissuing, terminating, monitoring and enforcing permits under the CWA.

**Operator** means the entity that has the primary day-to-day operational control of the activities necessary to ensure compliance with the SWMP requirements and the MS4 permit conditions.

**Outfall** means the most downstream point (i.e., final discharge point) on an MS4 where it discharges to the waters of the State.

**Owner** means the legal title holder to the real property on which is located the facility or site where an SWMP activity takes place.

**Point Source** means any discernible, confined and discrete conveyance, including but not limited to, any pipe, ditch, channel, tunnel, conduit, well, discrete fissure, container, rolling stock, concentrated animal feeding operation, landfill leachate collection system, vessel or other floating craft from which pollutants are or may be discharged into the waters of the State of Georgia. This term does not include return flows from irrigated agriculture or agricultural storm water runoff.

**Pollutant** means dredged spoil, solid waste, incinerator residue, filter backwash, sewage, garbage, sewage sludge, munitions, chemical wastes, biological materials, radioactive materials (except those regulated under the Atomic Energy Act of 1954, as amended), heat, wrecked or discarded equipment, rock, sand, cellar dirt and industrial, municipal and agricultural waste discharged into water.

**POTW** means Publicly Owned Treatment Works

**State Act** means the Georgia Water Quality Control Act, as amended.

**State Rules** or **Rules** means the Georgia Rules and Regulations for Water Quality Control.

**Storm Water** means storm water runoff, snowmelt runoff, and surface runoff and drainage.

**SWMP** or **Program** means the Storm Water Management Program required to be developed and implemented under the terms and conditions of this permit and refers to a comprehensive program to manage the quality of storm water discharged from a MS4.

**Waters of the State** means any and all rivers, streams, creeks, branches, lakes, reservoirs, ponds, drainage systems, springs, wells, wetlands, and all other bodies of surface or subsurface water, natural or artificial, lying within or forming a part of the boundaries of the State which are not entirely confined and retained completely upon the property of a single individual, partnership, or corporation.