## Sheet1
Posting Date | 2024-04-01
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | SPILL_PRIMARY_CAUSE | RIVER_BASIN | WATERWAY_IMPACTED
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-28 | DeKalb | Decatur | 3045 Wadsworth Mill Place, Decatur | 7000 | Raw Sewage | GA0024147 | Collection System | Unknown | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-27 | DeKalb | Decatur | 2413 Carlow Court, Decatur | 4220 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Oconee | Cobbs Creek Tributary
Walker County Water & Sewer Authority (Walker County WSA WPCP) | 2024-03-26 | Walker | Flintstone | 506 James St. | 5000 | Raw Sewage | GA0020478 | WWTP | Debris | Tennessee | Dry Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2024-03-26 | Gwinnett | Buford | 654 Riverside Rd- Buford | 1395 | Raw Sewage | GA0038130 | Collection System | Grease | Chattahoochee | Richland Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-26 | DeKalb | Lithonia | 4557 Meadow Creek Path, Lithonia | 16350 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek
Barnesville, City of (James A. King WWTF) | 2024-03-26 | Lamar | Barnesville | North Trunk Line near Forsyth St | 0 | Raw Sewage | GA0021041 | Collection System | Pipe failure | Ocmulgee | Tobesofkee Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-25 | Fulton | Atlanta | 2650 Proctor Dr NW | 2280 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Proctor Creek
Augusta, City of (J.B. Messerly WPCP) | 2024-03-24 | Richmond | Augusta | 2542 Sheraton Dr | 905 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Rocky Creek
Athens-Clarke County (North Oconee WRF) | 2024-03-24 | Clarke | Athens | 820 Tallassee Road, Athens | 417 | Raw Sewage | GA0021725 | Collection System | Rags | Oconee | Turkey Creek Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-23 | Fulton | Roswell | 410 Roswell Hills Place | 10860 | Raw Sewage | GA0024333 | Collection System | Roots | Chattahoochee | Chattahoochee River
Ashburn, City of (Airport WPCP) | 2024-03-23 | Turner | Ashburn | Rockhouse Rd and Sylvia | 150000 | Raw Sewage | GA0025852 | Collection System | Wet weather | Suwannee | Hat Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-23 | DeKalb | Tucker | 4535 Hugh Howell Road, Tucker | 2250 | Raw Sewage | GA0024147 | Collection System | 3rd party contractor | Chattahoochee | South fork Peachtree Creek Tributary
Private Property | 2024-03-22 | DeKalb | Doraville | 3906 Live Oak Drive, Doraville | 200 | Raw Sewage |  | Private Lateral | Pipe failure | Chattahoochee | North Fork Peachtree Creek Tributary
West Point, City of (West Point WPCP) | 2024-03-21 | Troup | West Point | Old West Point Rd. | 0 | Raw Sewage | GA0020052 | Collection System | Equipment failure | Chattahoochee | Long Cane Creek
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-21 | Fulton | South Fulton | 2520 Lantern Lane | 7000 | Raw Sewage | GA0024333 | Collection System | Roots | Chattahoochee | Morning Creek
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-21 | Fulton | College Park | 4979 Old National Hwy | 9360 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Morning Creek
Augusta, City of (J.B. Messerly WPCP) | 2024-03-21 | Richmond | Augusta | 504 Fleming Ave | 135 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Raes Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-21 | DeKalb | Lithonia | 5116 Klondike Road, Lithonia | 7000 | Raw Sewage | GA0024147 | Collection System | Debris | Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-20 | DeKalb | Scottdale | 308 Hatton Drive, Scottdale | 625 | Raw Sewage | GA0024147 | Collection System | Equipment failure | Ocmulgee | Indian Creek Tributary
Macon Water Authority (Rocky Creek WRF) | 2024-03-20 | Bibb | Macon | I-16 and MLKJ Blvd. | 8800 | Raw Sewage | GA0024546 | Collection System | Contractor | Ocmulgee | Ocmulgee River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-20 | Fulton | Atlanta | 619 S Evelyn Pl NW | 58 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Proctor Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-20 | DeKalb | Tucker | 3555 Lawrenceville Highway, Tucker | 182800 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | South fork Peachtree Creek Tributary A
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-20 | Fulton | Atlanta | 1620 Delowe Dr SW | 2320 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Chattahoochee | Utoy Creek
Athens-Clarke County (North Oconee WRF) | 2024-03-19 | Clarke | Athens | 275 Minor St, Athens | 4319 | Raw Sewage | GA0021725 | Collection System | Pipe failure | Oconee | Brooklyn Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-19 | DeKalb | Tucker | 2101 Tucker Industrial Road, Tucker | 22980 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Chattahoochee | South fork Peachtree Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-19 | Fulton | Atlanta | 1690 Delowe Dr SW | 2340 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Utoy Creek
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-18 | Fulton | Roswell | 1255 Parkmont Drive | 5640 | Raw Sewage | GA0024333 | Collection System | Grease | Chattahoochee | Big Creek
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-18 | Fulton | Roswell | 210 Spring Ridge Trace Roswell, GA 30076 | 2860 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Chattahoochee River
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-18 | Fulton | South Fulton | 7879 Rock Rose Lane | 600 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Morning Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-18 | DeKalb | Decatur | 5455 flat shoals parkway, Decatur | 830 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Snapfinger Creek Tributary
Marietta (City of)- Sewers | 2024-03-18 |  | Marietta | 217 Stewart Ave | 1500 | Raw Sewage | GAU060032 | Collection System | Pipe failure | Chattahoochee | Ward Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-17 | DeKalb | Decatur | 2402 Tiffany Circle, Decatur | 4885 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Fowler Branch Tributary
Cobb County Water System (R.L. Sutton WRF) | 2024-03-16 | Cobb | Marietta | 4492 Ashburn Walk | 170 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Bishop Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-03-16 | Cobb | Mableton | 1176 Crestbrooke LN SW, Mableton, GA 30126 | 330 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Butternut Creek
Private Property | 2024-03-16 | DeKalb | Decatur | 2345 Springside Way, Decatur | 0 | Raw Sewage |  | Private Lateral | Other | Ocmulgee | Cobbs Creek Tributary
Rockdale County Water Resources (Quigg Branch WPCP) | 2024-03-16 | Rockdale | Conyers | 1600 Brentwood Crossing | 360 | Raw Sewage | GA0047678 | Collection System | Debris | Ocmulgee | Snapping Shoals
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-15 | Fulton | Roswell | 2600 Holcomb Bridge Road | 2700 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Chattahoochee River
Unadilla, City of (Unadilla WPCP) | 2024-03-15 | Dooly | Unadilla | Hwy. 41 N lift station | 4000 | Raw Sewage | GAJ040041 | Lift Station | Equipment failure |  | N/A
Arlington, City of (Arlington WPCP) | 2024-03-15 | Calhoun | Arlington | Cherry Road lift station | 1000 | Raw Sewage | GA0026204 | Collection System | Equipment failure |  | NA
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-15 | DeKalb | Decatur | 2821 Ashbury Heights Road, Decatur | 1120 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Shoal Creek Tributary
Gainesville, City of (Flat Creek WRF) | 2024-03-14 | Hall | gainesville | 4485 Beechnut View | 3300 | Raw Sewage | GA0021156 |  | Debris | Chattahoochee | Balus Creek
City of College Park | 2024-03-14 | Fulton | College Park | 2405 Rugby Lane Manhole BAA140 | 2300 | Raw Sewage | GAU060256 | Collection System | Pipe failure | Chattahoochee | Camp Creek
Paulding County Board of Commissioners (Coppermine Road WRF) | 2024-03-14 | Paulding | Dallas | 621 Shady Glen Dallas. Receiving manhole at Shady Glen LS | 325 | Raw Sewage | GA0038865 | WWTP | Grease | Coosa | Picketts Mill Creek
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-14 | Muscogee | Columbus | 3901 Victory Dr. | 5549 | Raw Sewage | GA0020516 | Collection System | Pipe failure | Chattahoochee | Tributary of Upatoi Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-13 | DeKalb | Decatur | 4275 Glenwood Road, Decatur | 2080 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | Cobbs Creek
Augusta, City of (J.B. Messerly WPCP) | 2024-03-13 | Richmond | Augusta | 2412 Baywood Dr | 550 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Rocky Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-12 | DeKalb | Decatur | 2406 Carlow Court, Decatur | 55200 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Cobbs Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-12 | DeKalb | Tucker | 2670 Henderson Chase Court, Tucker | 3980 | Raw Sewage | GA0024147 | Collection System | Roots | Chattahoochee | Peachtree Branch Tributary
Macon Water Authority (Rocky Creek WRF) | 2024-03-12 | Bibb | Macon | 3040 Greenbriar Rd. E | 33120 | Raw Sewage | GA0024546 | Collection System | Debris | Ocmulgee | Rocky Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-11 | DeKalb | Stone Mountain | 725 San Miguel Drive, Stone Mountain | 50 | Raw Sewage | GA0024147 | Collection System | Equipment failure | Ocmulgee | Barbashela Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-11 | DeKalb | Decatur | 3273 Pinehill Drive, Decatur | 500 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobb Fowler Creek Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-11 | Fulton | Sandy Springs | 5664 Colton Drive Sandy Springs , GA 30342 | 3160 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Long Island Creek
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-11 | Muscogee | Columbus | 2339 Ft. Benning Rd. | 758 | Raw Sewage | GA0020516 | Collection System | Debris | Chattahoochee | Minor tributary of Upatoi Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-03-11 | Cobb | Smyrna | 1889 Tululah Trail | 17000 | Raw Sewage | GA0026140 | Collection System | Pipe failure | Chattahoochee | Nickajack Creek
Dawson, City of (Dawson WPCP) | 2024-03-11 | Terrell | Dawson | Not Yet Reported | 0 | Raw Sewage | GA0021326 |  | Wet weather | Ocmulgee | Not Yet Reported
Augusta, City of (J.B. Messerly WPCP) | 2024-03-11 | Richmond | Augusta | 2058 Walton Way | 600 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Phinizy Swamp
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-11 | DeKalb | Atlanta | 1817 Clifton Road, Rear, Atlanta | 3520 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-11 | DeKalb | Ellenwood | 4100 River Road, Ellenwood | 1000 | Raw Sewage | GA0024147 | Collection System | Unknown | Ocmulgee | South River
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-11 | Muscogee | Columbus | 155 Collins Dr. | 328 | Raw Sewage | GA0020516 | Collection System | Pipe failure | Chattahoochee | Tributary of Upatoi Creek
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-11 | Muscogee | Columbus | Building 2300, Way St. | 1630 | Raw Sewage | GA0020516 | Collection System | Pipe failure | Chattahoochee | Tributary to Chattahoochee River
Hampton, City of (Bear Creek WPCP) | 2024-03-11 | Henry | Hampton | Lift Station #2 | 1000 | Raw Sewage | GA0020320 | Collection System | Operator error | Flint | unnamed creek
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2024-03-10 | Douglas | Douglasville | 5864 West Yeager Rd. | 4000 | Raw Sewage | GA0038709 | Force Main | Pipe failure | Chattahoochee | Little Bear Creek
Ashburn, City of (Airport WPCP) | 2024-03-09 | Turner | Ashburn | MLK Lift Station | 10000 | Raw Sewage | GA0025852 | Collection System | Wet weather | Suwannee | Ashburn Branch
Stockbridge, City of (Stephen D. Peurifoy WPCP) | 2024-03-09 | Henry | Stockbridge | Manhole at 100 Stapleton Drive | 16875 | Raw Sewage | GA0023337 | Collection System | Wet weather | Ocmulgee | Brush
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Decatur | 1416 Cobb Branch Drive, Decatur | 7062 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobb Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Decatur | 3423 Tulip Drive, Decatur | 5206 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Ashburn, City of (Airport WPCP) | 2024-03-09 | Turner | Ashburn | Industrial Road | 5000 | Raw Sewage | GA0025852 | Collection System | Wet weather | Suwannee | Ditch
LaGrange, City of (Long Cane Creek WPCP) | 2024-03-09 | Troup | LaGrange | 311 Creekside Dr. | 185800 | Raw Sewage | GA0036951 | Lift Station | Wet weather | Chattahoochee | Dixie Creek
Ashburn, City of (Airport WPCP) | 2024-03-09 | Turner | Ashburn | Rock house Rd and Sylvia Dr | 300000 | Raw Sewage | GA0025852 | Collection System | Wet weather | Suwannee | Hat Creek
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-09 | Muscogee | Columbus | 5289 Kingsberry Ln. | 1336 | Raw Sewage | GA0020516 | Collection System | Debris | Chattahoochee | Minor Tributary of Bull Creek
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-09 | Muscogee | Columbus | Lambert Dr. and Victory Dr. | 1535 | Raw Sewage | GA0020516 | Collection System | Debris | Chattahoochee | Minor tributary of Upatoi Creek
Eastman, City of (Sugar Creek WPCP) | 2024-03-09 | Dodge | Eastman | Legion Drive Lift Station | 15000 | Raw Sewage | GA0046485 | Lift Station | Wet weather | Ocmulgee | N/A
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Atlanta | 1707 Childerlee Lane, Atlanta | 717 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | North Fork Peachtree Creek Tributary
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-09 | Muscogee | Columbus | 875 Pheasant Loop | 4661 | Raw Sewage | GA0020516 | Collection System | Wet weather | Chattahoochee | Opossum Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Lithonia | 4664 Flat bridge Road, Lithonia | 486392 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Polebridge Creek
Rochelle, City of (Northwest WPCP) | 2024-03-09 | Wilcox | Rochelle | Sook Rd. Manhole. | 10000 | Raw Sewage | GA0024244 | Collection System | Wet weather | Suwannee | Reynolds Creek
Vidalia, City of (South WPCP) | 2024-03-09 | Toombs | Vidalia | Lift station 26 (Pleasure CT) overflowed at gps 32.190783, -82.402471 Lift Station 6 (Barksdale) overflowed at gps 32.195600, -82.408114 | 306000 | Raw Sewage | GAJ020100 | Lift Station | Wet weather | Altamaha | Rocky Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Decatur | 2480 Miriam Lane, Decatur | 149938 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Stone Mountain | 1440 Sowell Estate, Stone Mountain | 900 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South Fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-09 | DeKalb | Decatur | 3549 Panthersville Road, Decatur | 208238 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River Tributary
Griffin, City of (Potato Creek WPCP) | 2024-03-09 | Spalding | griffin | 705 Grandview Dr | 27960 | Raw Sewage | GA0030791 |  | Wet weather | Flint | tributary leading to Grape Creek
Griffin, City of (Potato Creek WPCP) | 2024-03-09 | Spalding | griffin | 924 Morningside Drive | 100500 | Raw Sewage | GA0030791 |  | Wet weather | Flint | tributary leading to Grape Creek
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-09 | Muscogee | Columbus | 2678 Lumpkin Dr. | 2842 | Raw Sewage | GA0020516 | Lift Station | Wet weather | Chattahoochee | Upatoi Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Decatur | 3391 Warbler Drive, Decatur | 713343 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek Tributary
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-08 | Muscogee | Columbus | 5901 Gateway Dr. | 3995 | Raw Sewage | GA0020516 | Collection System | Wet weather | Chattahoochee | Minor Tributary of Bull Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Chamblee | 3400 Malone Drive, Chamblee | 850 | Raw Sewage | GA0024147 | Collection System | Rags | Chattahoochee | Nancy Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-08 | Fulton | Atlanta | 821 Westmoreland Cir NW | 990 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Proctor Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Decatur | 2951 Misty Waters Dr, Decatur | 144920 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Decatur | 2711 Fairlee Drive, Decatur | 190465 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Decatur | 3075 Thrasher Circle, Decatur | 100448 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Decatur | 3230 Boring Road, Decatur | 266995 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Clarkston | 3902 Memorial College Avenue, Clarkston | 14135 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Atlanta | 2317 Briarcliff Road, Atlanta | 285000 | Raw Sewage | GA0024147 | Collection System | Contractor | Chattahoochee | South fork Peachtree Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-08 | DeKalb | Decatur | 1948 E Starmount Way- Decatur | 8250 | Raw Sewage | GA0039012 | Collection System | Wet weather | Upper Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Lithonia | 4557 Meadow Creek Path, Lithonia | 560700 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-08 | DeKalb | Decatur | 607 3rd Avenue, Decatur | 5847 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Sugar Creek Tributary A
SOUTH COLUMBUS WATER RESOURCE FACILITY | 2024-03-08 | Muscogee | Columbus | 1164 Breeds Hill Loop | 5992 | Raw Sewage | GA0020516 | Collection System | Wet weather | Chattahoochee | Tiger Creek
Cleveland, City of (Cleveland WPCP) | 2024-03-07 | White | Cleveland | Building 196 Apt. 121 White Street, Cleveland, Georgia 30528 | 5000 | Raw Sewage | GA0036820 | WWTP | Roots | Chattahoochee | Cox Creek
Private Property | 2024-03-07 | DeKalb | Chamblee | 5211 Peachtree Boulevard, Chamblee | 5700 | Raw Sewage |  | Collection System | Unknown | Chattahoochee | Nancy Creek Tributary C
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-07 | DeKalb | Decatur | 3277 Hunt Wood Drive, Decatur | 675 | Raw Sewage | GA0024147 | Collection System | Roots | Ocmulgee | Shoal Creek Tributary
Cherokee County Water & Sewerage Authority (Fitzgerald Creek WPCP) | 2024-03-07 | Cherokee | Canton | Sewage entered Toonigh Creek from behind an apartment complex behind 100 Holly Park Ct. | 79200 | Raw Sewage | GA0038555 | WWTP | Pipe failure | Coosa | Toonigh Creek
Barnesville, City of (James A. King WWTF) | 2024-03-06 | Lamar | Barnesville | Richardson Lift Station | 47725 | Raw Sewage | GA0021041 | Lift Station | Wet weather | Ocmulgee | Big Towaliga Creek Tributary
Stockbridge, City of (Stephen D. Peurifoy WPCP) | 2024-03-06 | Henry | Stockbridge | 100 Stapleton Drive, Stockbridge | 31875 | Raw Sewage | GA0023337 | Collection System | Wet weather | Ocmulgee | Brush Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 1496 Country Squire Drive, Decatur | 3750 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Burnt Fork Creek Tributary
Griffin, City of (Cabin Creek WPCP) | 2024-03-06 | Spalding | griffin | North 9th St | 114 | Raw Sewage | GA0020214 |  | Wet weather | Ocmulgee | Cabin Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3528 Misty Valley Road, Decatur | 44520 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 1416 Cobb Branch, Decatur | 7954 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3391 Warbler Drive, Decatur | 760026 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3553 Brookfield Lane, Decatur | 4050 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3423 Tulip Drive, Decatur | 12211 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 1532 Alverado Way, Decatur | 3363 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Cobbs Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 1354 Weston Drive, Decatur | 9750 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Conley | 4280 Thurman Dr, Conley | 1000 | Raw Sewage | GA0024147 | Collection System | Unknown | Ocmulgee | Conley Creek Tributary
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2024-03-06 | Clayton | Morrow | 6115 Reynolds Dr. | 2750 | Raw Sewage | GA0038423 | Collection System | Grease | Flint | East Jester's Creek
Winder, City of (Cedar Creek WPCP) | 2024-03-06 | Barrow | Winder | Camp Twin Lakes within Fort Yargo State Park | 3600 | Raw Sewage | GA0038776 | Collection System | Wet weather | Oconee | Ft. Yargo Lake
Griffin, City of (Potato Creek WPCP) | 2024-03-06 | Spalding | griffin | 1133 Pine Valley Road | 2250 | Raw Sewage | GA0030791 |  | Wet weather | Flint | Ison Branch
Barnesville, City of (James A. King WWTF) | 2024-03-06 | Lamar | Barnesville | Aldora Lift Station | 121095 | Raw Sewage | GA0021041 | Lift Station | Wet weather | Ocmulgee | Little Potato Creek Tributary
Athens-Clarke County (North Oconee WRF) | 2024-03-06 | Clarke | Athens | 655 Rivermont Rd. | 51300 | Raw Sewage | GA0021725 | Collection System | Wet weather | Oconee | Middle Oconee River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Atlanta | 2052 Grand Prix Drive, Atlanta | 2167 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | North Fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Atlanta | 1707 Childerlee Lane, Atlanta | 248 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | North Fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Atlanta | 1078 beech haven road, Atlanta | 2300 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | North Fork Peachtree Creek Tributary B
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-06 | Fulton | Atlanta | 438 W Wesley Rd NW | 197 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Lithonia | 4664 Flat Bridge Road, Lithonia | 2173865 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Polebridge Creek
Griffin, City of (Potato Creek WPCP) | 2024-03-06 | Spalding | griffin | 913 Springer Drive | 397 | Raw Sewage | GA0030791 |  | Wet weather | Flint | Potato Creek
Stockbridge, City of (Stephen D. Peurifoy WPCP) | 2024-03-06 | Henry | Stockbridge | 678 Fairhaven Blvd. | 9150 | Raw Sewage | GA0023337 | Collection System | Wet weather | Ocmulgee | Reeves Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2275 Glendale Drive, Decatur | 29182 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2925 Misty Waters Drive, Decatur | 315372 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2480 Miriam Lane, Decatur | 159508 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3643 Glenwood Road, Decatur | 18119 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2711 Fairlee Drive, Decatur | 307824 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3230 Boring Road, Decatur | 987639 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3075 Thrasher Circle, Decatur | 7007 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 1431 Conway Road, Decatur | 13175 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek East Fork
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 255 South Columbia Drive, Decatur | 1607 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 608 South McDonough Street, Decautr | 365 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek West Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 629 South Candler Street, Decatur | 21316 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek West Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Lithonia | 4496 Newcastle Circle, Lithonia | 871073 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Stone Mountain | 988 Fellsridge Court, Stone Mountain | 5747 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Clarkston | 3902 Memorial College Avenue, Clarkston | 118838 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary C
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2359 Harrington Drive, Decatur | 5585 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2042 Desmond Drive, Decatur | 31563 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Tucker | 3924 Roman Court, Tucker | 15813 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek Tributary A
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3985 Lehigh Blvd. | 190800 | Raw Sewage | GA0024147 | Collection System | Wet weather |  | South River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-06 | DeKalb | Atlanta | 1948 E Starmount Way | 20000 | Raw Sewage | GA0039012 | Collection System | Wet weather | Upper Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 2401 Wildcat Road, Decatur | 334898 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-06 | Fulton | Atlanta | 2559 Jonesboro Rd SE | 8120 | Raw Sewage | GA0039012 | WWTP | Other | Upper Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 3549 Panthersville Road, Decatur | 1025138 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-06 | Fulton | Atlanta | 398 Cologne Dr SE | 790 | Raw Sewage | GA0039012 | Collection System | Grease | Upper Ocmulgee | South River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 4027 Flakes Mill Road, Decatur | 467851 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 4027 Flakes Mill Road, Decatur | 339986 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | South River Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Lithonia | 4586 Post Ridge Lane, Lithonia | 352024 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Stephenson Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-06 | DeKalb | Decatur | 308 2nd Avenue, Decatur | 22586 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Sugar Creek Tributary A
Barnesville, City of (James A. King WWTF) | 2024-03-06 | Lamar | Barnesville | North trunk line at Sims St | 183300 | Raw Sewage | GA0021041 | Collection System | Pipe failure | Ocmulgee | Tobesofkee Creek Tributary
Griffin, City of (Potato Creek WPCP) | 2024-03-06 | Spalding | griffin | 705 Grandview Drive | 31523 | Raw Sewage | GA0030791 |  | Wet weather |  | tributary leading to Grape Creek
Griffin, City of (Potato Creek WPCP) | 2024-03-06 | Spalding | griffin | 924 Morningside Dr | 88275 | Raw Sewage | GA0030791 |  | Wet weather |  | tributary leading to Grape Creek
Monroe, City of (Jack's Creek WPCP) | 2024-03-06 | Walton | Monroe | Vine St Pump Station | 50400 | Raw Sewage | GA0047171 | Collection System | Wet weather | Oconee | tributary to Alcovy River
Athens-Clarke County (North Oconee WRF) | 2024-03-06 | Clarke | Athens | 230 Tallassee Rd. | 2600 | Raw Sewage | GA0021725 | Collection System | Wet weather | Oconee | Tributary to Middle Oconee River
Cobb County Water System (R.L. Sutton WRF) | 2024-03-06 | Cobb | Marietta | 3605 Sandy Plains Rd | 80 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Trickum Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-05 | DeKalb | Scottdale | 314 Hatton Dr a, Scottdale, | 42700 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Indian Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-05 | DeKalb | Dunwoody | 1517 Eidson Hall Drive, Dunwoody | 32100 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Chattahoochee | Nancy Creek Tributary A
Private Property | 2024-03-05 | DeKalb | Chamblee | 5211 Peachtree Boulevard, Chamblee | 200 | Raw Sewage |  | Collection System | Grease | Chattahoochee | Nancy Creek Tributary C
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-05 | Fulton | Atlanta | 455 E Paces Ferry Rd NE | 250 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Peachtree Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-05 | Fulton | Atlanta | 710 Oakdale Rd NE | 150 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Chattahoochee | Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-05 | DeKalb | Lithonia | 4557 Meadow Creek Path, Lithonia | 1150425 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-04 | DeKalb | Stone Mountain | 725 San Miguel Drive, Stone Mountain | 18225 | Raw Sewage | GA0024147 | Collection System | Debris | Ocmulgee | Barbashela Creek Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2024-03-04 | Fulton | Alpharetta | 12540 Pindell Cir | 1700 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Foe Killer Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-03-04 | Fulton | Atlanta | 1305 Gault St SE | 140 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Upper Ocmulgee | Intrenchment Creek
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2024-03-03 | Clayton | Morrow | 5986 Reynolds Rd. | 6250 | Raw Sewage | GA0038423 | Collection System | Grease | Flint | East Jester's Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-03 | DeKalb | Scottdale | 300 Hatton Drive, Scottdale | 22975 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | Indian Creek Tributary
Cobb County Water System (R.L. Sutton WRF) | 2024-03-03 | Cobb | Kennesaw | 2219 Lattimore Farm | 2400 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Noonday Creek
Hall County Department of Public Works (Spout Springs WRF) | 2024-03-02 | Hall | Flowery Branch | 8052 Sleepy Lagoon Way- Flowery Branch | 6000 | Raw Sewage | GA0050214 | Lift Station | Grease | Oconee | Looper Lake
Jefferson (City of) - I-85 North WPCP | 2024-03-02 | Jackson | jefferson | Gravity line to the I-85 LAS influent pump station. Three (3) manholes in the gravity line ran over. Manhole #1 34.16057°N, 83.64058°W; Manhole #2 34.16089°N, 83.64205°W; Manhole #3 34.16089°N, 83.64205°W | 10000 | Raw Sewage | GAJ020230 | Collection System | Debris | Oconee | Unnamed Tributary to Opossum Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-01 | DeKalb | Atlanta | 1080 Bailiff Court, Atlanta | 3630 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | Nancy Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-03-01 | DeKalb | Stone Mountain | 916 3rd Street, Stone Mountain | 845 | Raw Sewage | GA0024147 | Collection System | Debris | Ocmulgee | Stone Mountain Creek Tributary
Adairsville, City of (North WPCP) | 2024-03-01 | Bartow | Adairsville | 179 Old Dixie Hwy at headworks | 7200 | Raw Sewage | GA0046035 | WWTP | Equipment failure | Coosa | tributary to Oothcalooga Creek