## Sheet1
Posting Date | 2025-04-25
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | CAUSE | RIVER_BASIN | WATERWAY_IMPACTED | OVERFLOW_DESTINATION
Kingsland, City of (Kingsland WPCP) | 2025-04-24 | Camden | Kingsland | 100 Renee Drive Kingsland | 9500 | Raw Sewage | GA0037800 | Collection System | Clogged pipeline.Blockage Fats Oil Grease | Saint Mary's | Gum Branch
Rockdale County Water Resources (Quigg Branch WPCP) | 2025-04-23 | Rockdale | Conyers | 1361 S. Hicks Cir Conyers | 700 | Raw Sewage | GA0047678 | Collection System | Bypass Plug Left in Pipe after rehab | Ocmulgee | Tributary to Travers Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-22 | DeKalb | Atlanta | 2772 Northeast Expressway Atlanta, Georgia 30345 | 20 | Raw Sewage | GA0024147
Marietta (City of)- Sewers | 2025-04-22 | Cobb | Marietta | 1737 Cobb Pkwy SE Marietta | 5775 |  | GAU060032 | Collection System | Break in pipe | Chattahoochee | Poorhouse Creek
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-04-22 | Clayton | Forest Park | 4950 Governors Dr. Forest Park | 23400 | Raw Sewage | GA0038423 | Collection System | Pipe failure caused overflow | Flint | Jester Creek
Macon Water Authority (Lower Poplar WRF) | 2025-04-22 | Bibb | Macon | 2063 Hart Smith Street Macon, Georgia 31204 | 3680 | Raw Sewage | GA0024538 | Collection System | Blockage Fats Oil GreaseBlockage Fats Oil Grease | Ocmulgee | None | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-22 | DeKalb | Lithonia | 6860 Main Street Lithonia, Georgia 30058 | 50 | Raw Sewage | GA0024147 | Private Lateral | Blockage Other DebrisBlockage Other Debris | Not Applicable | N/A
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-21 | DeKalb | Decatur | 3122 Panthersville Road Decatur, Georgia 30034 |  |  | GA0024147
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-21 | DeKalb | Doraville | 4889 Macbain Lane Doraville, Georgia 30360 | 50 | Raw Sewage | GA0024147
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-21 | DeKalb | Atlanta | 1139 Chantilly Rise Northeast Atlanta, Georgia 30324 | 30 | Raw Sewage | GA0024147 | Collection System
Eastman, City of (Sugar Creek WPCP) | 2025-04-21 | Dodge | Eastman | 976 Mount Moriah Street Eastman, Georgia 31023 |  | Raw Sewage | GA0046485 | Collection System | Aging InfrastructureAging Infrastructure | Ocmulgee |  | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-21 | Cobb | Marietta | 3233 Holly Mill Run Marietta, Georgia 30062 |  | Raw Sewage | GA0026140 |  |  |  |  | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-21 | Cobb | Acworth | 5182 Catalypa Knoll Acworth, Georgia 30101 |  |  | GA0026140 |  | VandalismVandalism
Vidalia, City of (Swift Creek WPCP) | 2025-04-20 | Toombs | Vidalia | West of 1214 Easter Dr. Vidalia | 108000 | Raw Sewage | GA0025488 | Collection System | The storm clean-up caused a broken pipe. | Altamaha | Unnamed tributary of Swift Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-20 | DeKalb | Stonecrest | 3756 Salem Chapel Drive Stonecrest, Georgia 30038 | 20 | Raw Sewage | GA0024147 | Collection System |  |  | Pole Bridge Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-19 | Fulton | Atlanta | 1353 Woodland Ave SE Atlanta | 370 |  | GA0039012 | Collection System | collapsed mainline | Upper Ocmulgee | Intrenchment Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-19 | DeKalb | Stone Mountain | 440 South Susan Creek Drive Stone Mountain, Georgia 30083 | 250 | Raw Sewage | GA0024147
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-19 | Fulton | Atlanta | 1293 Woodland Ave SE Atlanta | 430 |  | GA0039012 | Collection System | collapsed mainline | Upper Ocmulgee | Intrenchment Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-19 | DeKalb | Decatur | 1956 East Starmount Way Decatur, Georgia 30032 | 30 | Raw Sewage | GA0024147 |  |  |  |  | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-18 | Fulton | Atlanta | 2631 Cascade Rd SW Atlanta | 433 |  | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Utoy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-18 | DeKalb | Decatur | 2797 Tilson Road Decatur, Georgia 30032 | 100 | Raw Sewage | GA0024147
Cartersville, City of (Cartersville WPCP) | 2025-04-17 | Bartow | Cartersville | Manhole at the East Side of CSX close to Hwy. 411 and Dent Drive Cartersville | 5000 | Raw Sewage | GA0024091 | WWTP | Bartow County Water Department’s Contractor had a bypass pump failure during construction | Coosa | Tributary to Pettit Creek
ATHENS-CLARKE COUNTY (NORTH OCONEE WPCP) | 2025-04-17 | Clarke | Athens | 580 Roberts Rd Athens 30606 Athens | 409 | Raw Sewage | GA0021725 | Collection System | overflowing manhole caused by grease in sewer line | Oconee | Turkey Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-04-17 | Cobb | Kennesaw | 2726 Watts Drive Kennesaw, Georgia 30144 |  |  | GA0026140
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-17 | Fulton | Atlanta | 2631 Cascade Rd SW Atlanta | 200 |  | GA0039012 | Collection System | debris and grease in the mainline | Chattahoochee | Utoy Creek
Hampton, City of (Bear Creek WPCP) | 2025-04-16 | Henry | Hampton | Lift Station #1 on Elm St. Hampton Ga Hampton | 2000 | Raw Sewage | GA0020320 | Collection System | Pump number 2 lost its seal and would not pump | Flint | Did not reach state waters
Fulton County Department of Public Works (Big Creek WRF) | 2025-04-15 | Fulton | Sandy Springs | 7275 Hunters Branch Drive Northeast Sandy Springs, Georgia 30328 |  |  | GA0024333 |  | Broken Pipe due to unforeseen circumstancesBroken Pipe due to unforeseen circumstances |  |  | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-15 | DeKalb | Chamblee | 5180 Peachtree Industrial Boulevard Chamblee, Georgia 30341 |  | Raw Sewage | GA0024147 | Collection System |  |  | Nancy Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-15 | DeKalb | Atlanta | 2704 Bouldercrest Road Atlanta, Georgia 30316 | 200 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Cobb County Water System (R.L. Sutton WRF) | 2025-04-14 | Cobb | Marietta | 1650 Old Concord Road Marietta, Georgia 30060 |  |  | GA0026140
Warner Robins, City of (Sandy Run Creek WPCP) | 2025-04-14 | Houston | Warner Robins | King Richard Dr. and Carl Vinson Pkwy. Warner Robins, GA 31088 Warner Robins | 197400 | Raw Sewage | GA0030325 | Collection System | recent environmental events and erosion to the embankment of a stormwater drainage system | Ocmulgee | Bay Gall Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-13 | Fulton | Atlanta | 1064 Ira St SW Atlanta | 615 |  | GA0039012 | Collection System | debris in the mainline | Upper Ocmulgee | South River
Dallas, City of (Pumpkinvine Creek WPCP) | 2025-04-13 | Paulding | Dallas | Near 382 Saddle Brooke Dr. Dallas, GA 30132 Dallas | 3600 | Raw Sewage | GA0039241 | WWTP | Grease and rag build up in main sewer line | Coosa | Lawrence Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-04-13 | Cobb | Atlanta | 837 Pinhurst Drive Atlanta, Georgia 30339 |  |  | GA0026140
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-13 | DeKalb | Atlanta | 1108 Oxford Road Northeast Atlanta, Georgia 30306 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-12 | DeKalb | Doraville | 3568 Wilton Avenue Doraville, Georgia 30340 | 10 | Raw Sewage | GA0024147 | Collection System
Perry, City of (Frank Satterfield Road WWTF) | 2025-04-11 | Houston | Perry | 403 Bear Branch Rd. Perry | 12000 |  | GA0021334 | Collection System | Lift Station not working properly due to high flows | Upper Ocmulgee | Big Indian Creek
City of Fairburn | 2025-04-11 | Fulton | Fairburn | 524 Willoe Creek Fairburn | 19250 | Raw Sewage | GAU060251 | Collection System | Grease Blockage | Chattahoochee | wetland
Macon Water Authority (Rocky Creek WRF) | 2025-04-11 | Bibb | Macon | 3040 Greenbriar Road East Macon, Georgia 31204 | 10200 | Raw Sewage | GA0024546 | Collection System | High Levels of InflowHigh Levels of Inflow | Ocmulgee | Rocky Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-11 | DeKalb | Stone Mountain | 1 Chatfield Drive Stone Mountain, Georgia 30083 |  | Raw Sewage | GA0024147 | Collection System |  |  |  | Spill Waters of the State
Smyrna (City of)- Sewers | 2025-04-10 | Cobb | Smyrna | 3001 South Cobb Smyrna Smyrna | 3500 | Raw Sewage | GAU060035 | Collection System | Separated gravity sewer line | Chattahoochee | Nickajack Creek
Settendown Public Utility, LLC (Hampton Creek WRF) | 2025-04-10 | Forsyth |  |  | 8000 | Raw Sewage | GA0038903 | WWTP | Clogged gravity line | Coosa | Settendown Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-10 | Fulton | Atlanta | 860 Lake Mirror Rd SW Atlanta | 50 | Raw Sewage | GA0039012 | Pump Station | hose from the pumping station came loose | Chattahoochee | Did Not Enter State Waters
Milledgeville, City of (Milledgeville WPCP) | 2025-04-09 | Baldwin | Milledgeville | Intersection of Dunlap Rd and N. Jefferson St Milledgeville | 600 | Raw Sewage | GA0030775 | Collection System | Roots | Oconee | Tobler Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-09 | Fulton | Atlanta | 1812 Peachtree St NW Atlanta | 298 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Peachtree Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-09 | Fulton | Atlanta | 2925 Rivermeade Dr NW Atlanta | 10 |  | GA0039012 | Pump Station | a crew servicing the pumping station | Chattahoochee | Did Not Enter State Waters
Columbus Water Works (South WRF) | 2025-04-09 | Muscogee | Columbus | 6187 Georgetown Drive Columbus, Georgia 31907 |  | Raw Sewage | GA0020516 | Collection System | Aging InfrastructureAging Infrastructure | Chattahoochee | Mill Branch Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-09 | Fulton | Atlanta | 2631 Cascade Rd SW Atlanta | 212 | Raw Sewage | GA0039012 | Pump Station | pump station malfunction and grease in the mainline | Chattahoochee | Utoy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-09 | DeKalb | Stone Mountain | 544 Pennylake Lane Stone Mountain, Georgia 30087 | 20 | Raw Sewage | GA0024147 | Private Lateral |  |  |  | Dry Land Overflow
Macon Water Authority (Lower Poplar WRF) | 2025-04-09 | Bibb | Macon | 0 Shady Road Plaza Macon, Georgia 31211 | 400 | Raw Sewage | GA0024538 | Force Main | Caused by Construction or Maintenance Activity,Third Party ContractorCaused by Construction or Maintenance Activity,Third Party Contractor | Ocmulgee | None | Dry Land Overflow
Columbus Water Works (South WRF) | 2025-04-09 | Muscogee | Columbus | 12 Lambert Drive Columbus, Georgia 31903 | 360 | Raw Sewage | GA0020516 | Collection System | Aging InfrastructureAging Infrastructure | Chattahoochee | Upatoi Creek tributary | Spill Waters of the State
Macon Water Authority (Rocky Creek WRF) | 2025-04-08 | Bibb | Macon | 3299 O'Hara Drive North Macon, Georgia 31206 | 300 | Raw Sewage | GA0024546 | Pump Station | Pump Station Mechanical FailurePump Station Mechanical Failure | Ocmulgee | Rocky Creek | Dry Land Overflow
Macon Water Authority (Rocky Creek WRF) | 2025-04-08 | Bibb | Macon | 308 Carrick Way Macon, Georgia 31210 | 6344 | Raw Sewage | GA0024546 | Collection System | Blockage Fats Oil GreaseBlockage Fats Oil Grease | Ocmulgee | Wolf Creek | Spill Waters of the State
Eastman, City of (Sugar Creek WPCP) | 2025-04-07 | Dodge | Eastman | 599 Legion Drive Eastman, Georgia 31023 | 8000 | Raw Sewage | GA0046485 | Pump Station | Hurricane or Large Stormwater EventHurricane or Large Stormwater Event | Ocmulgee | Tributary to Sugar Creek | Spill Waters of the State
Barnesville, City of (James A. King WWTF) | 2025-04-07 | Lamar | Barnesville | Aldora Lift Station Barnesville | 156400 | Raw Sewage | GA0021041 | Lift Station | heavy rainfall and i pump out for repair | Ocmulgee | Little Potato Creek Tributary
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | 3504 Vernon Drive Columbus, Georgia 31909 | 365 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater Event,High Levels of InflowHurricane or Large Stormwater Event,High Levels of Inflow | Chattahoochee | Lindsey Creek | Spill Waters of the State
Macon Water Authority (Rocky Creek WRF) | 2025-04-07 | Bibb | Macon | 3040 Greenbriar Road East Macon, Georgia 31204 |  | Raw Sewage | GA0024546 | Collection System |  | Ocmulgee | Rocky Creek | Spill Waters of the State
LaGrange, City of (Long Cane Creek WPCP) | 2025-04-07 | Troup | LaGrange | 311 Creekside Dr. LaGrange | 98125 | Raw Sewage | GA0036951 | Collection System | Heavy rains created excessive flow, overwhelming nearby lift station. Overflow occurred from lowest manhole on st. | Chattahoochee | Dixie Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-07 | DeKalb | Stonecrest | 3045 Panola Road Stonecrest, Georgia 30038 |  | Raw Sewage | GA0024147 | Collection System |  |  | Panthers Branch | Spill Waters of the State
Barnesville, City of (James A. King WWTF) | 2025-04-07 | Lamar | Barnesville | Richardson Lift Station Barnesville | 34500 | Raw Sewage | GA0021041 | Lift Station | heavy rainfall | Ocmulgee | Big Towaliga Creek Tributary
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2025-04-07 | Gwinnett | Peachtree Corners | 45 Technology Parkway South Peachtree Corners, Georgia 30092 | 33070 | Raw Sewage | GA0038130 | Collection System | Blockage Rags wipes,Blockage Tree RootsBlockage Rags wipes,Blockage Tree Roots | Chattahoochee | unnamed trib. crooked creek | Spill Waters of the State
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | Austel Dr. Columbus, Georgia 31909 | 11890 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater EventHurricane or Large Stormwater Event | Chattahoochee | Lindsey Creek | Spill Waters of the State
Adairsville, City of (North WPCP) | 2025-04-07 | Bartow | Adairsville | 70 Woody Road Adairsville, Georgia 30103 |  |  | GA0046035 |  | Hurricane or Large Stormwater EventHurricane or Large Stormwater Event |  | Tributary of Oothacalooga Creek | Spill Waters of the State
Thomaston, City of (Town Branch WPCP) | 2025-04-07 |  | Thomaston | Highway 74 Lift Station Thomaston | 4800 | Raw Sewage | GA0030121 | Lift Station | Pump blockage | Flint | Town Branch
Cobb County Water System (R.L. Sutton WRF) | 2025-04-07 | Cobb | Marietta | 182 Kings Row Northeast Marietta, Georgia 30067 | 380 | Raw Sewage | GA0026140 | Collection System | Blockage Rags wipesBlockage Rags wipes | Chattahoochee | Sope Creek | Spill Waters of the State
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | 6 Engineer Drive Columbus, Georgia 31903 | 4329 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater Event,High Levels of InflowHurricane or Large Stormwater Event,High Levels of Inflow | Chattahoochee | Upatoi Creek Tributary | Spill Waters of the State
Thomaston, City of (Town Branch WPCP) | 2025-04-07 |  | Thomaston | Moore's Crossing Lift Station Thomaston | 3150 | Raw Sewage | GA0030121 | Collection System | Power failure | Flint | Did not reach state waters
Columbus Water Works (South WRF) | 2025-04-07 | Muscogee | Columbus | 3515 Austel Drive Columbus, Georgia 31909 | 32484 | Raw Sewage | GA0020516 | Collection System | Hurricane or Large Stormwater Event,High Levels of InflowHurricane or Large Stormwater Event,High Levels of Inflow | Chattahoochee | Lindsey Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-06 | Fulton | Atlanta | 2784 Lakewood Ave SW Atlanta | 200 | Raw Sewage | GA0039012 | Collection System | grease in the mainline | Chattahoochee | Did Not Enter State Waters
Columbus Water Works (South WRF) | 2025-04-06 | Muscogee | Columbus | 9691 Chatsworth Rd. Columbus | 1194 | Raw Sewage | GA0020516 | Lift Station | Backup generator failed to start after power outage. | Chattahoochee | Dozier Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Stonecrest | 4557 Meadow Creek Path Stonecrest, Georgia 30038 |  | Raw Sewage | GA0024147 | Collection System |  |  | Snapfinger Creek
Fulton County Department of Public Works (Big Creek WRF) | 2025-04-06 | Fulton | Union City | 4105 Oakley Industrial Boulevard Union City, Georgia 30291 |  |  | GA0024333 |  | Pump Station Mechanical FailurePump Station Mechanical Failure |  |  | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Atlanta | 2772 North Thompson Road Northeast Atlanta, Georgia 30319 | 100 | Raw Sewage | GA0024147 | Private Lateral |  |  |  | Buildingbackup
Fulton County Department of Public Works (Big Creek WRF) | 2025-04-06 | Fulton | South Fulton | 8027 Spence Road South Fulton, Georgia 30218 | 609600 | Raw Sewage | GA0024333 | Pump Station | Hurricane or Large Stormwater Event,Pump Station Mechanical FailureHurricane or Large Stormwater Event,Pump Station Mechanical Failure Other Cause at Treatment Plant Mechanical Failure Bypass pump failure, pumps could not keep up with excess rain event. | Chattahoochee | Whitewater Creek | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Decatur | 1950 La Mesa Lane Decatur, Georgia 30032 | 5 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-06 | DeKalb | Atlanta | 2772 North Thompson Road Northeast Atlanta, Georgia 30319 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-05 | Fulton | Atlanta | 1908 Delowe Pl SW Atlanta | 154 |  | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-04 | DeKalb | Decatur | 225 West Ponce de Leon Avenue Decatur, Georgia 30030 | 200 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-04 | DeKalb | Lithonia | 6255 Saddlewood Drive Lithonia, Georgia 30058 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-04 | DeKalb | Stonecrest | 4605 Newcastle Circle Stonecrest, Georgia 30038 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Buena Vista, City of (Buena Vista WPCP) | 2025-04-03 | Marion | Buena Vista | 104 Minter Lane Buena Vista, Georgia 31803 | 3600 | Raw Sewage | GA0023710 | Collection System | Pump Station Mechanical FailurePump Station Mechanical Failure | Flint | Did not reach state waters | Dry Land Overflow
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-03 | Fulton | Atlanta | 2049 Rector Dr SW Atlanta | 164 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-03 | DeKalb | Lithonia | 1144 Old Greystone Drive Lithonia, Georgia 30058 | 75 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-03 | DeKalb | Tucker | 1529 Harbour Oaks Road Tucker, Georgia 30084 |  | Raw Sewage | GA0024147 | Collection System |  |  | SOUTH FORK PEACHTREE CREK | Spill Waters of the State
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-03 | DeKalb | Atlanta | 1377 Hearst Drive Northeast Atlanta, Georgia 30319 | 10 | Raw Sewage | GA0024147 | Collection System |  |  |  | Dry Land Overflow
Cobb County Water System (R.L. Sutton WRF) | 2025-04-03 | Cobb | Austell | 212 riverside pkwy Austell, Georgia 30168 |  |  | GA0026140 |  | Blockage Rags wipesBlockage Rags wipes
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-02 | DeKalb | Tucker | 2101 Tucker Industrial Road Tucker, Georgia 30084 | 30 | Raw Sewage | GA0024147 | Other |  |  |  | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-02 | DeKalb | Atlanta | 2906 Mabry Road Northeast Atlanta, Georgia 30319 | 8 | Raw Sewage | GA0024147 | Collection System
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-04-02 | Fulton | Atlanta | 4033 Stovall Ter NE Atlanta | 229 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Nancy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-01 | DeKalb | Atlanta | 6750 Peachtree Industrial Boulevard Atlanta, Georgia 30360 |  | Raw Sewage | GA0024147 | Collection System |  |  | Nancy Creek | Spill Waters of the State
Cobb County Water System (R.L. Sutton WRF) | 2025-04-01 | Cobb | Marietta | 1869 Waldrep Circle Southeast Marietta, Georgia 30060 | 1830 | Raw Sewage | GA0026140 | Collection System | Blockage Tree RootsBlockage Tree Roots | Chattahoochee | Not Applicable | Dry Land Overflow
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-04-01 | DeKalb | Atlanta | 3900 Motors Industrial Way Atlanta, Georgia 30360 |  | Raw Sewage | GA0024147 | Collection System |  |  | North Fork Peachtree Creek | Spill Waters of the State
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-03-31 | Fulton | Atlanta | 4104 Woodland Park Dr SW Atlanta | 5000 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Sandy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-31 | DeKalb | Atlanta | 2515 Northeast Expressway Atlanta 30345 Atlanta | 1840 | Raw Sewage | GA0024147 | Collection System | Found manhole 18-205-s307 spilling into North Fork Peachtree Creek due to a grease blockage | Ocmulgee | North Fork Peachtree Creek
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2025-03-31 | Clayton | Forest Park | 5964 Springview Dr. Forest Park | 10800 | Raw Sewage | GA0038423 | Collection System | Grease blockage caused overflow. | Flint | Jester Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-30 | DeKalb | Decatur | 3342 North Druid Rd Decatur 30033 Decatur | 0 | Raw Sewage | GA0024147 | Collection System | Found evidence of sewer spilled into Burnt Fork Creek due issue in 4in lateral | Ocmulgee | Burnt Fork Creek
Gainesville, City of (Flat Creek WRF) | 2025-03-28 | Hall | Gainesville | near the 2800 block of Browns Bridge Road Gainesville | 7200 | Raw Sewage | GA0021156 | Collection System | construction debris | Chattahoochee | unnamed tributary to Flat Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-27 | DeKalb | Tucker | 4259 Drayton Woods Club Tucker 30084 Tucker | 99400 | Raw Sewage | GA0024147 | Collection System | Found 15in sewer main broken spilling intermittently into south fork peachtree creek due to structural damage in sewer main between 18-141-s128 and 18-141-s068 | Ocmulgee | South Fork Peachtree Creek
Forsyth County Department of Water and Sewer (Fowler & Shakerag WRF) | 2025-03-27 | Forsyth | Cumming | 6329 Bridge Brook Overlook Cumming | 100 | Raw Sewage | GA0038954 | Lift Station | expansion tank at the lift station started leaking from a welded seam near the top of the tank | Chattahoochee | Did Not Enter State Waters
Columbus Water Works (South WRF) | 2025-03-26 | Muscogee | Columbus | 6016 Warm Springs Ct. Columbus | 444 | Raw Sewage | GA0020516 | Collection System | Debris caused overflow. | Chattahoochee | Cooper Branch
Macon Water Authority (Rocky Creek WRF) | 2025-03-26 | Bibb | Macon | 2337 Old Clinton Rd. Macon | 2760 | Raw Sewage | GA0024546 | Collection System | Debris and tree limbs in sewer main caused overflow. | Ocmulgee | Walnut Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2025-03-26 | Fulton | Atlanta | 1798 Sandford Dr NW Atlanta | 10 | Raw Sewage | GA0039012 | Collection System | debris in the mainline | Chattahoochee | Did Not Enter State Waters
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-25 | DeKalb | Decatur | 5072 Snapfinger Woods Drive Decatur 30035 Decatur | 475 | Raw Sewage | GA0024147 | Collection System | Found evidence of a spill at manhole #16-025-s028 caused by a grease blockage | Ocmulgee | Snapfinger Creek
City of Fairburn | 2025-03-25 | Fulton | Fairburn | 160 Park Way Drive Fairburn | 148063 | Raw Sewage | GAU060251 | Collection System | The overflow resulted from a blockage caused by rags, disposable towels, and a shirt and flow downstream to a wetland.Blockage Other Debris | Chattahoochee | wetland
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2025-03-25 | DeKalb | Atlanta | 1400 Lake Heam Dr Atlanta 30319 Atlanta | 37300 | Raw Sewage | GA0024147 | Collection System | Found manhole 18-329-s045 spilling into Nancy Creek due to (wood and rocks) debris |  | Nancy Creek
Cobb County Water System (R.L. Sutton WRF) | 2025-03-25 | Cobb | Marietta | 3524 Old Suttons Way NE, Marietta, GA 30062 Marietta | 2500 | Raw Sewage | GA0026140 | Collection System | Solids | Chattahoochee | Willeo Creek