## Sheet1
Posting Date | 2024-06-28
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | SPILL_PRIMARY_CAUSE | RIVER_BASIN | WATERWAY_IMPACTED
Columbus Water Works (South WRF) | 2024-06-26 | Muscogee | Columbus | 353 Sunset Rd. | 519 | Raw Sewage | GA0020516 | Collection System | Pipe failure | Chattahoochee | Tributary of Chattahoochee River
Columbus Water Works (South WRF) | 2024-06-25 | Muscogee | Columbus | 2512 Forsyth St. | 1590 | Raw Sewage | GA0020516 | Collection System | Debris | Chattahoochee | Double Branch Creek West
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-06-24 | Fulton | Atlanta | 105 Valley Rd NW | 120 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Chattahoochee | Nancy Creek
Cherokee County Water & Sewerage Authority (Fitzgerald Creek WPCP) | 2024-06-24 | Cherokee | Canton | In Hidden Falls trailer park – 6359 Bells Ferry Road – Acworth, GA 30102 – on Dogwood Lane near lot 417. Manholes were overflowing next to Owl Creek by lot 417 and 2 along Dogwood Lane next to Owl Creek and around pond. | 5500 | Raw Sewage | GA0038555 | WWTP | Debris | Coosa | Owl Creek
Fayetteville, City of (Whitewater Creek WPCP) | 2024-06-24 | Fayette | fayetteville | Beaureguard Blvd | 8400 | Raw Sewage | GA0035807 | Collection System | Debris | Ocmulgee | storm drain
Clayton County Water Authority (W.B. Casey WRF & Huie Constructed Wetlands) | 2024-06-23 | Clayton | Conley | 4603 Rocklane Dr. | 7800 | Raw Sewage | GA0038423 | Collection System | Grease | Ocmulgee | Conley Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-06-22 | Cobb | Marietta | 2940 Blue Sky Place NE Marietta, GA | 330 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Sope Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-06-21 | Fulton | Atlanta | 2232 Verbena St NW | 365 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Proctor Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-06-20 | Gwinnett | Norcross | 2490 Weaver Way- Norcross | 851 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Chattahoochee | unnamed tributary of North Fork Peachtree Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-19 | DeKalb | Stone Mountain | 6009 Memorial Drive, Stone Mountain | 920 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | Barbashela Creek
Vidalia, City of (South WPCP) | 2024-06-19 | Toombs | Vidalia | The manhole located near 1704 McLendon Ave in the woods. | 58500 | Raw Sewage | GAJ020100 | Collection System | Debris | Altamaha | Little Rocky Creek
Private Property | 2024-06-18 | DeKalb | Lithonia | 5665 Fairington Road, Lithonia | 0 | Raw Sewage |  | Collection System | Debris | Ocmulgee | Polebridge Creek Tributary
Walker County Water & Sewer Authority (Walker County WSA WPCP) | 2024-06-17 | Walker | Noble | Just south of Town Creek, approximately 100 yards East of Hwy 27 in Noble, GA, North of East Reed Rd. Walker County. | 1500 | Raw Sewage | GA0020478 | WWTP | Pipe failure | Tennessee | Town Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-06-16 | Fulton | Atlanta | 1011 Welch St SW | 14700 | Raw Sewage | GA0039012 | Collection System | Debris | Upper Ocmulgee | Intrenchment Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-16 | DeKalb | Lithonia | 2550 Lithonia West Drive, Lithonia | 7160 | Raw Sewage | GA0024147 | Collection System | Debris | Ocmulgee | Polebridge Creek Tributary B
Augusta, City of (J.B. Messerly WPCP) | 2024-06-13 | Richmond | Augusta | 973 Mulford Loop | 130 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Butler Creek
Hartwell, City of (Hartwell WPCP) | 2024-06-13 | Hart | Hartwell | 314 Leard St Hartwell | 9000 | Raw Sewage | GAJ020114 | Force Main | Pipe failure | Ocmulgee | Forest Creek
Paulding County Board of Commissioners (Coppermine Road WRF) | 2024-06-13 | Paulding | Hiram | 558 Poplar Springs Rd. Hiram Ga. 30141 | 8000 | Raw Sewage | GA0038865 | WWTP | Pipe failure | Coosa | Rakestraw
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-12 | DeKalb | Decatur | 3172 Bobbie Lane, Decatur | 100 | Raw Sewage | GA0024147 | Collection System | Contractor | Ocmulgee | Cobbs Creek
Paulding County Board of Commissioners (Coppermine Road WRF) | 2024-06-12 | Paulding | Hiram | 118 Greenfield Rd. Hiram Ga. ,30141, 33.88805,-84.73921 | 1230000 | Raw Sewage | GA0038865 | WWTP | Pipe failure | Coosa | Rakestraw
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-12 | DeKalb | Decatur | 329 South mcDonough Street, Decatur | 20 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Shoal Creek West Tributary
Columbus Water Works (South WRF) | 2024-06-10 | Muscogee | Columbus | 6220 Milgen Rd. | 619 | Raw Sewage | GA0020516 | Collection System | Debris | Chattahoochee | Flatrock Creek
Augusta, City of (J.B. Messerly WPCP) | 2024-06-10 | Richmond | Augusta | 2356 Forster St | 150 | Raw Sewage | GA0037621 | Collection System | Rags | Savannah | Oates Creek
Augusta, City of (J.B. Messerly WPCP) | 2024-06-10 | Richmond | Augusta | 1450 Greene St | 150 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Phinizy Swamp
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-10 | DeKalb | Lithonia | 2547 Lithonia West Drive, Lithonia | 2900 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | Polebridge Creek Tributary B
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-10 | DeKalb | Lithonia | 4557 Meadow Creek Path, Lithonia | 3000 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-06-09 | Fulton | Atlanta | 204 Hillside Dr NW | 845 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Nancy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-07 | DeKalb | Atlanta | 1537 North Decatur Road, Atlanta | 1000 | Raw Sewage | GA0024147 | Collection System | Debris | Chattahoochee | Peavine Creek Tributary
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2024-06-07 | Gwinnett | Snellville | 3040 Summit View Ct- Snellville | 3142 | Raw Sewage | GA0038130 | Collection System | Debris | Upper Ocmulgee | unnamed tributary of Big Haynes Creek
Rockdale County Water Resources (Quigg Branch WPCP) | 2024-06-06 | Rockdale | Conyers | 1353 Klondike Rd. SW | 1260 | Raw Sewage | GA0047678 | Collection System | Rags | Ocmulgee | Almond Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-06 | DeKalb | Decatur | 3784 Harvest Drive, Decatur | 1740 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | South River
Toccoa, City of (Eastanollee Creek WPCP) | 2024-06-05 | Stephens | toccoa | 45 Hill Place in Toccoa | 2000 | Raw Sewage | GA0021814 |  | Debris | Savannah | Eastanollee Creek
Fulton County Department of Public Works (Big Creek WRF) | 2024-06-05 | Fulton | Sandy Springs | 800 Lake Placid Dr | 2575 | Raw Sewage | GA0024333 | Collection System | Pipe failure | Chattahoochee | Line Failure
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-05 | DeKalb | Stone Mountain | 1440 Sowell Estates, Stone Mountain | 3000 | Raw Sewage | GA0024147 | Collection System | Contractor | Chattahoochee | South fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-05 | DeKalb | Tucker | 4109 Hideaway Drive, Tucker | 7560 | Raw Sewage | GA0024147 | Collection System | Contractor | Chattahoochee | South fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-04 | DeKalb | Tucker | 4165 Hideaway Drive, Tucker | 2160 | Raw Sewage | GA0024147 | Collection System | 3rd party contractor | Chattahoochee | South fork Peachtree Creek
Athens-Clarke County (North Oconee WRF) | 2024-06-04 | Clarke | Athens | 200 Gatewood Cir, Athens | 856 | Raw Sewage | GA0021725 | Collection System | Pipe failure | Oconee | Turkey Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-06-04 | Fulton | Atlanta | 1004 Flamingo Dr SW | 375 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Utoy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-03 | DeKalb | Decatur | 2417 Dawn Drive, Decatur | 2323 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Doolittle Creek Tributary
Canton, City of (Canton WPCP) | 2024-06-03 | Cherokee | Canton | Headworks bar screens faulted and clogged the bypass causing a spill to reach a storm drain at the south end of the facility after running down the side of the driveway. 1078 Marietta Highway, Canton | 7000 | Raw Sewage | GA0025674 | WWTP | Equipment failure | Coosa | Etowah River
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-03 | DeKalb | Chamblee | 3440 Blackburn Way, Chamblee | 3160 | Raw Sewage | GA0024147 | Collection System | Debris | Chattahoochee | North Fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-03 | DeKalb | Decatur | 2480 Miriam Lane, Decatur | 3000 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-03 | DeKalb | Decatur | 3075 Thrasher Circle, Decatur | 3817 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-03 | DeKalb | Decatur | 2925 Misty Waters Drive, Decatur | 42446 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Shoal Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-02 | DeKalb | Stone Mountain | 1440 Sowell Estates, Stone Mountain | 3300 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-02 | DeKalb | Decatur | 3752 Cherry Ridge Boulevard, Decatur | 10000 | Raw Sewage | GA0024147 | Collection System | Rags | Ocmulgee | South River Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-01 | DeKalb | Decatur | 3787 Harvest Drive, Decatur | 30200 | Raw Sewage | GA0024147 | Collection System | Debris | Ocmulgee | Conley Creek South River
Oconee County (Calls Creek WPCP) | 2024-06-01 | Oconee |  | 33.920781, -83.43889 | 20342 | Raw Sewage | GA0050211 | Lift Station | Pipe failure | Oconee | McNutt Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-06-01 | Cobb | Mableton | 5860 Dunn RD. Mableton, GA | 280 | Raw Sewage | GA0026140 | Collection System | Grease | Chattahoochee | Pine Creek
Cobb County Water System (R.L. Sutton WRF) | 2024-06-01 | Cobb | Marietta | 1150 Colony Cir. Marietta, GA | 4100 | Raw Sewage | GA0026140 | Collection System | Vandalism | Chattahoochee | Soap Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-01 | DeKalb | Tucker | 4171 Hideaway Drive, Tucker | 10210 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-06-01 | DeKalb | Tucker | 4109 Hideaway Drive, Tucker | 9000 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | South fork Peachtree Creek Tributary
Cobb County Water System (R.L. Sutton WRF) | 2024-05-31 | Cobb | Smyrna | 3111 Port Cobb Dr. Smyrna, GA 30080 | 27860 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Chattahoochee River
Pembroke, City of (Pembroke WPCP) | 2024-05-31 | Bryan | Pembroke | Harry Hagan Road in Pembroke, Ga | 8000 | Raw Sewage | GA0038377 | WWTP | Equipment failure | Ogeechee | Mill Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-31 | DeKalb | Lithonia | 4557 Meadow Creek Path, Lithonia | 1500 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2024-05-30 | Fulton | Atlanta | 2720 Continental Colony Pkwy SW | 2155 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Camp Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWWTF) | 2024-05-30 | DeKalb | Decatur | 3787 Harvest Drive, Decatur | 13560 | Raw Sewage | GA0024147 | Collection System | Debris | Ocmulgee | Conley Creek South River
Dawson, City of (Dawson WPCP) | 2024-05-28 | Terrell | Dawson | Highway 82 and Don Foster | 2880 | Raw Sewage | GA0021326 | Collection System | Wet weather | Ocmulgee | Brantley Creek
Ashburn, City of (Airport WPCP) | 2024-05-28 | Turner | Ashburn | Rockhouse and Sylvia Dr. | 300000 | Raw Sewage | GA0025852 | Collection System | Wet weather | Suwannee | Hat Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2024-05-28 | Gwinnett | Loganville | 1063 Creek Bottom Rd- Loganville | 5159 | Raw Sewage | GA0038130 | Collection System | Debris | Upper Ocmulgee | unnamed tributary of Bay Creek
Griffin, City of (Shoal Creek - Blanton Mill WPCP) | 2024-05-28 | Spalding | griffin | 2500 Carver Rd | 810 | Raw Sewage | GAJ020036 | Collection System | Debris | Flint | Wasp Creek