## Sheet1
Posting Date | 2023-09-29
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | SPILL_PRIMARY_CAUSE | RIVER_BASIN | WATERWAY_IMPACTED
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2023-09-27 | Gwinnett | Lawrenceville | 1344 Winder Hwy- Lawrenceville | 7845 | Raw Sewage | GA0038130 | Force Main | Pipe failure | Upper Ocmulgee | Alcovy River
Cobb County Water System (R.L. Sutton WRF) | 2023-09-27 | Cobb | Marietta | 1904 Burkwood CT SW, Marietta, GA 30008 | 118670 | Raw Sewage | GA0026140 | Collection System | Pipe failure | Chattahoochee | Olley Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-25 | Fulton | Atlanta | 3280 Northside Pkwy NW | 1510 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Nancy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-09-24 | DeKalb | Lithonia | 3705 River Rock Road, Lithonia | 4050 | Raw Sewage | GA0024147 | Lift Station | Equipment failure | Ocmulgee | Crooked Creek Tributary
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2023-09-24 | Gwinnett | Duluth | 3833 Stonecroft Pl- Duluth | 1866 | Raw Sewage | GA0038130 | Collection System | Other | Chattahoochee | unnamed tributary of Chattahoochee River
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-09-23 | DeKalb | Stone Mountain | 5423 Biffle Downs Road, Stone Mountain | 50 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Snapfinger Creek Tributary
Cobb County Water System (R.L. Sutton WRF) | 2023-09-21 | Cobb | Smyrna | 4950 Plant Atkinson Rd, Smyrna, GA 30339 | 10200 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Chattahoochee River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-21 | Fulton | Atlanta | 2013 Claude St NW | 4270 | Raw Sewage | GA0039012 | Collection System | Unknown | Chattahoochee | Peachtree Creek
Cobb County Water System (R.L. Sutton WRF) | 2023-09-20 | Cobb | Marietta | 153 Indian Hills PL | 160 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Sope Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-19 | Fulton | Atlanta | 1316 Gault St SE | 270 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Upper Ocmulgee | Intrenchment Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-09-19 | Fulton | Sandy Springs | 50 Glenlake Parkway Sandy Springs, GA 30328 | 40500 | Raw Sewage | GA0024333 | Collection System | Pipe failure | Chattahoochee | Marsh Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-19 | Fulton | Atlanta | 2500 Center St NW | 1750 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Proctor Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-19 | Fulton | Atlanta | 2500 Center St NW | 1070 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Proctor Creek
City of College Park | 2023-09-19 | Fulton | College Park | Best Road (Manhole STC047) | 7200 | Raw Sewage | GAU060256 | Collection System | Debris |  | tbd
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-09-18 | DeKalb | Doraville | 6648 Peachtree Industrial Boulevard, Doraville | 150 | Raw Sewage | GA0024147 | Collection System | Other | Chattahoochee | Nancy Creek Tributary
Augusta, City of (J.B. Messerly WPCP) | 2023-09-17 | Richmond | Augusta | 3605 Elliott Blvd | 240 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Butler Creek
Macon Water Authority (Rocky Creek WRF) | 2023-09-17 | Bibb | Macon | 420 West Buford Rd. | 2520 | Raw Sewage | GA0024546 | Collection System | Grease | Ocmulgee | Ditch feeding Bowman Branch
Marietta (City of)- Sewers | 2023-09-17 | Cobb | Marietta | 1687 Maryland Ave | 1650 | Raw Sewage | GAU060032 | Collection System | Debris | Chattahoochee | Olley Creek
Private Property | 2023-09-15 | DeKalb | Atlanta | 2090 North Druid Hills Road, Atlanta | 200 | Raw Sewage |  | Collection System | 3rd party contractor | Chattahoochee | North Fork Peachtree Creek Tributary
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2023-09-14 | Gwinnett | Lawrenceville | 1180 Brooks Rd- Lawrenceville | 5085 | Raw Sewage | GA0038130 | Collection System | Pipe failure | Upper Ocmulgee | Alcovy River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-14 | Fulton | Atlanta | 700 14th St NW | 1325 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Peachtree Creek
Augusta, City of (J.B. Messerly WPCP) | 2023-09-14 | Richmond | Augusta | Ann St & Oleander Dr | 425 | Raw Sewage | GA0037621 | Collection System | Unknown | Savannah | Rocky Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-14 | Fulton | Atlanta | 955 S River Industrial Blvd SE | 4000 | Raw Sewage | GA0039012 | Collection System | Wet weather | Upper Ocmulgee | South River
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-13 | Fulton | Atlanta | 1845 Piedmont Ave NW | 100 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Peachtree Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-13 | Fulton | Atlanta | 442 Cologne Dr SE | 472 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Upper Ocmulgee | South River
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2023-09-12 | Douglas | Douglasville | 5990 Fairburn Rd. | 25680 | Raw Sewage | GA0038709 | Collection System | Pipe failure | Chattahoochee | Tributary to Slater Mill Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2023-09-12 | Gwinnett | Buford | 1500 One Water Way- Buford | 35509 | Raw Sewage | GA0038130 | Force Main | Pipe failure | Chattahoochee | unnamed tributary of Ivy Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2023-09-11 | Gwinnett | Duluth | 3680 McClure Woods Dr- Duluth | 7482 | Raw Sewage | GA0038130 | Collection System | Other | Chattahoochee | unnamed tributary of Chattahoochee River
Cobb County Water System (R.L. Sutton WRF) | 2023-09-10 | Cobb | Marietta | 209 Timber Creek LN | 270 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Favor Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-09-09 | DeKalb | Stone Mountain | 6009 Memorial Drive, Stone Mountain | 3000 | Raw Sewage | GA0024147 | Collection System | Rags | Ocmulgee | Barbashela Creek Tributary
Private Property | 2023-09-09 | DeKalb | Decatur | 2469 Ousley Court, Decatur | 100 | Raw Sewage |  | Collection System | Unknown | Ocmulgee | Doolittle Creek Tributary
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-09-07 | DeKalb | Scottdale | 300 Hatton Drive, Scottdale | 1160 | Raw Sewage | GA0024147 | Collection System | Grease | Ocmulgee | Indian Creek
Macon Water Authority (Rocky Creek WRF) | 2023-09-06 | Bibb | Macon | 4728 Carlton Dr. | 7500 | Raw Sewage | GA0024546 | Collection System | Grease | Ocmulgee | Ditch feeding Tobesofkee Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-09-06 | Fulton | Atlanta | 231 N Colonial Homes Cir NW | 596 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Chattahoochee | Peachtree Creek
Fayetteville, City of (Whitewater Creek WPCP) | 2023-09-06 | Fayette | Fayetteville | 220 Wyngate Circle | 5500 | Raw Sewage | GA0035807 | Collection System | Contractor | Flint | Small Creek near the lift station
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2023-09-05 | Douglas | Douglasville | 5157 Gresham Rd. | 125000 | Raw Sewage | GA0038709 | Lift Station | Equipment failure | Chattahoochee | Cracker Creek
Loganville, City of (Big Flat Creek WPCP) | 2023-09-05 | Walton | Loganville | 1032 Echo Valley Ct | 3750 | Raw Sewage | GA0020788 | Collection System | Debris | Ocmulgee | Little Haynes Creek
Columbia County - Little River WPCP | 2023-09-05 | Columbia | Martinez | 221 Hillbrook Dr- Martinez | 3750 | Raw Sewage | GA0047775 | Collection System | Vandalism | Savannah | tributary to Reed Creek
Columbia County - Little River WPCP | 2023-09-05 | Columbia | Martinez | 265 West Wynngate Dr- Martinez | 102600 | Raw Sewage | GA0047775 | Collection System | Other | Savannah | tributary to Reed Creek
Gwinnett County Board of Commissioners (F. Wayne Hill WRC) | 2023-09-04 | Gwinnett | Norcross | 6532 Payton Woods Ln- Norcross | 1965 | Raw Sewage | GA0038130 | Collection System | Other | Upper Ocmulgee | unnamed tributary of Jackson Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-09-03 | DeKalb | Atlanta | 3854 West Nancy Creek Place, Atlanta | 10400 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Chattahoochee | Perimeter Creek
Quitman, City of (Quitman WPCP) | 2023-09-02 | Brooks | Quitman | 114 Baker St, Quitman | 500 | Raw Sewage | GAJ020022 | Collection System | Pipe failure | Suwannee | Ditch
Private Property | 2023-09-02 | DeKalb | Avondale Estates | 31 North Avondale Plaza, Avondale Estates | 5928 | Raw Sewage |  | Private Lateral | Unknown | Ocmulgee | Inidan Creek Tributary A
Cobb County Water System (R.L. Sutton WRF) | 2023-09-02 | Fulton | Sandy Springs | 205 Abington Drive | 1640 | Raw Sewage | GA0026140 | Collection System | Pipe failure | Chattahoochee | Marsh Creek
Cobb County Water System (R.L. Sutton WRF) | 2023-09-02 | Cobb | Smyrna | 628 River Bend Cir | 850 | Raw Sewage | GA0026140 | Collection System | Other | Chattahoochee | Mill Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-09-02 | Fulton | Sandy Springs | 500 Franklin Road | 5620 | Raw Sewage | GA0024333 | Collection System | Pipe failure | Chattahoochee | Nancy Creek
Private Property | 2023-09-02 | DeKalb | Doraville | 4371 WInters Chapel Road, Doraville | 4794 | Raw Sewage |  | Private Lateral | Unknown | Chattahoochee | Nancy Creek Tributary 2
Cobb County Water System (R.L. Sutton WRF) | 2023-09-01 | Cobb | Mableton | 6048 Ridge Dr. Mableton, GA 30126 | 120 | Raw Sewage | GA0026140 | Collection System | Roots | Chattahoochee | Milam Branch
Columbus Water Works (South WRF) | 2023-09-01 | Muscogee | Columbus | Collins Dr. Lift Station | 872 | Raw Sewage | GA0020516 | Lift Station | Equipment failure | Ocmulgee | Minor tributary of Upatoi Creek
Saint Marys, City of (Point Peter WPCP) | 2023-09-01 | Camden | St. Marys | manhole 100 yards East of LS #5 on Park Street. | 400 | Raw Sewage | GA0039047 | Collection System | Equipment failure | Saint Mary's | St. Marys River
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2023-08-31 | Douglas | Douglasville | Reynolds Rd. | 500 | Raw Sewage | GA0038709 | Collection System | Contractor | Chattahoochee | Anneewakee Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-08-31 | Fulton | Sandy Springs | 5760 Mountain Creek Road | 1640 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Long Island Creek
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2023-08-31 | Douglas | Lithia Springs | 1265 Blairs Bridge Rd. | 3500000 | Raw Sewage | GA0038709 | Lift Station | Equipment failure | Chattahoochee | Sweetwater Creek
Adel, City of (Adel WPCP) | 2023-08-30 | Cook | Adel | 307 Brookside Drive, Adel | 500 | Raw Sewage | GA0024911 | Lift Station | Wet weather | Suwannee | Bear Creek
Adel, City of (Adel WPCP) | 2023-08-30 | Cook | Adel | Tennis Court East 4th Street, Adel | 6000 | Raw Sewage | GA0024911 | Lift Station | Wet weather | Suwannee | Bear Creek
Augusta, City of (J.B. Messerly WPCP) | 2023-08-30 | Richmond | Augusta | end of collection system at J.B. Messerly WPCP | 6663720 | Raw Sewage | GA0037621 | WWTP | Wet weather | Savannah | Butler Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-08-30 | DeKalb | Decatur | 3553 Brookfield Lane, Decatur | 1000 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-08-30 | DeKalb | Decatur | 3548 Brookfield Lane, Decatur | 3296 | Raw Sewage | GA0024147 | Collection System | Wet weather | Ocmulgee | Cobbs Creek
Quitman, City of (Quitman WPCP) | 2023-08-30 | Brooks | Quitman | 614 North Walker Street, Quitman | 900 | Raw Sewage | GAJ020022 | Collection System | Wet weather | Suwannee | Ditch
Quitman, City of (Quitman WPCP) | 2023-08-30 | Brooks | Quitman | WWTP 800 North Essie Drive, Quitman | 1875 | Raw Sewage | GAJ020022 | Collection System | Wet weather | Suwannee | Ditch
Augusta, City of (J.B. Messerly WPCP) | 2023-08-30 | Richmond | Augusta | 1301 New Savannah Rd | 7200 | Raw Sewage | GA0037621 | Collection System | Wet weather | Savannah | Phinizy Swamp
Vidalia, City of (South WPCP) | 2023-08-30 | Toombs | Vidalia | Lift Station #6 located on 817 Barksdale Dr. | 172500 | Raw Sewage | GAJ020100 | Lift Station | Wet weather | Altamaha | Rocky Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-08-30 | Fulton | Atlanta | 2717 Hedgewood Dr NW | 645 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Sandy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-08-29 | DeKalb | Atlanta | 4150 Tilly Mill Road, Atlanta | 821 | Raw Sewage | GA0024147 | Collection System | Wet weather | Chattahoochee | Nancy Creek Tributary 1