## Sheet1
Posting Date | 2023-11-30
FACILITY_NAME | BEGIN_DATE | COUNTY | CITY | OVERFLOW_LOCATION | QUANTITY_GALLONS | OVERFLOW_TYPE | PERMIT_NUMBER | SPILL_SOURCE | SPILL_PRIMARY_CAUSE | RIVER_BASIN | WATERWAY_IMPACTED
Dalton Utilities (Mill Creek WPCP) | 2023-11-28 | Whitfield | Dalton | 1619 Crow Valley Rd, Dalton, GA, Whitfield County | 700 | Raw Sewage | GA0038946 | WWTP | Power failure | Coosa | Mill Creek
Henry County Water Authority (Indian Creek WRF) | 2023-11-28 | Henry | McDonough | Mount Olive Rd | 2156 | Raw Sewage | GA0050241 | Collection System | Contractor |  | Walnut Creek
Athens-Clarke County (North Oconee WRF) | 2023-11-27 | Clarke | Athens | 106 Merlyn Drive, Athens | 0 | Raw Sewage | GA0021725 | Collection System | Unknown | Oconee | Not Yet Reported
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-27 | Fulton | Atlanta | 1671 James Jackson Pkwy NW | 270 | Raw Sewage | GA0039012 | Collection System | Grease | Chattahoochee | Proctor Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-26 | Fulton | Atlanta | 1016 Sanders Ave SE | 1140 | Raw Sewage | GA0039012 | Collection System | Pipe failure | Upper Ocmulgee | Intrenchment Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-11-25 | Fulton | Sandy Springs | 595 Trimble Lake Court Sandy Springs, GA 30342 | 7320 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Nancy Creek
Augusta, City of (J.B. Messerly WPCP) | 2023-11-24 | Richmond | Augusta | 2415 Dakar Dr | 279 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Butler Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-11-24 | Fulton | Alpharetta | 156 Crocker Way | 11160 | Raw Sewage | GA0024333 | Collection System | Grease | Chattahoochee | Foe Killer Creek
Hawkinsville, City of (North WPCP) | 2023-11-23 | Pulaski | Hawkinsville | North WPCP 44 Badge Blvd, Hawkinsville | 500 | Raw Sewage | GA0046027 | WWTP | Power failure | Ocmulgee | Ocmulgee River
Loganville, City of (Big Flat Creek WPCP) | 2023-11-23 | Walton | Loganville | 645 Hunters Cove Ln | 9750 | Raw Sewage | GA0020788 | Collection System | Equipment failure | Ocmulgee | tributary to Big Flat Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-22 | DeKalb | Atlanta | 4373 Ahford Dunwoody Road, Atlanta | 1000 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | North Fork Peachtree Creek Tributary
Henry County Water Authority (Indian Creek WRF) | 2023-11-21 | Henry | McDonough | 347 Phillips Dr. McDonough, Ga | 1710 | Raw Sewage | GA0050241 | Collection System | Debris | Ocmulgee | Camp Creek
Macon Water Authority (Rocky Creek WRF) | 2023-11-21 | Bibb | Macon | 5013 Shirley Ct. | 4100 | Raw Sewage | GA0024546 | Collection System | Pipe failure | Ocmulgee | Ditch feeding Rocky Creek
Cartersville, City of (Cartersville WPCP) | 2023-11-21 | Bartow | Cartersville | 15 Phillips Drive, Cartersville Ga 30120 | 1200 | Raw Sewage | GA0024091 | WWTP | Debris | Coosa | Satterfield Branch
Savannah, City of (President Street WPCP) | 2023-11-20 | Chatham | Savannah | 1002 Lynes Avenue-Storm Drain that flows into Savannah & Ogeechee Canal | 2430 | Raw Sewage | GA0025348 | WWTP | Contractor | Ogeechee | Savannah River and Ogeechee Canal
Ashburn, City of (Airport WPCP) | 2023-11-19 | Turner | Ashburn | MLK Lift Station | 2000 | Raw Sewage | GA0025852 | Collection System | Other | Suwannee | Ashburn Branch
Oconee County (Calls Creek WPCP) | 2023-11-18 | Oconee | Watkinsville | Calls Creek WRF at a clean out near EQ tank | 15500 | Raw Sewage | GA0050211 | WWTP | Debris | Oconee | Calls Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-17 | DeKalb | Tucker | 1953 Crescent Centre Blvd, Tucker | 940 | Raw Sewage | GA0024147 | Collection System | 3rd party contractor | Ocmulgee | Burnt Fork Creek Tribuary
LaGrange, City of (Long Cane Creek WPCP) | 2023-11-17 | Troup | LaGrange | East Industrial Lift Station | 9000 | Raw Sewage | GA0036951 | Lift Station | Pipe failure | Chattahoochee | Long Cane Creek
Rome, City of (Rome WRF) | 2023-11-17 | Floyd | Rome | Approximately 850 feet southeast of the intersection of Alabama Highway at Highland Blvd. in the sewer right of way | 3000 | Raw Sewage | GA0024112 | WWTP | Roots | Coosa | Unnamed tributary leading to Beech Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-16 | Fulton | Atlanta | 176 Huntington Rd NE | 228 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Peachtree Creek
Dallas, City of (Pumpkinvine Creek WPCP) | 2023-11-14 | Paulding | Dallas | MH# 5245 - 19 Durana CT. Dallas, GA Bone Creek Outfall | 3600 | Raw Sewage | GA0039241 | WWTP | Grease | Coosa | Bone Creek tributary to Pumpkinvine Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-14 | Fulton | Atlanta | 3750 Peachtree Rd NE | 775 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Peachtree Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-14 | Fulton | Atlanta | 5255 Phillip Lee Dr SW | 231534 | Raw Sewage | GA0039012 | Lift Station | Equipment failure | Chattahoochee | Utoy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-12 | DeKalb | Stone Mountain | 1061 Martin Road, Stone Mountain | 50 | Raw Sewage | GA0024147 | Collection System | Roots | Ocmulgee | Barbashela Creek Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2023-11-11 | Cobb | Atlanta | 4441 Rebel Valley View Dr, Atlanta, GA 30339 | 1540 | Raw Sewage | GA0024333 | Collection System | Roots | Chattahoochee | Gilmore Creek
Augusta, City of (J.B. Messerly WPCP) | 2023-11-10 | Richmond | Augusta | Hickman Rd & Cumming Rd | 750 | Raw Sewage | GA0037621 | Collection System | Rags | Savannah | Phinizy Swamp
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-09 | Fulton | Atlanta | 2470 Daniel Rd SW | 158 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Camp Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-09 | DeKalb | Decatur | 625 S Candler St. Decatur | 1480 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Shoal Creek West Tributary
Augusta, City of (J.B. Messerly WPCP) | 2023-11-08 | Richmond | Augusta | 3602 Elliott Blvd | 6500 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Butler Creek
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-07 | Fulton | Atlanta | 16 W Wieuca Rd NE | 2050 | Raw Sewage | GA0039012 | Collection System | Debris | Chattahoochee | Nancy Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-07 | DeKalb | Stone Mountain | 5083 Biffle Road, Stone Mountain | 8010 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Snapfinger Creek Tributary
Atlanta, City of (R.M. Clayton, Utoy Creek & South River WRCS) | 2023-11-07 | Fulton | Atlanta | 2545 Forrest Hills Dr SW | 244 | Raw Sewage | GA0039012 | Collection System | Grease | Upper Ocmulgee | South River
Cobb County Water System (R.L. Sutton WRF) | 2023-11-07 | Cobb | Acworth | 5618 Forkwood Dr | 80 | Raw Sewage | GA0026140 | Collection System | Debris | Chattahoochee | Tributary to Pitner Creek
Hogansville, City of (Hogansville WPCP) | 2023-11-07 | Troup | hogansville | between Boozer St. and Polar St. running north | 10800 | Raw Sewage | GA0050218 |  | Other | Chattahoochee | Unnamed tributary to Yellow Jacket Creek
Augusta, City of (J.B. Messerly WPCP) | 2023-11-06 | Richmond | Augusta | 1819 N Barton Dr | 300 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Butler Creek
Augusta, City of (J.B. Messerly WPCP) | 2023-11-06 | Richmond | Augusta | 2663 Thomas Ln | 3000 | Raw Sewage | GA0037621 | Collection System | Grease | Savannah | Rocky Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-05 | DeKalb | Decatur | 3703 Big Springs Road, Decatur | 980 | Raw Sewage | GA0024147 | Collection System | Pipe failure | Ocmulgee | Shoal Creek
Douglasville-Douglas County Water & Sewerage Authority (South Central WPCP) | 2023-11-05 | Douglas | Douglasville | 6412 Linecrest Dr. | 18900 | Raw Sewage | GA0038709 | Collection System | Grease | Chattahoochee | Tributary to Huey Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-11-05 | Fulton | South Fulton | 5601 Fulton Industrial Blvd. | 76160 | Raw Sewage | GA0024333 | Collection System | Grease | Chattahoochee | Wilson Creek
Dekalb County Department of Watershed Management (Snapfinger Creek AWTF) | 2023-11-04 | DeKalb | Dunwoody | 1817 Womack Road, Dunwoody | 2800 | Raw Sewage | GA0024147 | Collection System | Grease | Chattahoochee | Nancy Creek Tributary
Fulton County Department of Public Works (Big Creek WRF) | 2023-11-03 | Fulton | Alpharetta | 200 Pruitt Dr. | 5640 | Raw Sewage | GA0024333 | Collection System | Debris | Chattahoochee | Foe Killer Creek
Fulton County Department of Public Works (Big Creek WRF) | 2023-11-01 | Fulton | Roswell | 2170 Azalea Dr. Roswell, GA | 3440 | Raw Sewage | GA0024333 | Collection System | Grease | Chattahoochee | Chattahoochee River
Paulding County Board of Commissioners (Coppermine Road WRF) | 2023-11-01 | Paulding | Hiram | Manhole behind 448 Ivy Chase Loop | 4975 | Raw Sewage | GA0038865 | WWTP | Debris | Coosa | Tributary of Mill Creek