IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

Lead Action Level Exceeded

Water System Name found elevated levels of lead in drinking water samples collected in some homes/buildings during routine compliance monitoring. These results are specific to the sites where the samples were collected. Lead may dissolve or break off into water from pipes and plumbing components, so the elevated levels found in some homes/buildings do not mean that every property within the Water System Name contains lead. However, it is important to understand how to reduce your potential exposure to lead in water. Please read this information closely to see what you can do to reduce the risk of potential exposure to lead in your drinking water.

*Exposure to lead in drinking water can cause serious health effects in all age groups. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney, or nervous system problems.*

What Happened?

EPA requires Community and Non-Transient Non-Community Water Systems to routinely test for lead at taps throughout their system. Taps sampled are selected based on Safe Drinking Water Rule criteria. Systems compare sample results to EPA’s lead action level of 0.015 mg/L (15 ppb). If 10 percent of the samples have lead concentrations that are greater than the lead action level, then the system must perform actions such as public education, installing or adjusting corrosion control treatment, and lead service line replacement (if applicable).

Between Month/Year and Month/Year, # of Samples samples were collected and analyzed for lead. The results of more than 10 percent of these samples were greater than the action level for lead. Insert additional information or explanation if needed.

Should An Alternate Source Of Water Be Used? Insert YES or NO. You may optionally choose to use bottled water and/or filters certified to remove lead. Refer to Consumer Tool for Identifying POU Filters Certified to Remove Lead. If the water system is providing/offering bottled water and/or filters, describe how & where to obtain them.

What Should You Do If You’re Concerned About Lead In Your Water?

- Use cold water for cooking and preparing baby formula.

- Run the water for 15-30 seconds or until it reaches a steady temperature before using it for drinking or cooking.

- Remove and clean your aerators on interior faucets periodically.

- Do NOT boil water to attempt to remove lead. Boiling the water could cause increased lead levels.

- Use a filter that is certified to remove lead.

- Have your water tested. A list of labs certified for lead analysis can be found on the GA EPD Website.

- Identify and replace pipes, plumbing fixtures, and other plumbing components containing lead.

What Is Being Done?

Describe actions the system is taking to resolve the situation such as: water quality monitoring, corrosion control treatment installation or adjustment, lead service line replacement, public education, distribution of filters, increased monitoring, follow-up sampling

This notice is being sent to you by Water System Name. State Public Water System (PWS) ID#: GA_ _ _ _ _ _ _.

For more information, please contact Name of Water System Contact at Phone Number, Email, Mailing Address.

*Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.*

Date distributed: _______________

https://www.epa.gov/water-research/consumer-tool-identifying-point-use-and-pitcher-filters-certified-reduce-lead

https://epd.georgia.gov/watershed-protection-branch/drinking-water under 'Commercial Environmental Laboratories'