| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |
| B001 |  | ## Heated Vent Stack Heater |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |
| This heater is used to heat a glycol solution for warming natural gas in the event of an emergency situation. |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Johnston |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |
| 1975 |  |  |  |  |  | 1975 |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 11.74 |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  | Units |  |  |
| Natural Gas | 11,589 |  | Scf/hr | 11.74 |  | 101.5 |  | MMscf/yr | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## H001 |  | ## Fuel Gas Heater No. 1 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This fuel gas heater is used to heat the natural gas fuel for the combustion units. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## NATCO A51998 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1.25 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 1,234 |  | Scf/hr | 1.25 |  | 10.8 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## H002 |  | ## Fuel Gas Heater No. 2 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| This fuel gas heater is used to heat the natural gas fuel for the combustion units. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## NATCO A51998 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 1.25 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 1,234 |  | Scf/hr | 1.25 |  | 10.8 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## V001 |  | ## LNG Vaporizer No. 1 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## T-Thermal Sub X 90-135 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2001 |  |  |  |  |  | 2001 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 88.1 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 86,969 |  | Scf/hr | 88.1 |  | 761.9 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |
| ## V002 |  | ## LNG Vaporizer No. 2 |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |
| T-Thermal Sub X 90-135 |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |
| 2001 |  |  |  |  |  | 2001 |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 88.1 |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  | Units |  |  |
| Natural Gas | 86,969 |  | Scf/hr | 88.1 |  | 761.9 |  | MMscf/yr | 1,050 | BTU/scf |  | 2.5% * |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| V003 |  | ## LNG Vaporizer No. 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## T-Thermal Sub X 90-135 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2001 |  |  |  |  |  | 2001 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 88.1 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 86,969 |  | Scf/hr | 88.1 |  | 761.9 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## V004 |  | LNG Vaporizer No. 4 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| T-Thermal Sub X 90-135 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2001 |  |  |  |  |  | 2001 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 88.1 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 86,969 |  | Scf/hr | 88.1 |  | 761.9 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## V005 |  | ## LNG Vaporizer No. 5 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## T-Thermal Sub X 90-135 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2001 |  |  |  |  |  | 2001 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 88.1 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 86,969 |  | Scf/hr | 88.1 |  | 761.9 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 2.5%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## V006 |  | ## LNG Vaporizer No. 6 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## T-Thermal Sub X 120-180 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2005 |  |  |  |  |  | ## 2005 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 121.4 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 119,842 |  | Scf/hr | 121.4 |  | 1,049.8 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 3%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## V006 |  | ## LNG Vaporizer No. 7 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## T-Thermal Sub X 120-180 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2005 |  |  |  |  |  | ## 2005 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 121.4 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 119,842 |  | Scf/hr | 121.4 |  | 1,049.8 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 3%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.

| Section 5.10 - Emission Unit - Boilers, Furnaces, and Other Indirect Contact Heat Generating Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| ## V006 |  | ## LNG Vaporizer No. 8 |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Vaporizers heat the LNG to approximately 45F for delivery to the interstate pipeline. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  | 6. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |
| 7. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## T-Thermal Sub X 120-180 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  | 9. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |
| 2005 |  |  |  |  |  | ## 2005 |  |  |  |  |  |  |  |
| 10. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Submerged Combustion Device |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11. EMISSION UNIT HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 121.4 |  |  |  | million Btu/hr |  |  |  |  |
| 12. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  | Max Heat Input (Million Btu/hr) |  | Max Annual Fuel Consumption1 |  |  |  | Maximum Heating Value |  |  | Max Allowable % Sulfur |
|  |  |  | Units |  |  |  |  | Units |  |  | Units |  |  |
| Natural Gas | 119,842 |  | Scf/hr | 121.4 |  | 1,049.8 |  | MMscf/yr |  | 1,050 | BTU/scf |  | 3%* |
| 13. COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |

* % Sulfur in pipeline-grade natural gas is negligible.