| Section 5.11 - Emission Units - Internal Combustion Engines and Combustion Turbines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## G001 |  | ## Generator Engine No. 1 (Facility ID# P5-C) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  | 5. TYPE OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| This engine drives a generator used as part of the auxiliary electrical system. |  |  |  |  |  |  |  |  |  | ### X | Internal Combustion Engine |  |  |  |  |  |  | Combustion Turbine |  |  |
| 6. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  |  |  |  | 7. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Cooper-Bessemer LSV-12-SG-4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  |  |  |  |  | 10. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |  |  |  |
| 11. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 cycle, clean-burn, natural gas-fired |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. EMISSION UNIT DESIGN HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 28.8 |  |  |  | million Btu/hr |  |  |  |  |  |  |  |  |
| 13. POWER OUTPUT: (specify units) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Rated: |  |  | (unit) |  |  |  | Operational Maximum: |  |  |  |  |  |  |  | (unit) |  |  |  |  |  |
|  | 3,920 |  | hp |  |  |  |  |  |  |  |  |  | 3,920 |  | hp |  |  |  |  |  |
| 14. OPERATING SCHEDULE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Hours in Operation per year: |  |  |  |  | 8,760 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  |  |  | Max Heat Input Million Btu/hr |  |  |  | Max Annual Fuel Consumption |  |  |  | Maximum Heating Value |  |  |  |  | Max Allowable % Sulfur |  |
|  |  |  |  | Units |  |  |  |  |  |  |  |  | Units |  | Units |  |  |  |  |  |
| ## Natural Gas | 28,403 |  |  | ### scf/hr |  | 28.8 |  |  |  | 248.8 |  |  | MMscf/yr | 1,050 | ### Btu/scf |  |  |  | 2.5* |  |
| 16. COMMENTS: * % Sulfur in pipeline-grade natural gas is negligible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Section 5.11 - Emission Units - Internal Combustion Engines and Combustion Turbines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## G002 |  | ## Generator Engine No. 2 (Facility ID# P5-D) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  | 5. TYPE OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| This engine drives a generator used as part of the auxiliary electrical system. |  |  |  |  |  |  |  |  |  | ### X | Internal Combustion Engine |  |  |  |  |  |  | Combustion Turbine |  |  |
| 6. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  |  |  |  | 7. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Cooper-Bessemer LSV-12-SG-4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  |  |  |  |  | 10. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |  |  |  |
| 11. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 cycle, clean-burn, natural gas-fired |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. EMISSION UNIT DESIGN HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 28.8 |  |  |  | million Btu/hr |  |  |  |  |  |  |  |  |
| 13. POWER OUTPUT: (specify units) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Rated: |  |  | (unit) |  |  |  | Operational Maximum: |  |  |  |  |  |  |  | (unit) |  |  |  |  |  |
|  | 3,920 |  | hp |  |  |  |  |  |  |  |  |  | 3,920 |  | hp |  |  |  |  |  |
| 14. OPERATING SCHEDULE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Hours in Operation per year: |  |  |  |  | 8,760 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  |  |  | Max Heat Input Million Btu/hr |  |  |  | Max Annual Fuel Consumption |  |  |  | Maximum Heating Value |  |  |  |  | Max Allowable % Sulfur |  |
|  |  |  |  | Units |  |  |  |  |  |  |  |  | Units |  | Units |  |  |  |  |  |
| ## Natural Gas | 28,403 |  |  | ### scf/hr |  | 28.8 |  |  |  | 248.8 |  |  | MMscf/yr | 1,050 | ### Btu/scf |  |  |  | 2.5* |  |
| 16. COMMENTS: * % Sulfur in pipeline-grade natural gas is negligible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Section 5.11 - Emission Units - Internal Combustion Engines and Combustion Turbines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## G003 |  | ## Turbine Generator (Facility ID# P5-A) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  | 5. TYPE OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| This gas turbine drives a generator used as part of the auxiliary electrical system. |  |  |  |  |  |  |  |  |  |  | Internal Combustion Engine |  |  |  |  | ### X |  | Combustion Turbine |  |  |
| 6. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  |  |  |  | 7. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solar Centaur T-4000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  |  |  |  |  | 10. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |  |  |  |
| 11. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Natural gas fired |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. EMISSION UNIT DESIGN HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 40.07 |  |  |  | million Btu/hr |  |  |  |  |  |  |  |  |
| 13. POWER OUTPUT: (specify units) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Rated: |  |  | (unit) |  |  |  | Operational Maximum: |  |  |  |  |  |  |  | (unit) |  |  |  |  |  |
|  | 3,800 |  | hp |  |  |  |  |  |  |  |  |  | 3,800 |  | hp |  |  |  |  |  |
| 14. OPERATING SCHEDULE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Hours in Operation per year: |  |  |  |  | 8,760 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  |  |  | Max Heat Input Million Btu/hr |  |  |  | Max Annual Fuel Consumption |  |  |  | Maximum Heating Value |  |  |  |  | Max Allowable % Sulfur |  |
|  |  |  |  | Units |  |  |  |  |  |  |  |  | Units |  | Units |  |  |  |  |  |
| ## Natural Gas | 39,553 |  |  | scf/hr |  | 40.07 |  |  |  | 278.48 |  |  | ### MMscf/yr | 1,050 | ### Btu/scf |  |  |  | 2.5* |  |
| 16. COMMENTS: * % Sulfur in pipeline-grade natural gas is negligible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Section 5.11 - Emission Units - Internal Combustion Engines and Combustion Turbines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## G004 |  | ## Turbine Generator (Facility ID# P5-B) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  | 5. TYPE OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| This gas turbine drives a generator used as part of the auxiliary electrical system. |  |  |  |  |  |  |  |  |  |  | Internal Combustion Engine |  |  |  |  | ### X |  | Combustion Turbine |  |  |
| 6. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  |  |  |  | 7. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Solar Centaur T-4000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  |  |  |  |  | 10. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |  |  |  |
| 11. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Natural gas fired |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. EMISSION UNIT DESIGN HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 40.07 |  |  |  | million Btu/hr |  |  |  |  |  |  |  |  |
| 13. POWER OUTPUT: (specify units) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Rated: |  |  | (unit) |  |  |  | Operational Maximum: |  |  |  |  |  |  |  | (unit) |  |  |  |  |  |
|  | 3,800 |  | hp |  |  |  |  |  |  |  |  |  | 3,800 |  | hp |  |  |  |  |  |
| 14. OPERATING SCHEDULE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Hours in Operation per year: |  |  |  |  | 8,760 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  |  |  | Max Heat Input Million Btu/hr |  |  |  | Max Annual Fuel Consumption |  |  |  | Maximum Heating Value |  |  |  |  | Max Allowable % Sulfur |  |
|  |  |  |  | Units |  |  |  |  |  |  |  |  | Units |  | Units |  |  |  |  |  |
| ## Natural Gas | 39,553 |  |  | scf/hr |  | 40.07 |  |  |  | 278.48 |  |  | ### MMscf/yr | 1,050 | ### Btu/scf |  |  |  | 2.5* |  |
| 16. COMMENTS: * % Sulfur in pipeline-grade natural gas is negligible. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Section 5.11 - Emission Units - Internal Combustion Engines and Combustion Turbines |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alternative Operating Scenario # |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. FACILITY NAME: | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. EMISSION UNIT ID NUMBER: |  | 3. FACILITY’S NAME FOR THIS EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## X001 |  | ## Fire Pump Engine* |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. DESCRIPTION OF EMISSION UNIT: |  |  |  |  |  |  |  |  | 5. TYPE OF EMISSION UNIT: |  |  |  |  |  |  |  |  |  |  |  |
| This engine drives a pump used for fire suppression at the facility. |  |  |  |  |  |  |  |  |  | ### X | Internal Combustion Engine |  |  |  |  |  |  | Combustion Turbine |  |  |
| 6. NAME FOR ASSOCIATED AIR POLLUTION CONTROL DEVICE: |  |  |  |  |  |  |  |  |  | 7. AIR POLLUTION CONTROL DEVICE ID NUMBER: |  |  |  |  |  |  |  |  |  |  |
| ## N/A |  |  |  |  |  |  |  |  |  | ## N/A |  |  |  |  |  |  |  |  |  |  |
| 8. EMISSION UNIT MANUFACTURER AND MODEL NUMBER: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cumming |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9. EMISSION UNIT DATE OF MANUFACTURE / RECONSTRUCTION: |  |  |  |  |  |  |  |  |  | 10. EMISSION UNIT EFFECTIVE DATE OF INSTALLATION: |  |  |  |  |  |  |  |  |  |  |
| 1975 |  |  |  |  |  |  |  |  |  | 1975 |  |  |  |  |  |  |  |  |  |  |
| 11. DESCRIBE FUEL BURNING CONFIGURATION: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ## Diesel fired |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12. EMISSION UNIT DESIGN HEAT INPUT CAPACITY: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 1.51 |  |  |  | million Btu/hr |  |  |  |  |  |  |  |  |
| 13. POWER OUTPUT: (specify units) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Design Rated: |  |  | (unit) |  |  |  | Operational Maximum: |  |  |  |  |  |  |  | (unit) |  |  |  |  |  |
|  | 215 |  | hp |  |  |  |  |  |  |  |  |  | 215 |  | hp |  |  |  |  |  |
| 14. OPERATING SCHEDULE: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Maximum Hours in Operation per year: |  |  |  |  | 1,000 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15. FUELS AND FIRING CONDITIONS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type and Grade | Max Hourly Fuel Consumption |  |  |  |  | Max Heat Input Million Btu/hr |  |  |  | Max Annual Fuel Consumption |  |  |  | Maximum Heating Value |  |  |  |  | Max Allowable % Sulfur |  |
|  |  |  |  | Units |  |  |  |  |  |  |  |  | Units |  | Units |  |  |  |  |  |
| ## Diesel | 11 |  |  | gal/hr |  | 1.51 |  |  |  | 10,750 |  |  | ### gal/yr | 140 | ### Btu/103 gal |  |  |  | 2.5 |  |
| 16. COMMENTS: *The fire pump engine is an insignificant unit based on use and emissions levels. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |