| Section 9.10 - Stack and Process Vent - Summary |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. FACILITY NAME: |  | # Southern LNG, Inc. – Elba Island LNG Terminal - June 2003 |  |  |  |
| 2. LIST ALL STACKS AND PROCESS VENTS AT THIS FACILITY: (List only stacks venting emissions from emission units requiring a section 7.10 form.) |  |  |  |  |  |
| Stack ID | Plant's Name or Description of Stack/Vent |  | Stack Height Above Grade | List Unit ID Numbers of All Emission Units Exhausting through this Stack | List Unit ID Numbers of All Pollution Control Devices Exhausting through this Stack |
| GS01 | Generator Engine No. 1 Stack |  | 30.8 ft | G001 | ## N/A |
| GS02 | Generator Engine No. 2 Stack |  | 30.8 ft | G002 | ## N/A |
| GS03 | ## Turbine Generator Stack |  | 27.5 ft | G003 | N/A |
| GS04 | Turbine Generator Stack |  | 27.5 ft | G004 | N/A |
| VS01 | LNG Vaporizer Stack No. 1 |  | 77.0 ft | V001, V002 | N/A |
| VS02 | LNG Vaporizer Stack No. 2 |  | 77.0 ft | V003, V004 | N/A |
| VS03 | LNG Vaporizer Stack No. 3 |  | 77.0 ft | V005 | N/A |
| VS06 | LNG Vaporizer Stack No. 6 |  | 77.0 ft | V006 | N/A |
| VS07 | LNG Vaporizer Stack No. 7 |  | 77.0 ft | V007 | N/A |
| VS08 | LNG Vaporizer Stack No. 8 |  | 77.0 ft | V008 | N/A |
| HS01 | Fuel Gas Heater No. 1 Stack |  | 17.3 ft | H001 | N/A |
| HS02 | Fuel Gas Heater No. 2 Stack |  | 17.3 ft | H002 | N/A |
| BS01 | Heater Stack |  | 20.0 ft | B001 | N/A |
| 3. COMMENTS: |  |  |  |  |  |