CORRECTIVE ACTION PLAN PART A Guidance Document

2011

TABLE OF CONTENTS

INTRODUCTION	3

Guidelines for Completing the CAP-Part A Template	8

I.	PLAN CERTIFICATION:	8

A. 	UST Owner/Operator:	8

B. 	Professional Engineer or Professional Geologist:	8

II.	INITIAL RESPONSE REPORT:	8

A. 	Initial Abatement:	8

1.	No Action Required:	8

2.	Further Release or Migration of Contaminants Prevented:	9

3.	Monitoring & Mitigation of Fire and Safety Hazards:	9

B. 	Free Product Removal:	9

C. 	Tank History:	10

D. 	Initial Site Characterization:	10

1.	Regulated Substance Released:	10

2.	Source of Contamination:	10

3.	Local Water Resources:	11

4.	Impacted Environmental Media:	13

5. 	Other Geologic/Hydrogeologic Data:	16

6. 	Corrective Action Completed:	17

7. 	Site Ranking:	17

8. 	Conclusions and Recommendations:	17

III.	SITE INVESTIGATION PLAN:	19

A.	Horizontal and Vertical Extent of Contamination:	19

1. 	Soils:	19

2. 	Groundwater:	20

3. 	Surface Water:	21

4. 	Nearby Potable Water Wells:	21

B. 	Vadose Zone and Aquifer Characteristics:	22

1. 	Saturated Horizontal Hydraulic Conductivity (Ks):	22

2.	Effective porosity (ne):	22

3.	Seepage Velocity (vs):	22

4.	Vertical Soil Permeability (Optional):	23

5. 	Infiltration Rate (Optional):	23

6. 	Total Organic Carbon (Optional):	24

7. 	Dissolved Iron (Optional):	24

8. 	Grain-size Distribution (Optional):	24

9. 	Total Petroleum Hydrocarbons (TPH) (Optional):	24

IV.	PUBLIC NOTICE:	25

V.	CLAIM FOR REIMBURSEMENT (CAP-PART A): GEORGIA UNDERGROUND STORAGE TANK (GUST) TRUST FUND:	26

A. 	GUST Trust Fund Application (GUST-36):	26

B. 	Cost Proposal:	28

APPENDIX A (Analytical Methods & Detection Limits)	A-1

APPENDIX B (Sample Public Notices)	B-1

APPENDIX C (Minimum Standards for Geologic & Engineering Work)	C-1

APPENDIX D (Site Ranking Form)	D-1

APPENDIX E (Table A & Table B Soil Threshold Levels)	E-1

APPENDIX F (Guidelines for Site Investigation Summary Report)	F-1

APPENDIX G (List of Acronyms)	G-1

# INTRODUCTION

Overview:

This CAP-Part A Guidance Document provides explanations and guidelines for completing the CAP-Part A template. The actual CAP-Part A Template can be found at: http://gaepd.org/Files_PDF/techguide/lpb/usttempl698.pdf.

A copy of the CAP-Part A Template may be obtained in the Microsoft Word format via e-mail by making a request to the Underground Storage Tank Management Program at 404-362-2687.

The CAP-Part A shall be submitted in lieu of the initial abatement report, the initial site characterization report, and the free product removal report, as referenced by 40 CFR §§ 280.62(b), 280.63(b), and 280.64(d) (1993), respectively.  For USTs removed or closed in place, also reference the UST Closure Guidance Document  (GUST-9). It should be understood that if a CAP-Part A is submitted that does not meet the criteria outlined below, the GUST Trust Fund may only reimburse for the revised submission and not the original.  The forms provided are intended to create a standard format to facilitate a timely regulatory review.

Support documents needed to complete the CAP-Part A are provided in this Guidance Document as appendices and are listed below:

Appendix A:  	Laboratory Methods & Detection Limits

Appendix B:	Sample Public Notices

Appendix C:	Minimum Standards for Geologic & Engineering Work performed for a CAP-Part A

Appendix D:	Site Ranking Form (found at the following web address): http://gaepd.org/Files_PDF/forms/lpb/site_ranking.pdf)

Appendix E:	Soil Threshold Levels

Appendix F:  	Guidelines for Site Investigation Summary Report (SISR)

Appendix G:	List of Acronyms

Organization of CAP-A Template:

The CAP-Part A Template is divided into five main sections and their subsequent subtopics:

- Plan Certification

  - UST Owner/Operator

  - Professional Engineer or Professional Geologist

- Initial Response Report

  - Initial Abatement

  - Free Product Removal

  - Tank History

  - Initial Site Characterization

- Site Investigation Plan

  - Horizontal and Vertical Extent of Contamination

  - Vadose Zone and Aquifer Characteristics

- Public Notice

- GUST Trust Fund Reimbursement Claim

  - Trust Fund Application (GUST-36)

  - Cost Proposal

Release Reporting/Corrective Action Process:

A flow chart of the entire corrective action process can be found on page 7.  The following is a short summary regarding corrective action requirements beginning with release reporting:

- Once a release has been confirmed, a CAP-Part A must be submitted within sixty (60) days.

- In lieu of a CAP-Part A, a UST Closure Report may be submitted if the UST system is properly closed.  However, if a no further action required (NFAR) status cannot be obtained with closure, then a CAP-Part A must be submitted.

- Only three conclusions are available for the CAP-Part A:  no further action (NFA) status, implementation of a Site Investigation Plan (SIP), or implementation of a CAP-Part B Monitoring Only Plan.

  - A SIP is a plan to delineate the full extent of soils and/or groundwater contaminated by the release.

- The information obtained during the implementation of the SIP will later be incorporated into the Site Investigation Summary Report (SISR).

  - If the dissolved and/or free product plumes are not adequately defined during the first SISR (herein referred as SISR1), then subsequent addendum (referred to as SISR2, SISR3, etc.) must be completed until the plume(s) have been adequately defined.

- Once adequate delineation has been achieved, the USTMP will require the completion of a CAP-Part B recommending active remediation or a monitoring program.

CAP-Part A Submittal:

The CAP-Part A must be completed in strict accordance with the CAP-Part A Template.

- All figures, tables and appendices should be prepared in accordance with this Guidance Document.  Failure to comply with the guidance may result in a delay of the CAP-A review and reimbursement.

- The Cost Proposal, GUST Trust Fund application and claim for reimbursement (if applicable) is required to be submitted simultaneously with the CAP-Part A, not at a later date.

- Submit the CAP-Part A with pages three-hole punched.

- The CAP-Part A Template must contain the following attachments in order:

 Figures

- Figure 1:  	Vicinity/Location Map

- Figure 2:  	Site Plan

- Figure 3:  	Potential Receptor Map

- Figure 4:  	Soil Quality Map

- Figure 5a:	Groundwater Quality Map

- Figure 5b:	Benzene Isoconcentration Map

- Figure 6:	Potentiometric Surface Map

- Figure 7:	UST System Closure Sampling (if completed)

- Figure 8:  	Proposed boring/monitoring well location map

- Figure 9:  	Tax Map

 Tables

- Table 1: 	Summary of Free Product Removal

- Table 2a:	Soil Analytical Results (BTEX, TPH, MTBE)

- Table 2b:	Soil Analytical Results (PAH’s)

- Table 3a:	Groundwater Analytical Results (BTEX, MTBE)

- Table 3b:  	Groundwater Analytical Results (PAH’s)

- Table 4:	Groundwater Elevations

- Table 5a: 	UST System Closure (Soil Data-BTEX, MTBE, TPH)

- Table 5b: 	UST System Closure (Soil Data-PAH’s)

- Table 6a:	UST System Closure (Groundwater Data-BTEX, MTBE)

- Table 6b:	UST System Closure (Groundwater Data-PAH’s)

- Table 7:	Tax Map Data

 Appendices

- Appendix I: 	Report Figures

- Appendix II:	Report Tables

- Appendix III: 	Water Resources Survey Documentation

- Appendix IV: 	Soil Boring Logs

- Appendix V: 	Soil Laboratory Reports

- Appendix VI:  	Monitoring Well Schematics

- Appendix VII:  	Groundwater Laboratory Results

- Appendix VIII:  UST Closure Documentation

- Appendix IX: 	Contaminated Soil Disposal Manifests

- Appendix X: 	Site Ranking Form

- Appendix XI: 	Public Notification

- Appendix XII: 	GUST Trust Fund Reimbursement Documentation

(Start)

Release

Closure*

CAP

Part A

CAP-Part B

Monitoring

Only

Plan (MOP)

SIP

SISR1, 2

NFAR

CAP-Part B

Post Remediation

Monitoring

Submit:

a brief cover letter summarizing significant findings and recommendations

a narrative summarizing the site history, and source(s) of contamination;

data (in the form of tables),

site maps showing the extent of contamination, contaminant concentrations, and the direction of groundwater flow.

appendices, drill logs, well schematics, lab data

proposal for pilot  testing, as needed

CAP-Part B

Remediation

implement

OR

NFAR

*Note: If a “NFAR” (no further action required) status cannot be obtained after closure, then you must proceed with a CAP-Part A.

Release Reporting/Investigating Flow Diagram

OR

approved

# Guidelines for Completing the CAP-Part A Template

## I.	PLAN CERTIFICATION:

### A. 	UST Owner/Operator:

The UST owner must sign the CAP-Part A acknowledging that the plan, including all attachments, is true, accurate, and the plan satisfies all criteria and requirements of Rule 391-3-15-09 of the Georgia Rules for Underground Storage Tank Management.

### B. 	Professional Engineer or Professional Geologist:

The Corrective Action Plan-Part A must bear the stamp or seal of a Professional Geologist (PG) or a Professional Engineer (PE) registered in Georgia acknowledging that the work was done under his/her direction. Please note that “Under the direction of a Professional Geologist or Professional Engineer” means that a Professional Geologist or Professional Engineer has reviewed well or borehole drilling, construction, and abandonment plans, and has provided instructions to the driller/field geologist as to how the well or borehole is to be drilled, constructed, or abandoned (OCGA § 12-5-122). In addition, the PG or PE must certify that he/she directed and supervised the work and the preparation of the CAP-Part A. The PG or PE must also certify that all of the information, attachments, and laboratory data included in the plan are true, accurate, complete, and in accordance with State Rules and Regulations. The PG or PE must be a qualified groundwater professional, as defined by the Georgia State Board of Professional Geologists.

## II.	INITIAL RESPONSE REPORT:

### A. 	Initial Abatement:

This section serves to record the immediate actions taken within 20 days of the confirmed release in order to identify and mitigate hazards.  This includes contaminant migration and further release prevention, fire and vapor mitigation, and emergency free product removal.  Human health, safety, and environmental protection are the objectives for this section.

#### 1.	No Action Required:

No actions were needed to abate imminent hazards and/or emergency conditions.  If no actions are needed, explain how you arrived at this conclusion.

#### 2.	Further Release or Migration of Contaminants Prevented:

Report immediate actions taken to prevent any further release or migration of contaminants into surrounding soils and groundwater, such as removing the product from the tank, taking the UST system out of service, and/or stopping the flow of product from leaking pipes, dispensers, or tanks.

#### 3.	Monitoring & Mitigation of Fire and Safety Hazards:

Report actions taken to identify and mitigate any hazard or potential hazard of fire, explosion, and vapor migration.  This should include contacting the local Fire Marshall to supervise and/or direct the hazard mitigation, as necessary.

### B. 	Free Product Removal:

If free phase petroleum product (i.e., gasoline, diesel fuel, waste oil, and any other regulated substance(s) that is not dissolved in water) is identified exceeding one-eighth inch (0.01 feet) in thickness, begin free product removal immediately.

If manual bailing or passive skimming is used for free product removal on the site, it cannot be used for more than 60 days. Prolonged bailing or passive skimming usually does not “minimize the spread of contamination into previously uncontaminated zones” (40 CFR Part 280.64(a)), nor is it usually the most cost effective option to comply with 40 CFR Part 280.64.

In this section, describe the methods used to recover free product.  Record free product measurements in feet, to the nearest one-hundredth.

The presence of free product must be reported to EPD in accordance with 40 CFR Part 280.64 (d).  In Table 1, “Summary of Free Product Removed”, provide a tabulated history of free product recovery.  The table should include the following information:  well i.d., date(s) free product gauged, product thickness, groundwater elevation and corrected elevation, and volume of free product removed.

In addition, propose a plan for continued free product recovery that includes the method and frequency of removal.  The method of continual removal and disposal must be appropriate for the site's hydrogeologic conditions, as per 40 CFR Part 280.64 (a), and must be in compliance with all applicable local, state, and federal regulations.

NOTE:  In the event that free product is not identified during release response activities but is later discovered during the site investigation or corrective action activities, removal of free product must commence immediately and continue in the most effective manner in accordance with 40 CFR Part 280.64 (a).

### C. 	Tank History:

UST Status:  List current and former USTs at the site based on owner/operator knowledge.  Tank information to be recorded includes:  tank ID numbers, capacity, substance stored, tank age, and closure dates (if applicable).  Tank ID numbers should be consistent with those listed on the 7530-1 form.

Illustrate all UST systems (closed and existing) on Figure 2 (Site Plan), as described in Section D below.

### D. 	Initial Site Characterization:

The purpose of this section is to document the type of product released, source of contamination, and the type of environmental media (soil, groundwater, surface water, drinking wells, etc.) impacted.

This section must also describe any corrective action measures already taken.  Figure 1: Vicinity/Location Map and Figure 2: Site Plan are required for this section.  Include all relevant man-made and natural physical features (e.g., sampling locations, monitoring wells, former and current tanks, pump islands, product lines, buildings, roads, overhead and underground utilities, drains, and streams) on site maps.   Draw the site maps to scale and include both a bar scale and a north arrow.

#### 1.	Regulated Substance Released:

The type of petroleum product (gasoline, diesel, used oil, etc.) or any other regulated substance released must be documented.  Discuss how this determination was made and circumstances of discovery.

#### 2.	Source of Contamination:

Identify existing and former UST system(s) (closed in place or removed) on Figure 2 and document the source of contamination (leaking pipe, faulty valve, contaminated soil, etc.) in the narrative.

#### 3.	Local Water Resources:

- a.	Water supplies

This section serves to identify and document local water resources used to reference and support the determination of applicable corrective action objectives, per GUST Rule 391-3-15-.09(4)(a)-(d).

- Determine the site’s pollution susceptibility area, as defined by the Groundwater Pollution Susceptibility Map of Georgia (Georgia Department of Natural Resources, Environmental Protection Division, Georgia Geologic Survey, 1992), and follow the directions below:

- High or average groundwater pollution susceptibility area:

- Document the survey of public and non-public drinking water systems within two (2) miles and one half (½) mile, respectively. Any site bordering on more than one susceptibility area is considered to be located in the area of highest susceptibility, unless demonstrated otherwise and approved by EPD.

- Low groundwater pollution susceptibility area:

- Document the survey of public and non-public drinking water systems within one (1) mile and one-quarter (1/4) mile, respectively.

NOTE:  	A public drinking water system, as defined by the Georgia Rules for Safe Drinking Water (Chapter 391-3-5, as amended), is one that provides piped water for human consumption to at least 15 service connections or regularly serves an average of at least 25 individuals daily at least 60 days out of the year.

All water supplies identified within the search radii should be plotted on Figure 3:  Potential Receptor Map.  Map should include a north arrow and a bar scale.   Backup documentation should be included in Appendix III.  The following are guidelines to follow when conducting a water resource survey:

Water resources to be documented:

- All domestic, commercial, industrial, irrigation and public/non-public drinking water wells within the applicable radii.

- Surface water withdrawal points and springs within the applicable radii.

Resources to Utilize for Water Well Search:

- Review federal, state, county, and/or city records as well as conducting a field reconnaissance in order to identify public/non-public drinking water systems.

- Contact the USGS, local health departments, and local water and sewer authorities for information about public and private wells.

- Contact all adjacent property owners via telephone, personal visit, or certified mail.

Minimum Required Documentation:

- Display the location(s) of all water resources within radii of concern on Figure 3:  Potential Receptor Map. Map must be to scale and in color.

- United States Geological Survey (USGS) database search.  Include in Appendix III.

- Detailed field reconnaissance and field survey summary. Include in Appendix III.

- Telephone logs, interview forms, and certified mail receipts.  Include in Appendix III.

- Construction details of water wells, depth to aquifer, pumping rates and drawdown.  Well depths, casing depths, and screen depths may be available for non-public wells from owner or from the driller who installed the well.  Construction details, pumping rates and drawdown may be available from the city or county water system engineer.  Include in Appendix III.

- Document whether the identified public/non-public water systems are downgradient from the contaminant plume or whether they are hydraulically interconnected with the contaminant plume.

- b.	Surface Water Bodies:

- Surface water bodies, as established by the Georgia Rules for Water Quality Control (Chapter 391-3-6, as amended), within one mile of the site must be identified and located on Figure 3 as described above.  Also note any storm and sanitary sewers adjacent to the site, in accordance with 40 CFR Part 280.63 (2),

- If present, document preferential pathways from the contaminant source to the nearest surface water body.  Note that culverts and drains that receive a portion of their flow from groundwater can become preferential pathways for groundwater contamination.

- Indicate whether the surface water bodies are perennial or intermittent and if they are enclosed in a culvert or other manmade structure. Backup documentation regarding surface water bodies and/or sewers should also be documented in Appendix III.  This information should include, but is not limited to field notes, survey data of the storm sewer invert elevation, copies of storm sewer maps (if available from the city engineer), and interview forms with the city engineer or other parties who have credible knowledge of the storm sewer and culvert construction details.

#### 4.	Impacted Environmental Media:

- In almost all cases, a CAP-Part A will require the installation of monitoring wells.  However, the installation of monitor wells may not be required if one of the conditions below are met:

- (1)		Soil contamination is vertically delineated to below laboratory detection limits (BDL) for benzene, toluene, ethylbenzene and xylenes (BTEX), Polynuclear Aromatic Hydrocarbons (PAHs), and total petroleum hydrocarbon (TPH) above the water table in the worst-case area(s).  Soil contamination cannot exceed applicable Soil Threshold Levels.

- OR

- (2)	BTEX and PAHs in groundwater sample(s) taken from beneath the area(s) of highest soil contamination are below the applicable drinking water or in-stream water quality standards.

- The installation of three monitoring wells is required if soil contamination could not be vertically delineated or groundwater contamination exceeds applicable MCL or In-stream Water Quality Standards.  The three monitor wells must be installed in a triangular formation on the site to determine groundwater flow direction, the hydraulic gradient, and to insure that the area of the most contaminated soil/groundwater is sampled.  Groundwater samples must be collected from a properly screened well.  Groundwater sample results from direct-push points are considered screening data.  The most important requirement for locating monitoring wells is to install at least one monitor well in the suspected release source area so that the area of highest contamination is sampled.  The purpose of CAP-Part A monitoring wells is to find the worst contamination onsite. The areas routinely determined to be the most obvious sources of releases include the tank pits, dispenser islands and piping joints.  While a minimum of three monitoring wells is required, a fourth monitor well is recommended.  If more than one release area is suspected, the monitor wells should be placed to provide sample data from all suspected release areas.  All wells must be installed in such a way that the top of the well screen lies above the water table and the bottom of the well screen lies below the water table.  In areas of large water table fluctuations, screen lengths of 15-20 feet may be needed.

##### a.		Soils Evaluation:

- Depict all sampling locations and corresponding concentrations on Figure 4, “Soil Quality Map” for each sampling event.  Soil boring logs, utilizing the USCS description requirements, are to be presented in Appendix IV.  Summarize contaminant concentrations in soil using Table 2, “Soil Analysis Results”. Record contaminant concentrations in mg/kg, and document the sampling location and depth of the soil sample containing the highest concentration of benzene. Original laboratory results with chain-of-custody (not copies) should be provided in Appendix V. Refer to Appendix A for approved analytical methods and detection limits.

- NOTES:

- (1)	PAH analysis is not required if gasoline was the only substance stored in the tank system.

- (2)	A vapor monitoring instrument, such as a photoionization detector, is to be used for field screening only.  It should not replace the collection of soil samples to be analyzed by a certified laboratory.  Be advised that some heavier petroleum products do not give off sufficient vapors to register on vapor monitoring instruments.

##### b.		Groundwater Evaluation:

- For each date of measurement, document the thickness of free product, the method used to remove product, and the total amount of free product removed for each monitoring well. This information should be recorded in Table 1, “Free Product Removal”. On Figure 5a, “Groundwater Quality Map”, depict all monitoring wells having free product and list the product thickness for each well.

- Collect groundwater samples from all monitor wells that do not contain free product (a well containing a sheen should be sampled). Summarize all contaminant concentrations found in groundwater in Table 3, “Groundwater Analysis Results”. Report all results in µg/l.  Original laboratory data with chain-of-custody (not copies) should be included in Appendix VII.  Depict all sampling locations and corresponding concentrations on Figure 5a, “Groundwater Quality Map”. Figure 5b: “Benzene Isoconcentration Map” is also required. Ensure that appropriate analytical methods and detection limits are utilized (refer to Appendix A of this Guidance Document). If appropriate detection limits cannot be achieved, provide a written explanation from the laboratory.

- Discuss all results exceeding federal Maximum Contaminant Levels (MCLs) or state In-stream Water Quality Standards, whichever is applicable, in the text with sufficient detail to support conclusions and recommendations.

- NOTES:

- (1)	All wells and groundwater sampling must conform to the EPA Region IV document: “Field Branches Quality System and Technical Procedures”, formerly the “Environmental Investigations Standard Operating Procedures & Quality Assurance Manual” (EISOPQAM).

- (2)	Well installations must be accomplished under the supervision of a professional engineer or professional geologist registered in Georgia, in accordance with the Water Well Standards Act of 1985, as reenacted.  Monitor well installation must be in accordance with the Georgia Environmental Protection Division Manual for Groundwater Monitoring, or the EPA Region IV Field Branches Technical Procedures.

##### c.	Surface Water Impacted:

- Document the impact to any surface water body which intersects the dissolved contaminant plume.  Show the plume intersecting the surface water body on Figure 5b:  “Benzene Isoconcentration Map”.

##### d.	Point of Withdrawal Impacted:

- If water wells have been impacted, report immediate actions taken to protect human health and safety, such as providing alternative drinking water supplies to those affected.  If possible, safe water should be provided immediately where drinking water supplies have been impacted by a release.

#### 5. 	Other Geologic/Hydrogeologic Data:

- The purpose of this section is to document the depth, flow direction, and hydraulic gradient of groundwater, so that the most likely path for contaminant transport may be identified.  Unique geologic/hydrogeologic conditions should also be noted.

##### a.	Depth to Groundwater:

- After the well has stabilized, document the depth to groundwater for each monitoring or observation well, and present the data in Table 4, “Groundwater Elevations”.  Include the following in Table 4: date and static water level measurement collected, ground surface and top of casing elevations, depth of screened interval, free product depth, groundwater depth, free product thickness, and corrected groundwater elevation.

##### b.	Groundwater Flow Direction:

- Flow direction must be determined by gathering site-specific data, and depicted on Figure 6, “Potentiometric Surface Map”.  Show the water table elevations at each monitoring well, water table (equipotential) contours, and the inferred direction of groundwater flow on Figure 6.

##### c.	Hydraulic Gradient:

- Document the hydraulic gradient (slope of the water table) from a minimum of two or more groundwater elevations located along the direction of groundwater flow.  Groundwater elevation measurements used to calculate the hydraulic gradient and compose the potentiometric contour maps should be collected on the same dates.

##### d.	Physiographic Province:

- Indicate in what geophysical province the site is located (Coastal Plain, Piedmont, Valley & Ridge, etc).

##### e.	Unique geological/hydrogeological conditions:

- Unique geological/hydrogeological conditions include, but are not limited to:  shallow bedrock, karst topography, perched water tables, artesian conditions, localized faulting, and relic foliation in saprolitic soils.  If applicable, describe in detail any unique conditions at the site and how they affect groundwater flow and contaminant transport.

#### 6. 	Corrective Action Completed:

- Attach the UST Closure Report if it has not been previously submitted to the USTMP.  Also, if a Phase II investigation was completed prior to CAP-Part A activities, include a copy of the report in this section.  Summarize UST Closure data in Tables 5 and 6.

#### 7. 	Site Ranking:

- Using site-specific data, rank the site by completing the Site Ranking Form and include it in Appendix X.  Present the environmental site sensitivity score in the appropriate blank provided. Note that public/non-public water systems or surface water bodies which have been conclusively demonstrated to be either upgradient or not hydraulically interconnected with the contaminant plume should not be included in the environmental sensitivity score calculation.  Bedrock wells may not be considered upgradient of the site based on the groundwater flow direction within the surficial aquifer.

#### 8. 	Conclusions and Recommendations:

- After reviewing all data, pick one of the options below and provide justification for selecting that option.

##### a.	No Further Action Required (NFAR):

- A NFAR may be proposed for the release if no free product exists, soil concentrations are below threshold levels, and if concentrations of groundwater contamination constituents are below applicable water quality standards.

- All site wells should be abandoned after NFAR is granted.  The superior abandonment method is grouting via tremie pipe from the bottom up to the surface. This is the highly- preferred method. It is acceptable to surface pour bentonite pellets, but care must be taken to prevent bridging.  This method is not recommended because the bentonite above the water table tends to desiccate over time creating a downward migration pathway for surface contamination.   Although not specified in EPD or EPA guidance, the top foot of the well (or hole if the manhole is removed) must be finished with grout, concrete, or asphalt in order to achieve a better surface seal.  If the well is in grass, it is permissible to leave the grout/concrete about 3 to 4 inches below the surface to allow for a grass/soil cover.

- The Completion Report is required within 30 days of the Release receiving No Further Action status.  A Completion Report is typically a two-paragraph document stating how, when, and who abandoned the wells.  It must be signed by the owner and sealed by a Professional Geologist or Professional Engineer.  It must also include the following certification (verbatim) completed and signed by the owner or operator:

- Certificate of Completion

- I hereby certify that the Corrective Action Plan-Part A, dated________, 20___, for (facility name)___________, Facility ID#:_________________, including any and all certified amendments thereto, has been implemented in accordance with the schedules, specifications, sampling programs, and conditions contained therein, and that the plan's stated objectives have been met.

______________________________

Signature (Owner/Operator)

##### b.	Site Investigation Plan (SIP):

- If contamination has not been adequately delineated, a SIP should be included as part of the CAP-Part A.  The SIP includes proposed locations for additional monitoring wells that will better delineate the free product and dissolved plumes.  The SIP should also include a proposal for the collection of specific aquifer and geochemical parameters (those that apply).  The EPD will evaluate the SIP, and once approved, will request a SISR. The extent of contamination must be known before completing the CAP-Part B.

##### c.	CAP-Part B Monitoring Only Plan:

- A site is eligible for Monitoring Only in a CAP-Part B if all the following conditions apply:  no free product exists, there is no impact or potential impact to receptors (such as water supplies, surface waters, underground utility trenches or vaults), dissolved concentrations are not indicative of free product, and dissolved concentrations are low enough that natural attenuation is likely to occur.

- Specify which Soil Threshold Levels apply by referring to the applicable table and column.  Note that additional delineation may be required (via SIP and subsequent SISR) before a monitoring program is approved.

## III.	SITE INVESTIGATION PLAN:

- This section serves to propose a site investigation plan to delineate the full extent of soils and/or groundwater contaminated by the release and to provide information on relevant aquifer parameters needed to design the proposed soil and/or groundwater remediation system(s).

- The SIP is a proposal for determining the following site-specific information:

### A.	Horizontal and Vertical Extent of Contamination:

- Propose activities to determine and display the extent of contamination, including contamination in soils, groundwater, and surface water.

#### 1. 	Soils:

- Soil contamination must be delineated both horizontally and vertically to below applicable threshold levels.  Vertical delineation should extend below the water table (sampling below the water table is necessary to correctly design a remediation system). Analysis of soils below the water table should include TPH, as it is a better indicator (TPH has no STL) of total contamination.  While dissolved contamination will affect the soil analysis results, it is still important to know the zone of high impact.  Adequate characterization of soil contamination in the source area is absolutely critical.  In some cases, soil contamination may need to be delineated to concentrations well below applicable threshold levels in order to better characterize the area of highly impacted soils.  For example, the Table B Column 4 benzene threshold level is 11.30 mg/kg, but significant groundwater contamination is commonly observed when soils contain concentrations this high, especially if the soil contamination is located just a few feet above the water table.  When delineating soil contamination at the source area, the EPD highly recommends collecting split spoon samples continuously instead of at five-foot intervals.  A thin, very permeable soil layer (acting as a preferential pathway) may not be identified if split spoon samples are collected every five feet.  PAH sampling may be discontinued if no PAH limits were exceeded in the CAP-Part A.

- NOTE:

- While there is no set sample depth limit below the water table that is applicable to all sites, the USTMP recommends approximately 10 feet with possible deeper samples based on field screening data.   Do not continue deeper than 20 feet below the water table unless approved by the USTMP.

- Proposed boring locations should be shown on Figure 8.  Summarize the soil data collected in tabular format similar to Table 2.

#### 2. 	Groundwater:

- Propose activities that will adequately delineate the plume(s) of free product and dissolved contamination both vertically and horizontally, as applicable, beginning at the source of contamination or worst-case location.  Be advised that this may require off-site access to adjacent properties. On-site activities can, and are expected to, continue while off-site access is obtained.

- Vertical delineation via a deep well may not be necessary if there is no receptor at risk. In some cases, vertical delineation may be required if conditions are favorable for a diving plume or threaten a receptor.  For diving plumes, vertical delineation may require the installation of a standard Type II (non-cased) monitoring well and the collection of a discreet water sample at some depth below the top of the water table.  However, for investigating possible impact to a drinking water well, vertical delineation may require the installation of a Type III (cased) monitoring well to avoid contamination drag-down.

- The USTMP prefers horizontal delineation of groundwater contamination, extending away from the source, until concentrations are non-detect or near non-detect.  However, site conditions such as utilities, roads, buildings, terrain, other petroleum sites, lack of access, etc. may prevent this from being achieved. In this case, groundwater contamination should be delineated to reasonable concentrations that best characterize the contaminant plume given site conditions.  The USTMP cannot define “reasonable” because conditions are unique to each site but delineation to below 1000 ug/L benzene should be attempted.  The USTMP will evaluate delineation on a site-by-site basis given site conditions and limitations.  Obviously, the USTMP will require delineation to much lower concentrations (or to below detection limits) if a receptor is located in the immediate area and there is a high potential for impact.  The USTMP is primarily concerned with delineation downgradient  (highest migration direction potential) and sidegradient of the source and more wells may be needed in these areas.  Fewer upgradient wells may be necessary, while still achieving delineation, unless there is a concern that contamination from another source may be migrating onto the site.  PAH sampling may be discontinued if no PAH limits were exceeded in the CAP-Part A.

- Proposed groundwater monitoring well locations should be shown on Figure 8.  Groundwater data collected should be summarized in tabular format similar to Table 3.

- NOTE:

- While there is no set “distance-between-wells” that is applicable to all sites, the USTMP recommends approximately 15-20 feet well spacings for the delineation of free product and 40-50 feet well spacings for the delineation of the dissolved contamination.

#### 3. 	Surface Water:

- Propose activities to assess the impact to surface water bodies that intersect the dissolved contaminant plume.  Plot the sampling location(s) and concentration(s) on a site map.

#### 4. 	Nearby Potable Water Wells:

- Propose sampling activities regarding potable water wells that have been impacted or may be impacted.  In addition to BTEX, potable wells should be sampled for Ethylenedibromide (EBD) using EPA Method 8011 and 1,2-Dichloroethane (DCA) as these compounds were gasoline additives and have standards for drinking water.  EPD may also request analysis for MTBE as MTBE has a drinking water advisory level.

### B. 	Vadose Zone and Aquifer Characteristics:

- Propose activities to determine site-specific vadose zone and aquifer characteristics needed to design a remedial system(s) or fate and transport model.  When collecting this type of data always consider the types of media requiring corrective action (soil, groundwater, and/or surface water).  Document results in a tabular format. Provide supporting documentation that includes, but is not limited to, a description of the testing method, field data, assumptions, and field calculations.  The following is a list of tests to be considered when collecting site-specific vadose zone and aquifer characteristics:

#### 1. 	Saturated Horizontal Hydraulic Conductivity (Ks):

Defined as the proportional rate at which water can move through the subsurface.  This data, obtained from site-specific field analysis, is used to design groundwater remediation systems and perform risk assessments for groundwater contamination.  Utilization of raw data and interpretive analysis of slug tests or pump tests and/or tracer studies to support calculations.  EPD recommends the use of a data logger to obtain accurate slug test results from three independent slug tests, which should be analyzed using an industry-accepted method, such as Bouwer and Rice Method (Water Resources Research, V.12, pp.423-428, 1976 and Update).  A Shelby tube cannot be used for horizontal conductivity. Please use cm/s units for conductivity results.

#### 2.	Effective porosity (ne):

- Defined as the ratio of the void space through which flow can occur to the total volume of a soil sample.  This data is used to design groundwater remediation systems and perform risk assessments for groundwater contamination.  The effective porosity is approximately equal to specific yield and is generally measured by pumping tests.  If typical values are utilized, document literature from which the values were obtained.  Note that effective porosity is not the same parameter as total porosity and cannot be determined by the same methods used to calculate total porosity.  Clays have high total porosity, but low effective porosity.  Fetter’s Applied Hydrogeology, is a recommended reference for specific yield/effective porosity values.

#### 3.	Seepage Velocity (vs):

- Defined as the speed groundwater moves through the soil, relative to hydraulic gradient (i), hydraulic conductivity (K) and effective porosity (ne).  This data is used to design groundwater remediation systems and perform risk assessments for groundwater contamination.  The following equation may be used:

- Vs = (K) x (i)

- ne

#### 4.	Vertical Soil Permeability (Optional):

- Defined as the soil's capacity to transmit fluids from the surface to the water table.  This value is used to perform vadose zone modeling.  Field conditions will dictate whether the unsaturated or saturated permeability is necessary.  Obtain data from site-specific laboratory analysis.  Laboratory analysis in accordance with American Society for Testing & Materials (ASTM) Methods may be used, as appropriate, to determine soil permeability.  For example:

- a. 	ASTM Method D 2434-68 may be utilized with natural deposits as placed in fill sections, or when used with base courses under pavements.  This procedure is limited to disturbed granular soils containing not more than 10% soil passing the 75 μm (No. 200) sieve.

- b. 	ASTM Method D 5126 may be used to measure vertical unsaturated hydraulic conductivity in a soil sample.

- c.	ASTM Method D 5084-90 may be used to measure vertical saturated hydraulic conductivity in an undisturbed sample of soil with a hydraulic conductivity equal to or less than 1 x 10-3 cm/s.

- d.	Vertical soil permeability may be determined by analyzing an undisturbed soil sample (via ASTM Method D 1587) using Section 2.8 or Section 2.9 of Method 9100 of SW-846.

- NOTE: 	Contact ASTM at http://www.astm.org/ to review current ASTM Methods.

#### 5. 	Infiltration Rate (Optional):

- This is defined as the rate in which a liquid can enter the soil under specified conditions and it has the dimensions of velocity (e.g., cm/s).  This value is necessary to design systems that require the disposal of treated groundwater to the land surface (via infiltration gallery or trench system).  This value determines whether the discharge will result in surface runoff (possibly into nearby drainage features and surface waters).  The following ASTM Methods may be used to determine infiltration rates:

- a.	ASTM Method D 5093-90 may be utilized as a field measurement of infiltration rate using a double-ring infiltrometer test with a sealed inner ring.  This test method may be used for soils with an infiltration rate between 1 x 10-5 cm/s and 1 x 10-8 cm/s.  This method states which soils with an infiltration rate less than 1 x 10-5 cm/s shall be analyzed by ASTM Method D 3385-88 rather than by ASTM Method D 5093-90.

- ASTM Method D 3385-88 may be used to determine the infiltration rate of soils with infiltration rates between 1 x 10-2 cm/s and 1 x 10-6 cm/s.

#### 6. 	Total Organic Carbon (Optional):

- Amount of naturally occurring organic carbon contained in soil, which can be determined from one uncontaminated sample.  This data is used to calculate retardation values for groundwater remediation systems and to perform risk assessments for groundwater contamination.  Utilizing SW-846 test methods, provide laboratory analytical data with results expressed in mg/kg.

#### 7. 	Dissolved Iron (Optional):

- Amount of iron dissolved in groundwater.  This data is used to design groundwater remediation systems.  Provide laboratory analytical data with results expressed in mg/l.

#### 8. 	Grain-size Distribution (Optional):

- This data is used for determining Alternate Threshold Levels for soil, if you are proposing to calculate them for remediation purposes and to design groundwater extraction wells.  Grain-size distribution is determined by laboratory analysis of soil collected from the depth interval between the contaminated soil and the water table.  ASTM Method D 422-63 may be used to determine grain-size distribution of all grain sizes.  ASTM Method D 1140-92 may be used to more accurately determine the amount of material in soils that are finer than the No. 200 sieve.

#### 9. 	Total Petroleum Hydrocarbons (TPH) (Optional):

- In order to more accurately calculate the total organic carbon of the contaminated soil and the contaminant concentration in the soil pore water, you may determine the TPH concentration in the contaminated soil in mg/kg.  Refer to Appendix A for TPH analytical methods.

## IV.	PUBLIC NOTICE:

Public notification must be completed by certified mail (return receipt requested) or newspaper announcement.  The EPD prefers certified mail.  If a newspaper announcement is used, the newspaper must be the one of general circulation in the area.  Newspaper announcements must be pre-approved by EPD and must effectively notify potentially affected parties.  Newspaper announcements must be published two times:  once per week during the public notice period and a Sunday edition (if available).  Post a copy of the newspaper notice contents on the subject site, adjacent to the public right of way or public approach to the property with a minimum sign size of 8 ½ inches by 14 inches.

Complete public notice simultaneously with or prior to the submittal of CAP-Part A.  The CAP-Part A will not be approved until the return receipts are received by the EPD (if public notice was performed using certified letters).

As a minimum, notify the following members of the public by certified mail that a CAP-Part A has been submitted:

1.		The property owner of the UST site, if not the CAP-Part A proponent.

2.		All owners of property contiguous to the UST site, including local, county or state officials responsible for public rights-of-ways.  In addition, notify other property owners whose property is potentially affected by the release and/or the proposed CAP-Part A.  Send the public notices to each property owner as shown in the local property tax records.

3.		The elected head of the municipal or county government where the UST site is located.

Use the sample notice letter attached in Appendix B so that the information content and format of the public notice letter conform to the sample.  If a newspaper announcement has been approved by the EPD, use the sample newspaper announcement included in Appendix B so that the notice conforms with the sample.  Additional information may be included at the discretion of the CAP-Part A proponent or EPD.  As stated in the sample notices, a public display copy must be made available at a nearby location that is identified in the letter.  A copy must be made available at the nearest city hall, regional public library, or county courthouse, in addition to the copy for EPD's files.

Provide the following supporting documentation in this section of CAP-Part A:

1.		A property tax map, Figure 9, “Tax Map”, keyed to identify the UST site and the ownership of each parcel included in the public notification. Make sure the tax map has the names of the adjacent property owners.  Also include Table 7 listing parcel numbers with corresponding property owners.

2.	A copy of each notification letter; attach a copy (both sides) of the signed return receipt.

3.	A copy of the newspaper page in which the announcement appeared, if applicable.  Document the frequency and duration of the announcement's display.

## V.	CLAIM FOR REIMBURSEMENT (CAP- PART A): GEORGIA UNDERGROUND STORAGE TANK (GUST) TRUST FUND:

### A. 	GUST Trust Fund Application (GUST-36):

This section is included, if applicable, as a part of the to CAP-Part A if the UST owner or operator is filing a claim for reimbursement of reasonable cleanup expenses even if the expenses do not exceed $10,000 from the GUST Trust Fund.  If GUST Trust Fund reimbursement is being sought, the CAP-A proponent must submit a completed GUST-36 form and documentation showing that Environmental Assurance Fees (EAFs) have been paid.

1.	The UST owner or operator must state in the CAP-Part A transmittal letter that submission of the CAP-Part A also constitutes a claim for reimbursement in accordance with paragraph 391-3-15-.13(1)(e) 2 of the GUST Rules.

- In order to support the claim, the information listed below must be included in this section or appendices, as appropriate, with pages three-hole punched:

a.		Demonstration that the EAF was paid on each gallon of petroleum product purchased after July 1, 1988, for storage at the location where the leak occurred.  There are three (3) generally acceptable methods used to demonstrate EAF payment requirements: Owner/Operator Certification, Certified Public Accountant (CPA) Certification, or copies of paid invoices and appropriate inventory methods.  Records/invoices must be maintained when using the Owner/Operator Certification, or CPA Certification methods.  When necessary, a combination of these methods may be used on a case-by-case basis.

The following is a brief description of each method available to demonstrate EAF payment requirements:

Owner/Operator Certification:

This method should be used when the owner and/or operator submits an affidavit certifying that he has personally examined the EAF payment records for the facility, which show that all EAFs were paid to the petroleum supplier identified in the affidavit, as required for participation in the GUST Trust Fund.  In addition, the supplier(s) as identified in the Owner/Operator affidavit must certify that the EAFs were collected for that facility and paid into the GUST Trust Fund.  If the owner/operator and supplier are one and the same, then only the Owner/Operator Certification needs to be submitted with adequate explanation.  Sample affidavits are attached to the GUST-36 Document.  (A copy with original signatures must be submitted.)

##### CPA Certification:

This method may be used when a CPA has maintained the financial records for the facility in the regular course of business.  The CPA is certifying that through his/her review of appropriate documents, the EAFs have been paid as required by the Act for participation in the GUST Trust Fund.  The CPA's registration number must be included in the certification.

###### Actual Invoices for Purchases:

This method requires all invoices for petroleum purchases from July 1988 through the present. The bulk inventory records will also need to be submitted for the same period of time.

b.	Compliance Certification:

Demonstration of compliance can be achieved by using the “COMPLIANCE CERTIFICATION” form, attachment B-1 through B-3.  This form is a part of the GUST-36 application.  Through accurate completion and signing of this form, the owner or operator CERTIFIES that the facility was being operated in compliance with major statutory and rule requirements at the time the release occurred.  Once the certification form is completed, signed and returned to EPD, the application will be processed and eligibility for GUST Trust Fund coverage will be determined.

c.	Copies of paid invoices, or other records acceptable to EPD, with adequate backup and proof-of-payment documentation must be provided as part of the Claim for Reimbursement to verify expenses already incurred by the UST owner or operator that qualify as necessary and reasonable corrective action costs eligible for reimbursement, including the initial $10,000 deductible.  Costs submitted for payment on the GUST Trust Fund Application for Reimbursement (AFR) must be submitted in the Cost Review Form (CFR) located at:

(http://gaepd.org/Files_XLS/forms/lpb/CRF.xls).

Also include a summary page itemizing each invoice, indicating the reimbursable costs incurred, and those costs for which reimbursement is not being sought.

### B. 	Cost Proposal:

This section is only applicable to sites eligible for Georgia Underground Storage Tank (GUST) Trust Fund coverage, based on payments of Environmental Assurance Fees (EAF) and completed Compliance Certification or satisfactory compliance evaluation of the USTs in accordance with the GUST Rules.  A claim must be included simultaneously with CAP-Part A if the UST owner or operator is filing a claim for reimbursement of reasonable, eligible cleanup expenses, even if cost do not exceed the $10,000 deductible, from the GUST Trust Fund.

1.	Non-Reimbursable Costs:

Costs incurred prior to release confirmation are not eligible for reimbursement and can not be applied towards the $10,000 deductible.  Costs not related to corrective action tasks are also not covered by the GUST Trust Fund.  Non-reimbursable costs are outlined in the GUST-59 guidance document for GUST Trust Fund reimbursable and non-reimbursable costs.

2.	Reimbursable Costs:

Costs reimbursable from the GUST Trust Fund are for tasks directly associated with release response and corrective action related to a confirmed release.  Tasks completed and anticipated must be outlined individually showing the costs incurred to date as well as those estimated.  Reimbursable costs are outlined in the GUST-59 guidance document for GUST Trust Fund reimbursable and non-reimbursable costs.

a.	Invoices and Proofs-of-Payment:

The claim for reimbursement of expenditures to date must detail actual expenses already incurred, up to the time of CAP-Part A submittal, including the $10,000 deductible.  It must be subdivided into these descriptive headings, as applicable:  Initial Response-abatement and free product removal; Initial Site Characterization; and Site Investigation Plan.  Copies of paid invoices for costs incurred to date must be submitted.

b.	Total Project Costs:

Submit an estimate of the total projected costs on the CFR to complete the CAP-Part A.  These include implementation of the SIP and preparation of the data tables and site map.

- Reimbursement:

Payment for approved and eligible reimbursements will be made after a properly certified Application for Reimbursement, GUST-4A, has been received, and EPD considers the costs to be reasonable.

d.	Schedule for Reimbursement:

Applications for Reimbursement are to be submitted with each report in conjunction with the CRFs detailing the costs incurred during the reporting period. Reimbursements can only be made after the CAP-Part A Corrective Action Agreement (CAA) has been executed.

# APPENDIX A

ANALYTICAL METHODS AND DETECTION LIMITS

ANAYLTICAL METHODS

| Product Stored | Target Constituents | Analytical Methods (Soil) | Analytical Methods (Groundwater) |
| --- | --- | --- | --- |
| Gasoline or Aviation Gas Only (Affidavit Required) | BTEX and TPH-GRO | BTEX: 8260B/8021B (5035) TPH-GRO (8015B) | BTEX: 8260B/8021B (5030) |
| Unknown Petroleum Contents, Jet Fuel A, Jet Fuel B, Mineral Spirits or Kerosene, Used Oil, Diesel Fuel Oil (#2, #4, #5, #6), Motor Oil, or Hydraulic Oil | BTEX, PAH’s, and TPH-GRO & DRO | BTEX: 8260B/8021 (5035) PAH’s: 8270C, 8310 TPH-GRO & DRO (8015B) | BTEX: 8260B/8021B (5030) PAH’s: 8270C, 8310 |

DETECTION LIMITS

| Method | 5035-8021B (BTEX-Soil) | 5035-8260B (BTEX-Soil) | 5030-8021B (BTEX-Groundwater) | 5030-8260B (BTEX-Groundwater) | 8270C/8310 (PAH’s-Soil) | 8270C (PAH’s-Groundwater) | 8015B (TPH-GRO/DRO-Soil) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Minimum Quantitation & Reporting Limit | 0.001-0.005 mg/kg | 0.005 mg/kg | 1-5 g/l | 5 g/l | 0.660 mg/kg for each constituent | 10 g/l for each constituent | 10 mg/kg or less |

# APPENDIX  B

SAMPLE  PUBLIC  NOTICES

Public Notification Letter

Date

CERTIFIED MAIL

RETURN RECEIPT REQUESTED

U. R. Landowner

123 Main Street

Anywhere, Georgia 09876

SUBJECT:	Notification of Corrective Action Plan

Underground Storage Tank Release:

I. M. Tankowner Store No. 3

135 Main Street

Anywhere, GA; Some County

EPD Facility ID:

Dear Ms. Landowner:

This is to inform you that the Georgia Environmental Protection Division (EPD) has required the I. M. Tankowner Company to prepare a plan to investigate and/or remediate contamination of soil and/or groundwater caused by a release from underground storage tanks at the subject location.  This plan will be submitted to the Georgia Environmental Protection Division for review on or before ________, 20__.

The Georgia Rules for Underground Storage Tank Management require that we notify members of the public most directly affected by our plans.  As the owner of property near the release site, you may be one of these persons.

If you want a copy of the plan to examine, please contact [personal contact for corrective action plan proponent] at [phone number with area code]; a copy will be mailed promptly at a nominal fee.  Or you may review the public display copy at [name of local public facility, address and phone number].

If you desire to make comments on our plan, or to examine the Georgia EPD's files, you should contact the Corrective Action Unit, Underground Storage Tank Management Program at (404)362-2687.  The Underground Storage Tank Management Program will accept comments on this plan until [specific date at least 30 days after corrective action plan submittal].  Their mailing address is:

Underground Storage Tank Management Program

4244 International Parkway, Suite 104

Atlanta, Georgia 30354.

Should you have questions of I. M. Tankowner Company, please contact the undersigned at [phone number with area code].

Sincerely,

I. M. Tankowner

President

IMT:

cc:  Georgia EPD, USTMP

NEWSPAPER NOTICE SAMPLE

The Georgia EPD (GEPD) has required the I.M. Tankowner Co. to prepare a Corrective Action Plan Part-A to investigate and/or clean up contamination at the I.M. Tankowner Store No. 3 located at 135 Main St., Anywhere, GA.  This plan will be submitted to the GEPD on or before __________, 20_.  If you want to examine a copy of the plan, a public display copy is available for review at the _______ _______ library at 234 E. Main St., Anywhere, GA, (___) ___-____, of if you contact [personal contact for responsible party] at (___) ___-____,  a copy will be mailed at a nominal fee.  Comments to the plan will be accepted until [specific date at least 30 days after corrective action plan submittal to the EPD]. And should be directed to the GEPD at (404) 362-2687.   Mailing address: GEPD USTMP, 4244 International Parkway, Suite 104, Atlanta, GA 30354.  Any questions for I.M. Tankowner Co. Should be directed to [contact name] at [phone number].

# APPENDIX   C

MINIMUM STANDARDS FOR GEOLOGIC AND ENGINEERING WORK PERFORMED FOR A CAP-PART A

MINIMUM STANDARDS FOR GEOLOGIC AND ENGINEERING WORK

PERFORMED FOR A CAP-PART A

Accurately prepared corrective action plans are critical for protection of human health and the environment. Flagrant or persistent failure to adhere to the standards below may result in the filing of a complaint with the appropriate professional registration board for the geologist or engineer certifying the CAP-Part A.

1)	Shallow monitor wells (Type II) must be installed in accordance with EPD guidelines or the EPA Region IV document: “Field Branches Quality System and Technical Procedures”, formerly the “Environmental Investigations Standard Operating Procedures & Quality Assurance Manual”.

Monitoring wells must be installed so that the well screen brackets the water table if the contaminant has a specific gravity lower than water; i.e., the top of the well screen must lie above the water table in such a way that groundwater will be available for sampling and measurement during all seasons.  Injection or extraction wells may be screened as needed to target the source zone.

2)	At least 3 wells must be used to determine the direction of groundwater flow and the wells used must be placed in a triangular formation.

3)	Soil samples must be collected from the suspected source locations.  If soil sample analysis indicates that contaminated soil extends to groundwater, or if other evidence indicates that groundwater may be impacted, groundwater samples must be collected from the source locations.

4)	Units and values on tables and figures must be accurate.

5)	Data must not be omitted entirely from reports.  If data points are omitted from contour interpretation on maps and are not interpolated with the other data on maps, the reason must be stated on the map.

6)	Recommendations must be consistent with EPD Rules and Guidelines.

7)	The locations of potential receptors must be complete, accurate, and field verified.

8)	Maps must be to scale and features on the maps must be accurately located and depicted.

9)	Concentration data or groundwater elevation data from two different sampling or measurement dates must not be contoured as one sampling or measurement event.

10)	Water table elevation and contaminant concentration data from Type III (deep telescoping) and deep Type II monitor wells, which are screened only in the lower portions of the surficial and other aquifers, must not be contoured on an aerial map with water table elevation and contaminant concentration data from shallow type II monitor wells which bracket only the upper portion of the surficial aquifer.

11)	No misleading statements should be included in the report.  For example, if no measurement of free product was performed, then the absence of free product at a site cannot be asserted.  Additionally, if a boring in which free product was observed on previous occasions was abandoned, a statement that “free product was not observed after this date” would be considered misleading, unless the reason for its non-observation (e.g., the borehole was abandoned) was stated clearly and in the same context.

12)	Calculations must be accurate and correct.

13)	Values used in calculations and computer models must be derived from field measurements or must be assumed from peer-reviewed, published data.

14)	Computer model assumptions must be either compatible with field-measured data and observed conditions, or more conservative than field-observed conditions.

15)	Proposed remedial system designs must be supported by field data and math-ematical calculations which corroborate any predicted zones of influence, ground-water drawdown, and cleanup duration.  This information must be presented clearly and concisely.

# APPENDIX   D

SITE RANKING FORM

SITE RANKING FORM (PAGE 1)

| A. Total Regulated PAHs – Maximum concentration at the site (Assume < 0.660 mg/kg if only gasoline was stored on site) |  |  | B. Total Benzene – Maximum Concentration found on the site |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | < 0.0660 = 0 |  |  | < 0.005 mg/kg = 0 |
|  |  | .066-0.99 mg/kg = 10 |  |  | >0.005 - .05 mg/kg = 1 |
|  |  | 1-10 mg/kg = 25 |  |  | .05 – .99 = 10 |
|  |  | >10 mg/kg = 50 |  |  | 1 – 9.9 = 25 |
|  |  |  |  |  | 10 – 49.9 mg/kg = 40 |
|  |  |  |  |  | > 50 mg/kg = 50 |
| C. DEPTH TO GROUNDWATER – (Shallowest, measured from below land surface) |  |  |  |  |  |
|  |  | > 50' bls = 1 |  |  |  |
|  |  | > 25' bls = 2 |  |  |  |
|  |  | > 10' bls = 5 |  |  |  |
|  |  | < 10' bls = 10 |  |  |  |
| Fill in the blanks: (A. + B. ) x C. = D. |  |  |  |  |  |
| - Free Product (Nonaqueous-phase liquid hydrocarbons: See Guidelines for definition of “sheen”). |  |  | F. Dissolved Benzene – Maximum Concentration at the site (One well must be located at the source of the release.) |  |  |
|  |  | No free product = 0 |  |  | < 5 ug/L = 0 |
|  |  | Sheen – 1/8" = 250 |  |  | >5 – 100 ug/L = 5 |
|  |  | > 1/8" - 6" = 500 |  |  | >100 – 1,000 ug/L = 50 |
|  |  | > 6" – 1ft. = 1,000 |  |  | >1,000 – 5,000 ug/L = 250 |
|  |  | For every additional inch above a foot, add 100 more points = 1,000+ |  |  | >5,000 – 10,000 ug/L = 500 |
|  |  |  |  |  | > 10,000 ug/L = 1,500 |
| Fill in the blanks: (E. + F. ) = G. |  |  |  |  |  |

| SITE RANKING FORM (PAGE 2) - Public Wells |  |  |  | I. Non-public wells |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Impacted = 2,000 |  |  |  |  | Impacted = 1,000 |
|  |  | < 500' = 500 |  |  |  |  | < 100' = 500 |
|  |  | > 500' – 1/4 mi = 25 |  |  |  |  | > 100' - 500' = 25 |
|  |  | > 1/4 mi – 1 mi = 10 |  |  |  |  | > 500' – 1/4 mi = 5 |
|  |  | > 1 mi – 2 mi = 2 |  |  |  |  | > 1/4 mi – 1/2 mi = 2 |
|  |  | > 2 mi = 0 |  |  |  |  | > 1/2 mi = 0 |
| For lower susceptibility areas only: |  |  |  | For lower susceptibility areas only: |  |  |  |
|  |  | > 1 mi = 0 |  |  |  |  | > 1/4 mi = 0 |
| Note: If site is in lower susceptibility area do not use the shaded areas. |  |  |  |  |  |  |  |
| J. Distance from nearest contaminant Plume boundary to downgradient Surface Waters OR UTILITY TRENCHES & VAULTS |  |  |  | K. Distance from any Free Product to basements and crawl spaces |  |  |  |
|  |  | Impacted = 500 |  |  |  |  | Impacted = 500 |
|  |  | < 500' = 50 |  |  |  |  | < 500' = 50 |
|  |  | > 500'- 1,000' = 5 |  |  |  |  | > 500'- 1,000' = 5 |
|  |  | > 1,000' = 2 |  |  |  |  | > 1,000' = 2 |
| Fill in the blanks: |  |  |  |  |  |  |  |
| (H. + I. + J. + K. ) = L. (G. x L. ) = M. (M. + D. ) = N. |  |  |  |  |  |  |  |
| - SUSCEPTIBILITY AREA MULTIPLIER |  |  |  |  |  |  |  |
|  |  | If site is located in a Low Groundwater Pollution Susceptibility Area = 0.5 |  |  |  |  |  |
|  |  | All other sites = 1 |  |  |  |  |  |
| Q. EXPLOSION HAZARD |  |  |  |  |  |  |  |
| Have any explosive petroleum vapors, possibly originating from this release, been detected in any subsurface structure (e.g., utility trenches, basements, vaults, crawl space, etc.) |  |  |  |  |  |  |  |
|  |  | Yes = 200,000 |  |  |  |  |  |
|  |  | No = 0 |  |  |  |  |  |
| (N. x P. )+ Q. = |  |  | ENVIRONMENTAL SENSITIVITY SCORE |  |  |  |  |

# APPENDIX E

TABLE  A  AND TABLE  B  SOIL THRESHOLD LEVELS

Table A Soil Threshold Levels

Petroleum Constituents and Soil Threshold Levelsa

| CONSTITUENT | AVERAGE OR HIGHER GROUNDWATER POLLUTION SUSCEPTIBILITY AREAb (Where public water supplies exist within 2.0 miles or non-public supplies exist within 0.5 miles) |  | LOWER GROUNDWATER POLLUTION SUSCEPTIBILITY AREAc (Where public water supplies exist within 1.0 mile or non-public supplies exist within 0.25 miles) |  |
| --- | --- | --- | --- | --- |
| VOLATILE ORGANIC COMPOUNDS | <500 feet to withdrawal point | >500 feet to withdrawal point | <500 feet to withdrawal point | >500 feet to withdrawal point |
| Benzene | 0.005 mg/kgd | 0.008 mg/kg | 0.005 mg/kgd | 0.71 mg/kg |
| Toluene | 0.400 mg/kg | 6.00 mg/kg | 0.400 mg/kg | 500.00 mg/kg |
| Ethylbenzene | 0.370 mg/kg | 10.00 mg/kg | 0.500 mg/kg | 140.00 mg/kg |
| Xylenes | 20.00 mg/kg | 700.00 mg/kg | 27.00 mg/kg | 700.00 mg/kg |
| POLYNUCLEAR AROMATIC HYDROCARBONS |  |  |  |  |
| Acenaphthene | N/Ae | N/Ae | N/Ae | N/Ae |
| Anthracene | N/Ae | N/Ae | N/Ae | N/Ae |
| Benz(a)anthracene | N/Ae | N/Ae | N/Ae | N/Ae |
| Benzo(a)pyrene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Benzo(b)fluoranthene | 0.820 mg/kgd | N/Ae | N/Ae | N/Ae |
| Benzo(g.h.i)perylene | N/Ae | N/Ae | N/Ae | N/Ae |
| Benzo(k)fluoranthene | 1.60 mg/kg | N/Ae | N/Ae | N/Ae |
| Chrysene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Dibenz(a,h)anthracene | 1.50 mg/kgd | N/Ae | N/Ae | N/Ae |
| Fluoranthene | N/Ae | N/Ae | N/Ae | N/Ae |
| Fluorene | N/Ae | N/Ae | N/Ae | N/Ae |
| Indeno(1,2,3-c,d)pyrene | 0.660 mg/kgd | N/Ae | 0.660 mg/kgd | N/Ae |
| Naphthalene | N/Ae | N/Ae | N/Ae | N/Ae |
| Phenanthrene | N/Ae | N/Ae | N/Ae | N/Ae |
| Pyrene | N/Ae | N/Ae | N/Ae | N/Ae |

a - Based on worst-case assumptions for one-dimensional vadose zone and groundwater contaminant fate and transport models.

b - Based on an assumed distance of 0.5 feet between contaminated soils and the water table

c - Based on an assumed distance of 5.0 feet between contaminated soils and the water table.

d - Estimated Quantitation Limit.  The health-based threshold level is less than the laboratory method limit of detection.

e - Not applicable.  The health-based threshold level exceeds the expected soil concentration under free product conditions

Table B Soil Threshold Levels

Petroleum Constituents and Soil Threshold Levelsa

| CONSTITUENT | AVERAGE OR HIGHER GROUNDWATER POLLUTION SUSCEPTIBILITY AREAb (Where public water supplies do not exist within 2.0 miles or non-public supplies exist within 0.5 miles) |  | LOWER GROUNDWATER POLLUTION SUSCEPTIBILITY AREAc (Where public water supplies do not exist within 1.0 miles or non-public supplies exist within 0.25 miles) |  |
| --- | --- | --- | --- | --- |
| VOLATILE ORGANIC COMPOUNDS | < 500 feet to surface water body | > 500 feet to surface water body | < 500 feet to surface water body | > 500 feet to surface water body |
| Benzene | 0.017 mg/kg | 0.120 mg/kg | 0.020 mg/kg | 11.30 mg/kg |
| Toluene | 115.00 mg/kg | 500.00 mg/kg | 135.00 mg/kg | 500.00 mg/kg |
| Ethylbenzene | 18.00 mg/kg | 140.00 mg/kg | 28.00 mg/kg | 140.00 mg/kg |
| Xylenes | 700.00 mg/kg | 700.00 mg/kg | 700.00 mg/kg | 700.00 mg/kg |
| POLYNUCLEAR AROMATIC HYDROCARBONS |  |  |  |  |
| Acenaphthene | N/Ae | N/Ae | N/Ae | N/Ae |
| Anthracene | N/Ae | N/Ae | N/Ae | N/Ae |
| Benz(a)anthracene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Benzo(a)pyrene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Benzo(b)fluoranthene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Benzo(g.h.i)perylene | N/Ae | N/Ae | N/Ae | N/Ae |
| Benzo(k)fluoranthene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Chrysene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Dibenz(a,h)anthracene | 0.660 mg/kgd | N/Ae | N/Ae | N/Ae |
| Fluoranthene | N/Ae | N/Ae | N/Ae | N/Ae |
| Fluorene | N/Ae | N/Ae | N/Ae | N/Ae |
| Indeno(1,2,3-c,d)pyrene | 0.660 mg/kgd | N/Ae | 0.660 mg/kgd | N/Ae |
| Naphthalene | N/Ae | N/Ae | N/Ae | N/Ae |
| Phenanthrene | N/Ae | N/Ae | N/Ae | N/Ae |
| Pyrene | N/Ae | N/Ae | N/Ae | N/Ae |

a - Based on worst-case assumptions for one-dimensional vadose zone and groundwater contaminant fate and transport models.

b - Based on an assumed distance of 0.5 feet between contaminated soils and the water table

c - Based on an assumed distance of 5.0 feet between contaminated soils and the water table.

d - Estimated Quantitation Limit.  The health-based threshold level is less than the laboratory method limit of detection.

e - Not applicable.  The health-based threshold level exceeds the expected soil concentration under free product conditions

# APPENDIX F

GUIDELINES FOR SITE INVESTIGATION

SUMMARY REPORT (SISR)

## SITE INVESTIGATION SUMMARY REPORT (SISR):

The Site Investigation Summary Report is not part of the CAP-Part A report. It is a separate report that documents the results of implementing the Site Investigation Plan (refer to the flow diagram on page 7 of this document).   There is no template for the SISR. It is brief letter report documenting the delineation of soil and groundwater contamination at the site.

NOTES:

While delineation to non-detect or near non-detect is preferred, site conditions such as utilities, roads, buildings, terrain, other UST sites, no-access, etc. may prevent this from being achieved.  The USTMP will evaluate delineation on a site-by-site basis.  Delineation is best achieved by starting at the source of the release and moving outwards.

Some plumes require off-site access to adjacent properties and obtaining permission may be time consuming.  Municipalities and railroad companies may also have lengthy requirements that border on unreasonable.   Requesting access from an adjacent property owner should have a “respond by” due date that if a positive response is not received, it is then taken as a refusal.  Access refusals or access requirements should be documented with reports to be part of the file.  Obviously, if off-site access is critical, then adequate requests for access must be attempted.  The USTMP may be able to assist in offsite access.  Also, waiting for off-site access does not prevent further investigation/remediation on the site itself and should not cause any delays.

A. 	Horizontal and Vertical Extent of Contamination:

1. 	Delineation of Soil Contamination:

Horizontal and vertical extent of soil contamination must be identified for each BTEX (and PAH constituent, if applicable) above the groundwater table. TPH sampling is recommended under the water table.  Horizontal and vertical components of subsurface soil contamination must be displayed on site maps. At least one cross section is required, as a conceptual model, displaying lithology, free product, highest/lowest water levels (smear zone), posted soil data, well screen intervals, or other important hydrogeologic situations. All soil analytical data must be summarized in a tabular format in units of mg/kg, regardless of the units the laboratory used. All original laboratory data sheets from a properly certified laboratory must be provided.

a.	Soil contaminant concentrations for each sampling location must be depicted on a site map labeled with the sample's depth. Multiple soil contamination maps may be necessary.  If data from different sampling dates are posted on a single map, ensure the different data sets are marked obviously so as not cause confusion.

b.	Field screening devices should be utilized to determine which samples should be submitted to the laboratory, i.e. the highest OVA/PID sample plus a deeper sample with minor OVA/PID readings to document vertical delineation.

- 2. 	Delineation of Groundwater Contamination:

Horizontal and vertical extent of groundwater contamination must be identified for each BTEX (and PAH constituent, if applicable). The horizontal and vertical components of groundwater contamination must be displayed on site maps. Cross sections are not required but may be helpful to illustrate an important hydrogeologic situation. All analytical data must be summarized in a tabular format in units of µg/l, regardless of the units the laboratory used. All original laboratory data sheets from a properly certified laboratory must be provided.

a.	The horizontal extent of groundwater contamination must be identified for each BTEX (and PAHs, if applicable) constituent. Isoconcentration contours of each constituent must be noted for each sampling location and plotted on a site map.  Provide a separate isopleth map for each sampling event. Areas that contain high dissolved concentrations of benzene must be adequately delineated because the area may require remediation.

b.	The vertical extent of groundwater contamination must be identified with individual BTEX (and PAHs, if applicable) constituent.

3. 	Delineation of Free Product Plume:

The horizontal extent of free product must be superimposed on a site map within the areal dissolved plume. The free product thickness (a sheen is not considered free product as there is no measurable thickness), measured in feet, at each location should be posted, i.e. FP-0.51 ft.  An additional free product isopach map may also be useful. On cross sections, the free product thickness at each location should also be illustrated.

4. 	Delineation of Surface Water Contamination:

Water sample analysis of BTEX (and PAHs, if applicable) must be provided for any surface water body that intersects the dissolved contaminant plume. Surface water sample analysis must be included in the laboratory data tables. The sampling location(s) and concentration(s) must be plotted on a site map. The surface water concentration map may be combined with a groundwater concentration map if the surface water sampling date coincides with the groundwater sampling date.

B. 	Local and Site Specific Hydrogeology:

This section serves to record local and site specific groundwater and hydrogeologic characteristics, as determined by the implementation of the approved Site Investigation Plan (SIP) from the CAP-Part A.

1. 	Reiterate the closest receptor:

Provide the closest and closest downgradient information from the CAP-Part A.  Provide exact distances and direction.  Do not perform the receptor study again.

2. 	Lithologic Boring Logs:

Lithologic description logs of all boreholes/wells must be provided using the USCS or other standard classification system and/or any other borehole geophysical methods.

3. 	Stratigraphic Cross Sections:

At least one cross section is required to show the subsurface conditions as a conceptual model as well as to illustrate unique or important situations.  A cross section location map must be provided. Preferred cross section orientations are hydraulically down-gradient (dip section) and perpendicular to the hydraulic gradient (strike section). Present all data (chemical, water levels/smear zone, lithologic, free product, etc.) from boreholes and monitoring wells as needed.

4. 	Direction of Groundwater Flow:

a.	Document in the tabular format, as provided in the CAP-Part A, pertinent information for each monitoring or observation well. Include the following: date and static water level measurement collected, depth of screened interval, top of casing and ground surface elevation, resulting groundwater elevation, free product thickness, and corrected groundwater elevation, as needed to compensate for free product thickness.

b.	Provide a potentiometric map.  The map should include  contours of equipotential lines and selected flowlines that clearly show the direction(s) of groundwater flow.  Static water level measurements used in flow net construction must be indicated on the potentiometric map.  Groundwater flow is perpendicular to the contours and should not be confused with groundwater divides.  Provide a separate potentiometric map for each sampling event and hydraulic unit (if necessary).  The potentiometric maps should be dated and referenced to a common datum. Provide additional potentiometric maps, as needed, to include new wells in the monitoring network and/or to demonstrate seasonal variations identified with periodic sampling events.

The SISR should consist of the following components:

- Text - brief site history to include important correspondence dates and the CAP-Part A approval date (red flag if there is not a CAP-Part A approval date), reiteration of exact distance and bearing to the nearest receptor, and subsequent sampling results of all site wells (not only the newly installed wells), and conclusions.  If additional wells are needed, locations should be proposed.  Once delineation is achieved and active remediation is warranted, pilot testing is proposed to determine the remediation method effectiveness and radius of influence (ROI).  This information is then used to determine the full-scale remediation plan that is submitted in the CAP-PartB.

- Tables - all tables should contain all historic data for the site, even destroyed locations and regardless if other consultants performed the work.  If data is posted in a table, its corresponding location must be on a map.  Conversely, if data is on a figure, it must be included in the tables as well, even if the location has been destroyed.

- Figures - posted analytical data need depth and sample date.  Do not mix data from different sample dates on the same map unless it is sufficiently discussed. In general, if contours can’t be closed or are totally dashed, additional data points are likely needed. All existing and proposed wells should have a posted name/identification number (ex., PMW-1).

- Appendices - well schematics, boring logs, original lab data, Cost Review Form if applicable, and others as needed.

NOTE:	Pilot testing may be required during the implementation of the Site Investigation Plan.  Pilot tests involving discharges/injections to the subsurface or air must comply with environmental regulations governed by the Watershed Protection Branch and/or the Air Protection Branch of the EPD.

The Underground Storage Tank Management Program (USTMP) will coordinate the approval for long-term discharges to surface water that are generated during the site remediation, provided the local municipality or county has no permitting process.  Contact the USTMP prior to selecting and installing remediation systems to determine if emission controls are required and to facilitate the timely issuance of Discharge Consent Orders and permits, as appropriate.  Approval for any wastewater discharges to public sewers must be coordinated with local wastewater treatment authorities or POTW.

# APPENDIX G

LIST OF ACRONYMS

LIST OF ACRONYMS

Remediation:

EFR	Enhanced Fluid Recovery  	Ecovac trademark.

HVR   High Vacuum Recovery      Generic term.

HVE   High Vacuum Extraction     Generic term.

MEME   Mobile Enhanced MultiPhase Extraction    Generic term.

VEGE    Vacuum Enhanced Groundwater Extraction    Generic term.

---------------------------------------------------------------------------------------------------------

All of the above terms are synonymous and mean a mobile truck extracting and treating vapors from the subsurface coupled with groundwater removal via a stinger pipe/vacuum and containerizing the groundwater for offsite disposal.

VER    Vacuum Enhanced Recovery	Groundwater lowered by downhole pump, then vapors recovered

by surface vacuum/stinger.

DPE     Dual Phase Extraction	Groundwater and vapor removal concurrently; can be from surface-applied high vacuum and stinger pipe or downhole pumps.

MPE    MultiPhase Extraction	Groundwater, free product, and vapor removal, via surface-applied high vacuum and stinger pipe.

Note that DPE and MPE terms are commonly used interchangeably as the equipment is essentially the same.

MPDPE  MultiPump DPE	Vapor and Groundwater removal, downhole pump

for groundwater and surface vacuum pump for vapors.

SVE     Soil Vapor Extraction	soil vapors only extracted via stinger or surface

vacuum, no groundwater removal.

AS       Air Sparge	air injection below water table to increase

volatilization.

TFR    Total Fluids Recovery	Removal of all liquid fluid via downhole pump. No

vacuum applied.

General:

| ACL | alternate concentration limit | MTBE | methyl tertiary butyl ether |
| --- | --- | --- | --- |
| AS | air sparge | MW | monitoring well |
| ASTM | American Society for Testing and Materials | N/A | not applicable |
| BDL | below detection limit | NA | not analyzed |
| bgs | below ground surface | NAPL | non-aqueous phase liquid |
| BM | benchmark | NG | not gauged |
| BTEX | benzene, toluene, ethylbenzene, xylenes | NS | Not Sampled |
| BTOC | below top of casing | O&M | operation and maintenance |
| CAP | Corrective Action Plan | ORC | oxygen release compound |
| cfm | cubic feet per minute | ORP | oxidation reduction potential |
| Chem-ox | chemical oxidation | OW | observation well |
| CPT | Cone Penetrometer Testing | OWS | oil water separator |
| CRF | cost review form | oz | ounce |
| CW | compliance well | PAH | polynuclear aromatic hydrocarbons |
| DNR | Department of Natural Resources | PID | photoionization detector |
| DO | dissolved oxygen | PMW | proposed monitoring well |
| DPE | Dual-Phase Extraction | ppb | parts per billion |
| DRO | diesel range organics | ppm | parts per million |
| EFR | enhanced fluid recovery | psi | pounds per square inch |
| EPD | Environmental Protection Division | PVC | polyvinyl chloride |
| EW | extraction well | <RL | below reporting limits |
| FAP | Flexible Axial Peristaltic | ROI | radius of influence |
| FFD | Fuel Fluorescence Detector | ROW | right of way |
| FID | flame ionization detector | RW | recovery well |
| FOC | fractional organic carbon | SESR | Surfactant Enhanced Subsurface Remediation |
| fp | free product | SIP | Site Investigation Plan |
| GDOT | Georgia Department of Transportation | SISR | Site Investigation Summary Report |
| gpm | gallons per minute | STL | soil threshold level |
| GRO | gasoline range organics | SVE | soil vapor extraction |
| H2O | water | TBM | temporary benchmark |
| Hg | mercury | TFR | total fluid recovery |
| HVR | high vacuum recovery | TMW | temporary monitoring well |
| IFT | interfacial tension | TOC | top of casing |
| IP | interface probe | TPH | total petroleum hydrocarbons |
| ISWQS | In-Stream Water Quality Standards | TRPH | total recoverable petroleum hydrocarbons |
| lbs/day | pounds per day | ug/kg | micrograms per kilogram |
| MCL | Maximum Contaminant Levels | ug/L | micrograms per liter |
| MDPE | Multi-pump Dual Phase Extraction | UIC | Underground Injection Control |
| MEME | mobile, enhanced, multi-phase extraction | USCS | Unified Soil Classification System |
| mg/kg | milligrams per kilogram | USGS | United States Geological Survey |
| mg/L | milligrams per liter | UST | underground storage tank |
| ml | milliliter | USTMP | Underground Storage Tank Management Program |
| MOP | monitoring only plan | VOC | volatile organic compound |
| MOR | Monitoring Only Report | ZOI | zone of influence |
| MSL | mean sea level |  |  |