Stage 2 Disinfection By-Products (DBP) Monitoring Plan

Applicable for Community and Non-Transient Non-Community systems with groundwater sources utilizing a chemical disinfectant and serving a population of less than 10,000 individuals.

| System Name: |  |
| --- | --- |
| WSID #: |  |
| Address: |  |
| Contact Person: |  |
| Phone #: |  |
| System Type: |  |
| Population: |  |

Disinfection Treatment in Use:	  Yes	  No

TTHM/HAA5 SAMPLING LOCATION(S):

Note:  Each selected sampling site must be from an active connection that is currently in use.  One sample must represent a midpoint within the distribution system and the other must represent the maximum residence time in the distribution system.

MUST BE COMPLETED

- Sample Point 501 - Furthest point from well(s) within system; Address (preferable), lot number or  detailed description:

- Sample Point 502 - Midpoint within system; Address (preferable), lot number or detailed description: