Georgia SIP Air Permit Application

Instructions for the Completion of Form 2.01 Boilers and Fuel Burning Equipment

This form is to be completed and submitted with any Georgia SIP Air Permit application that involves the construction, operation, and/or modification of any fuel burning equipment (e.g. boiler, burner, engine, turbine, dryer, smelter.) excluding incinerators.  Information on incinerators should be included on Form 2.05 Incinerators (Solid/Liquid Waste Destruction).  The latest version of Form 2.01 is located at http://epd.georgia.gov/air/documents/ssppsip-app-form-201-boilers-and-other-fuel-burning-equipment.  Do not submit instructions with the SIP application.

| Boilers and Fuel Burning Equipment Table |  |
| --- | --- |
| Emission Unit ID: | Refer to Form 2.00 Emission Unit List and enter the emission unit ID assigned to the new or modified fuel burning equipment in this column. The Emission Unit ID is an alphanumeric code with a maximum of four characters (e.g. 27, D1, AA, BL1, BL01). Emission Unit IDs are unique to each piece of equipment at a facility. Emission units, air pollution control devices, and stacks cannot have the same ID. |
| Type of Burner: | Enter the specific type of fuel burner, e.g. a spreader stoker, pulverized coal, Dry-low NOx burners. |
| Type of Draft: | Enter the specific type of air-flow draft for the emission unit, e.g. forced draft, induced draft, balanced draft. This information does not have to be filled out for natural gas only fired equipment. |
| Design Capacity of Unit: | Enter the design (rated) heating capacity of the boiler or fuel burning equipment in million Btu per hour (MMBtu/hr). If any other units are used, please indicate the units used. |
| Percent Excess Air: | Enter the percent excess air for the fuel burning equipment. |
| Dates: | Enter the construction and installation date of the fuel burning equipment separately. The construction date is the original date of construction of the emission unit, where as the installation date is the date when the emission unit was first installed at the facility. |
| Date & Description of Last Modification: | Enter the date of the last boiler or fuel burning equipment modification. Also include a short description of what was done to the equipment. If necessary, include an attachment and list it in Form 1.00 General Information, Item 16 and enter “See Attachment #” in this column. |
| Fuel Data Table |  |
| Emission Unit ID: | Use the same Id as described in “Boilers and Fuel Burning Equipment Table”. |
| Fuel Type(s): | Enter the specific type(s) of fuel(s) that is fired or will fire in the fuel burning equipment, e.g. No. 2 distillate fuel oil, coal, natural gas. If the unit burns multiple fuels in the same unit, each fuel should be listed separately. |
| Potential Annual Consumption: | Enter the potential annual amount of fuel that is fired or will be fired, with the appropriate units (e.g. lb/hr, gpm, cfm). Also specify the percent of fuel that is fired or will be fired during the ozone season and non-ozone season. |
| Hourly Consumption: | Enter the hourly amount of fuel that is fired or will be fired with the appropriate units (e.g. lb/hr, gal/hr, ft3/hr). The maximum (Max) hourly consumption is the maximum hourly fuel consumption that the unit is designed to achieve. The average (Avg.) hourly consumption is the anticipated average consumption during normal operations of the emission unit. |
| Heat Content: | Enter the minimum and average heat content of the fuel in the appropriate units, e.g. Btu per cubic feet (Btu/ft3), Btu per gallon (Btu/gal), Btu per pound (Btu/lb). If such information is obtained from the fuel supplier, indicate the fuel supplier’s name and address in the next table. |
| Percent Sulfur: | Enter the average and maximum percent of sulfur content of the fuel. The maximum (Max.) sulfur content is the maximum amount of sulfur in the fuel that the facility is allowed to fire, typically defined by regulation. The average (Avg.) sulfur content is the average fuel sulfur content that the facility expects to fire or currently fires in the emission unit. If the Avg. sulfur content is obtained from the fuel supplier, indicate the fuel supplier’s contact information. |
| Percent Ash in Solid Fuel: | Enter the average and maximum percent of ash content in the solid fuel. The maximum (Max.) percent ash is the maximum amount of ash in the fuel that the facility is allowed to operate. The average (Avg.) ash content is the average ash content of the fuel that the facility expects to burn or currently burns. If the Avg. ash content is obtained from the fuel supplier, indicate the fuel supplier’s contact information. |
| Fuel Supplier Information Table |  |
| This table must be filled out if the fuel supplier supplied any information regarding the fuel “Heat Content”, “Percent Sulfur” or “Percent Ash in Solid Fuel” in the Fuel Data Table. |  |
| Name of Supplier | Enter the company name of the fuel supplier. |
| Phone Number | Enter the phone number of the fuel supplier. |
| Supplier Location: | Enter the contact address for the fuel supplier. |

| Facility Name: |  |  |  |  |  |  | Date of Application: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FORM 2.01 – BOILERS AND FUEL BURNING EQUIPMENT |  |  |  |  |  |  |  |  |  |  |
| Emission Unit ID | Type of Burner |  | Type of Draft1 | Design Capacity of Unit (MMBtu/hr Input) | Percent Excess Air | Dates |  |  | Date & Description of Last Modification |  |
|  |  |  |  |  |  | Construction |  | Installation |  |  |

1 This column does not have to be completed for natural gas only fired equipment.

| Facility Name: |  |  |  |  |  |  |  |  |  |  |  | Date of Application: |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| FUEL DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emission Unit ID | Fuel Type |  |  | Potential Annual Consumption |  |  |  |  | Hourly Consumption |  |  |  | Heat Content |  |  | Percent Sulfur |  |  |  | Percent Ash in Solid Fuel |  |  |
|  |  |  |  | Total Quantity |  | Percent Use by Season |  |  | Max. |  | ## Avg. |  | Min. |  | Avg. | Max. |  | Avg. |  | Max. |  | Avg. |
|  |  |  |  | Amount | Units | Ozone Season May 1 - Sept 30 |  | Non-ozone Season Oct 1 - Apr 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| # Fuel Supplier Information |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fuel Type |  | Name of Supplier |  |  |  |  | Phone Number |  |  | Supplier Location |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  | Address |  |  |  | City |  |  |  |  | State |  | Zip |  |