Georgia SIP Air Permit Application

Instructions for the Completion of Form 2.02 Organic Compound Storage Tanks

This form is to be completed and submitted with any Georgia SIP Air Permit application that involves the construction, operation, and/or modification of any organic compound storage tank greater than 4000 gallons.  The latest version of Form 2.02 is located at http://epd.georgia.gov/air/documents/ssppsip-app-form-202-organic-compound-storage-tanks.  Do not submit instructions with the SIP application.

| Emission Unit ID: | Refer to Form 2.00 Emission Unit List and enter the emission unit ID assigned to the new or modified storage tank in this column. The Emission Unit ID is an alphanumeric code with a maximum of four characters (e.g. 27, D1, AA, BL1, BL01). Emission Unit IDs are unique to each piece of equipment at a facility. Emission units, air pollution control devices, and stacks cannot have the same ID. |
| --- | --- |
| Emission Unit Name: | Refer to Form 2.00, Emission Unit List, and enter the name of the tank. |
| Capacity: | Enter the maximum design capacity of the tank. If the tank is less than 4000 gallons, this form does not need to be completed. |
| Material Stored: | Enter the chemical name or trade name of the material stored. If multiple products are stored in the tank, then list each product or the worst case. |
| Maximum True Vapor Pressure: | Enter the maximum true vapor pressure and the temperature at which it is reported. |
| Storage Temperature: | Enter the temperature of the material in the tank. Most often this is ambient unless the tank is heated or chilled. |
| Filling Method: | Enter the method by which the tank is filled, e.g. splash filling, submerged fill pipes. |
| Construction/Modification Date: | Enter the construction date, e.g. C: 1972. If the tank has been modified, also enter the modification date, e.g. M: 1984. |
| Type of Roof: | Enter one of the following: internal floating roof (IFR), external floating roof (EFR), fixed roof (FR), domed fixed roof (DFR), or OTHER and describe it. |
| Type of Seals: | Enter both the primary and the secondary seal types. Denote the primary seal with a “P” and the secondary seal with a “S”, e.g. P: mechanical shoe seal, S: vapor-mounted. |

| Facility Name: |  |  |  |  |  |  |  | Date of Application: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ## FORM 2.02 – ORGANIC COMPOUND STORAGE TANK |  |  |  |  |  |  |  |  |  |  |  |  |
| Emission Unit ID | Emission Unit Name |  | Capacity (gal) | Material Stored | Maximum True Vapor Pressure (psi @ ºF) | Storage Temp. (ºF) | Filling Method |  | Construction/ Modification Date | Roof Type |  | ### Seal Type |