|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **SENSOR FUNCTIONALITY TEST FOR TANKS, LINES AND DISPENSERS**  **TEST DATE:** | | | | | | | | | | | | | | |
| **Georgia Environmental Protection Division**  **Underground Storage Tank Program**  **Petroleum Industry Regulatory Team** | | | | | | | | *Mail Completed Form To:*  **UST Program**  **ATTN: RCU**  **4244 International Parkway**  **Suite 104**  **Atlanta, Georgia 30354** | | | | | | |
| **UST FACILITY INFORMATION (Please print clearly)** | | | | | | | | **TESTER INFORMATION (Please print clearly)** | | | | | | |
| Facility ID Number: | | | | | | | | Tester Name: | | | | | | |
| Facility Name: | | | | | | | | Company Name: | | | | | | |
| Facility Address: | | | | | | | | Certification #: | | | | | | |
| City, Zip Code: | | | | | | | | Expires: | | | | | | |
| County: | | | | | | | | Tester Phone: ( ) | | | | | | |
| Facility Phone: ( ) | | | | | | | | Tester Signature: | | | | | | |
| GRADE  (Diesel, Reg., Prem) | SENSOR  LOCATION | | | ATG  BRAND  (Veeder-Root, INCON, Etc.) | SENSOR  BRAND  (Veeder-Root, INCON, Etc.) | SENSOR TYPE  (Float-Switch, Optical, Hydrostatic  (Brine), Etc.) | SENSOR  MODEL  NUMBER  (Mag Sump; Series 7943;  TSP-DTS, Etc.) | SENSOR  SERIAL  NUMBER/ | TIME REQUIRED TO PASS TEST | AUDIBLE ALARM? | VISUAL ALARM? | FUNCTION CHECK  (PASS/FAIL) | SENSOR SHUT DOWN STP? | SENSOR REPAIRED/  REPLACED? |
| TANK | SUMP | DISPENSER |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

**UST SYSTEM OWNER MUST RETAIN A COPY OF THIS FORM AlONG WITH ALARM PRINTOUT REPORT AND TEST RESULTS FOR THREE (3) YEARS**